## Input & readings
[7 empty] | Client |  | Client Ref |  | Insured/Occupier
Client Email |  | Monitoring@crawco.uk |  |  |  |  | Crawford & Co |  |  |  | 37 Lancaster Grove Ltd
Client Contact |  | Ryan Kingham
| Instruction date |  | 2019-02-19 |  |  | Phone |  |  |  | Address | 37 Lancaster Grove | [24 empty] | Not applicable | [43 empty] | To be advised | time axis 2005-08-01 to 2009-02-01
| Likely end date |  | 2023-11-01 |  |  | 07769 642 230 - Peter Capel
| Frequency |  | 2 Monthly | [7 empty] | London | [24 empty] | Monthly | 2005-08-01: 6 weekly; 2005-09-01: Bi-monthly; 2005-10-01: 10 weekly; 2005-11-01: Quarterly
[10 empty] | Postcode | NW3 4HB | [24 empty] | 56 | 2005-08-01: 84
| Report Date |  | 2023-07-13 |  |  |  |  | Studs | Stud locations | [6 empty] | Client |  | Client Ref |  | Insured/Occupier |  |  |  | Studs | Stud locations
| Next Visit |  | 2023-09-01 |  |  |  | 1 | 1,2,3 | EXT - RH steps wall | [6 empty] | Crawford & Co |  |  |  | 37 Lancaster Grove Ltd |  |  | 1 | 1,2,3 | EXT - RH steps wall | [10 empty] | Please fix | Continue the cycle of readings | Fixing & initial reading | Initial readings | 1 month completed | 2 months completed | 3 months completed | 4 months completed | 5 months completed | 6 months completed | 7 months completed | 8 months completed | 9 months completed | 10 months completed | 11 months completed | 12 months completed | 13 months completed | 14 months completed | 15 months completed | 16 months completed | 17 months completed | 18 months completed | 19 months completed | 20 months completed | 21 months completed | 22 months completed | 23 months completed | 24 months completed | 25 months completed | 26 months completed | 27 months completed | 28 months completed | 29 months completed | 30 months completed | 31 months completed | 32 months completed | 33 months completed | 34 months completed | 35 months completed | 36 months completed | One further reading is planned | No further readings are planned
|  | Who should be invoiced ? | Crawford & Co |  |  |  | 2 | 4,5 | EXT - Front steps RH junction | [13 empty] | 2 | 4,5 | EXT - Front steps RH junction
| Insurer |  | RSA |  |  |  | 3 | 6,7 | EXT - Front steps LH junction | [6 empty] | Address | 37 Lancaster Grove | [5 empty] | 3 | 6,7 | EXT - Front steps LH junction
Additional instructions / notes | [6 empty] | 4 | [15 empty] | 4
[7 empty] | 5 | [9 empty] | London | [5 empty] | 5 | [8 empty] | Actual reading | Large jaw adjustment | Adjusted reading
[7 empty] | 6 | [8 empty] | Postcode | NW3 4HB | [5 empty] | 6
Crack | bar: 2006-01-01 to 2008-10-01
Stud | Align- | Visit | 2019-02-05 | 2019-03-07 | 2019-05-14 | 2019-07-19 | 2019-09-21 | 2019-11-21 | 2020-03-17 | 2020-05-14 | 2020-10-28 | 2021-01-07 | 2021-03-09 | Initial c/w | Current c/w | Studs nos. | Align- | Visit | 2021-05-12 | 2021-10-15 | 2023-05-09 | 2023-07-12 | - | - | - | - | - | - | - | Initial c/w | Current c/w |  |  |  | Graph base line |  | H
numbers |  | Report | - | 2019-03-12 | 2019-05-17 | 2019-07-25 | 2019-09-27 | 2019-11-28 | 2020-03-18 | 2020-05-15 | 2020-10-29 | 2021-01-11 | 2021-03-10 |  |  |  | ment | Report | 2021-05-13 | 2021-10-18 | 2023-05-11 | 2023-07-13 | - | - | - | - | - | - | - | [7 empty] | V
1=2 | H |  | 102.17 | 100.73 | 98.71 | 104.43 | 107.28 | 106.66 | 101.11 | 101.1 | 107.88 | 106.25 | 103.6 |  | 2.1 | 1=2 | H |  | 103.67 | 108.64 | 105.58 | 106.61 | - | - | - | - | - | - | - |  | 3.9 | - | 1.7 | #VALUE! | 0 |  | D
2=3 | D |  | 124.62 | 123.98 | 123.13 | 125.35 | 126.64 | 126.71 | 124.1 | 124.12 | 127.37 | 126.8 | 126.15 |  | 3.2 | 2=3 | D |  | 126.29 | 128.41 | 127.11 | 127.51 | - | - | - | - | - | - | - |  | 4.9 | - | 1.7 | #VALUE! | 0 |  | Check
1=3 | VC |  | 83.3 | 83.46 | 83.31 | 83.31 | 83.39 | 83.35 | 83.34 | 83.39 | 83.37 | 83.4 | 83.34 |  |  | 1=3 | VC |  | 83.4 | 83.37 | 83.56 | 83.51 | - | - | - | - | - | - | - |  |  | - | 1.7 | #VALUE! | 0
4=5 | H |  | 85.69 | 84.8 | 83.96 | 89.09 | 95.39 | 94.17 | 85.67 | 85.59 | 91.6 | 88.49 | 85.21 |  | 2.9 | 4=5 | H |  | 85.43 | 90.5 | 86.44 | 87.01 | - | - | - | - | - | - | - |  | 0.8 | - | 1.7 | #VALUE! | 0
|  |  | - | [13 empty] | D |  |  | - | - | 129.81 | - | - | - | - | - | - | - |  | 0.8 | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
|  |  | - | [13 empty] | VC |  | - | - | - | 134.21 | - | - | - | - | - | - | - |  |  | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
6=7 | H |  | 83.87 | 83.47 | 82.23 | 89.54 | 90.01 | 89.49 | 79.34 | 78.8 | 84.24 | 83.97 | 77.56 |  | 4.2 | 6=7 | H |  | 77.5 | 77.97 | 77.96 | 77.91 | - | - | - | - | - | - | - |  | 4.5 | - | 1.7 | #VALUE! | 0
|  |  | - | [13 empty] | D |  | - | - | - | 53.78 | - | - | - | - | - | - | - |  | 4.5 | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
|  |  | - | [13 empty] | VC |  | - | - | - | 62.11 | - | - | - | - | - | - | - |  |  | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
|  |  | - | [15 empty] | - | - | - | - | - | - | - | - | - | - | - |  |  | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
|  |  | - | [15 empty] | - | - | - | - | - | - | - | - | - | - | - |  |  | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
|  |  | - | [15 empty] | - | - | - | - | - | - | - | - | - | - | - |  |  | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
|  |  | - | [15 empty] | - | - | - | - | - | - | - | - | - | - | - |  |  | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
|  |  | - | [15 empty] | - | - | - | - | - | - | - | - | - | - | - |  |  | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
|  |  | - | [15 empty] | - | - | - | - | - | - | - | - | - | - | - |  |  | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
|  |  | - | [15 empty] | - | - | - | - | - | - | - | - | - | - | - |  |  | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
|  |  | - | [15 empty] | - | - | - | - | - | - | - | - | - | - | - |  |  | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
|  |  | - | [15 empty] | - | - | - | - | - | - | - | - | - | - | - |  |  | - | 1.7 | #VALUE! | 0 | bar: 2019-03-12 to 2021-03-10
|  | Customer : |  | No issues | No issues | See comments | See comments | No issues | See comments | No issues | See comments | No issues | No issues |  |  |  |  | Customer : | No issues | See comments | No issues | [14 empty] | No issues | Wants a progress update | Would like phone contact | Requires Engineer contact | See comments
|  | New cracking : |  | None reported / observed | None reported / observed | None reported / observed | See comments | None reported / observed | None reported / observed | None reported / observed | None reported / observed | None reported / observed | None reported / observed |  |  |  |  | New cracking : | None reported / observed | None reported / observed | None reported / observed | [14 empty] | None reported / observed | New hairline cracking | Cracking <1mm | Cracking >1mm | Severe cracking | See comments
|  | See "current c/w" : |  |  | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  |  |  |  | See "current c/w" : | Yes | Yes | Yes | [14 empty] | Yes | No
|  | Calliper nos : |  | 105 | 0 89 | 121 | 123 | 106 | 117 | 131 | 144 | 120 | 135 |  |  |  |  | Calliper nos : | 0 78 | 117 | 161
|  | Technician : | CRAWCO | RH | TI & WG | PH & MJ | WG & BJ | TP & RH | TF | LA & JA | RF & CC | BB | AB & KB |  |  |  |  | Technician : | RCS | TF | EC
 | time axis 2005-08-01 to 2009-02-01
|  | Additional comments : | - | [14 empty] | Additional comments : | - | [23 empty] | First day of month | 38565 | 38596 | 38626 | 38657 | 38687 | 38718 | 38749 | 38777 | 38808 | 38838 | 38869 | 38899 | 38930 | 38961 | 38991 | 39022 | 39052 | 39083 | 39114 | 39142 | 39173 | 39203 | 39234 | 39264 | 39295 | 39326 | 39356 | 39387 | 39417 | 39448 | 39479 | 39508 | 39539 | 39569 | 39600 | 39630 | 39661 | 39692 | 39722 | 39753 | 39783 | 39814 | 39845
|  | Line 1 | [15 empty] | Line 1 | [24 empty] | Last day of month | 38595 | 38625 | 38656 | 38686 | 38717 | 38748 | 38776 | 38807 | 38837 | 38868 | 38898 | 38929 | 38960 | 38990 | 39021 | 39051 | 39082 | 39113 | 39141 | 39172 | 39202 | 39233 | 39263 | 39294 | 39325 | 39355 | 39386 | 39416 | 39447 | 39478 | 39507 | 39538 | 39568 | 39599 | 39629 | 39660 | 39691 | 39721 | 39752 | 39782 | 39813 | 39844 | -1
NOTE : Validation |  | Line 2 | [15 empty] | Line 2 | [24 empty] | Mid point +50% of frequency | 38608 | 38638.5 | 38669 | 38699.5 | 38730 | 38761 | 38790.5 | 38820 | 38850.5 | 38881 | 38911.5 | 38942 | 38973 | 39003.5 | 39034 | 39064.5 | 39095 | 39126 | 39155.5 | 39185 | 39215.5 | 39246 | 39276.5 | 39307 | 39338 | 39368.5 | 39399 | 39429.5 | 39460 | 39491 | 39521 | 39551 | 39581.5 | 39612 | 39642.5 | 39673 | 39704 | 39734.5 | 39765 | 39795.5 | 39826 | 39857 | 19950
checks set at (mm) |  | Line 3 | [15 empty] | Line 3
0.3 |  |  | (max = 55 characters per line) | [15 empty] | (max = 55 characters per line)

## Graphs
[7 empty] | -4 | Specified End Date
|  |  |  | Report date : | 2023-07-13 |  |  | 0
|  |  |  | Client: | Crawford & Co |  |  | Most recent visit visit
|  |  |  | Reference Number: | 0 |  |  | 2021-03-09
Address : | 37 Lancaster Grove |  |  | Owner/occupier : | 37 Lancaster Grove Ltd |  |  | Next visit would be due on
| 0 |  |  | Frequency : | 2 Monthly |  |  | 0
| London |  |  | Likely end Date: | 2023-11-01 |  |  | Latest reasonable visit date
Postcode : | NW3 4HB |  |  | Next report due : | 2023-09-01 |  |  | #N/A
1 | EXT - RH steps wall | 2 | EXT - Front steps RH junction
-0.1
3 | EXT - Front steps LH junction |  | 0
4 | 0 | 5 | 0
WE WILL NOT TAKE ANY FURTHER READINGS PENDING YOUR CONFIRMATION THAT YOU WISH US TO CONTINUE
WE WILL NOT TAKE ANY FURTHER READINGS PENDING YOUR CONFIRMATION THAT YOU WISH US TO CONTINUE

## CHART DATA (hidden)
Visit date | 2019-02-05 | 2019-03-07 | 2019-05-14 | 2019-07-19 | 2019-09-21 | 2019-11-21 | 2020-03-17 | 2020-05-14 | 2020-10-28 | 2021-01-07 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-05-12 | 2021-10-15 | 2023-05-09 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12
| -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | Minimum | -4
Stud Location | Reading 1 | Reading 2 | Reading 3 | Reading 4 | Reading 5 | Reading 6 | Reading 7 | Reading 8 | Reading 9 | Reading 10 | Reading 11 | Reading 12 | Reading 13 | Reading 14 | Reading 15 | Reading 16 | Reading 17 | Reading 18 | Reading 12 | Reading 13 | Reading 14 | Reading 15 | Reading 16 | Reading 17 | Reading 18 | Reading 19 | Reading 20 | Reading 21 | Reading 22 | [13 empty] | Base Readings
1=2 | 0 | -1.44 | -3.46 | 2.26 | 5.11 | 4.49 | -1.06 | -1.07 | 5.71 | 4.08 | 1.43 | 1.43 | -100.07 | -100.07 | -100.07 | #N/A | #N/A | #N/A | 1.5 | 6.47 | 3.41 | 4.44 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 102.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102.17
2=3 | 0 | -0.64 | -1.49 | 0.73 | 2.02 | 2.09 | -0.52 | -0.5 | 2.75 | 2.18 | 1.53 | 1.53 | -121.42 | -121.42 | -121.42 | #N/A | #N/A | #N/A | 1.67 | 3.79 | 2.49 | 2.89 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 124.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 124.62
1=3 | 0 | 0.16 | 0.01 | 0.01 | 0.09 | 0.05 | 0.04 | 0.09 | 0.07 | 0.1 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | #N/A | #N/A | #N/A | 0.1 | 0.07 | 0.26 | 0.21 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 83.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.3
4=5 | 0 | -0.89 | -1.73 | 3.4 | 9.7 | 8.48 | -0.02 | -0.1 | 5.91 | 2.8 | -0.48 | -0.48 | -82.79 | -82.79 | -82.79 | #N/A | #N/A | #N/A | -0.26 | 4.81 | 0.75 | 1.32 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 85.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.69
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 129.81 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 134.21 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6=7 | 0 | -0.4 | -1.64 | 5.67 | 6.14 | 5.62 | -4.53 | -5.07 | 0.37 | 0.1 | -6.31 | -6.31 | -79.67 | -79.67 | -79.67 | #N/A | #N/A | #N/A | -6.37 | -5.9 | -5.91 | -5.96 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 83.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.87
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 53.78 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 62.11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2019-02-05 | 2019-03-07 | 2019-05-14 | 2019-07-19 | 2019-09-21 | 2019-11-21 | 2020-03-17 | 2020-05-14 | 2020-10-28 | 2021-01-07 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-05-12 | 2021-10-15 | 2023-05-09 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12
Visit date | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4
1=2 | 0 | -1.44 | -3.46 | 2.26 | 5.11 | 4.49 | -1.06 | -1.07 | 5.71 | 4.08 | 1.43 | 1.43 | -100.07 | -100.07 | -100.07 | #N/A | #N/A | #N/A | 1.5 | 6.47 | 3.41 | 4.44 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2=3 | 0 | -0.64 | -1.49 | 0.73 | 2.02 | 2.09 | -0.52 | -0.5 | 2.75 | 2.18 | 1.53 | 1.53 | -121.42 | -121.42 | -121.42 | #N/A | #N/A | #N/A | 1.67 | 3.79 | 2.49 | 2.89 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
1=3 | 0 | 0.16 | 0.01 | 0.01 | 0.09 | 0.05 | 0.04 | 0.09 | 0.07 | 0.1 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | #N/A | #N/A | #N/A | 0.1 | 0.07 | 0.26 | 0.21 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| 2019-02-05 | 2019-03-07 | 2019-05-14 | 2019-07-19 | 2019-09-21 | 2019-11-21 | 2020-03-17 | 2020-05-14 | 2020-10-28 | 2021-01-07 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-05-12 | 2021-10-15 | 2023-05-09 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12
Visit date | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4
4=5 | 0 | -0.89 | -1.73 | 3.4 | 9.7 | 8.48 | -0.02 | -0.1 | 5.91 | 2.8 | -0.48 | -0.48 | -82.79 | -82.79 | -82.79 | #N/A | #N/A | #N/A | -0.26 | 4.81 | 0.75 | 1.32 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 129.81 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 134.21 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| 2019-02-05 | 2019-03-07 | 2019-05-14 | 2019-07-19 | 2019-09-21 | 2019-11-21 | 2020-03-17 | 2020-05-14 | 2020-10-28 | 2021-01-07 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-05-12 | 2021-10-15 | 2023-05-09 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12
Visit date | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4
6=7 | 0 | -0.4 | -1.64 | 5.67 | 6.14 | 5.62 | -4.53 | -5.07 | 0.37 | 0.1 | -6.31 | -6.31 | -79.67 | -79.67 | -79.67 | #N/A | #N/A | #N/A | -6.37 | -5.9 | -5.91 | -5.96 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 53.78 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 62.11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| 2019-02-05 | 2019-03-07 | 2019-05-14 | 2019-07-19 | 2019-09-21 | 2019-11-21 | 2020-03-17 | 2020-05-14 | 2020-10-28 | 2021-01-07 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-05-12 | 2021-10-15 | 2023-05-09 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12
Visit date | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| 2019-02-05 | 2019-03-07 | 2019-05-14 | 2019-07-19 | 2019-09-21 | 2019-11-21 | 2020-03-17 | 2020-05-14 | 2020-10-28 | 2021-01-07 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-05-12 | 2021-10-15 | 2023-05-09 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12
Visit date | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| 2019-02-05 | 2019-03-07 | 2019-05-14 | 2019-07-19 | 2019-09-21 | 2019-11-21 | 2020-03-17 | 2020-05-14 | 2020-10-28 | 2021-01-07 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-03-09 | 2021-05-12 | 2021-10-15 | 2023-05-09 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12 | 2023-07-12
Visit date | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4 | -4
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A

## Comments
|  |  |  | Report date : | 2023-07-13
|  |  |  | Reference Number: | 0
Address : | 37 Lancaster Grove |  |  | Owner/occupier : | 37 Lancaster Grove Ltd
|  |  |  | Frequency : | 2 Monthly
| London |  |  | Likely end Date | 2023-11-01
Postcode : | NW3 4HB |  |  | Next report due : | 2019-04-01
Visit Date: |  | Technician Initials | Visit Comments
2019-02-05 |  | CRAWCO
2019-03-07 |  | RH | No new concerns raised at time of visit
2019-05-14 |  | TI & WG | No new concerns raised at time of visit
2019-07-19 |  | PH & MJ | Location 1 has been repointed so the crack widths have started again.
2019-09-21 |  | WG & BJ | Studs have been checked and are correct. Mortar has come out of cracks.
2019-11-21 |  | TP & RH | No new concerns raised at time of visit
2020-03-17 |  | TF | Photos attached to email.
2020-05-14 |  | LA & JA | No new concerns raised at time of visit
2020-10-28 |  | RF & CC | Photos attached to email.
2021-01-07 |  | BB | No new concerns raised at time of visit
2021-03-09 |  | AB & KB | No new concerns raised at time of visit
|  |  |  | Report date : | 2023-07-13
|  |  |  | Reference Number: | 0
Address : | 37 Lancaster Grove |  |  | Owner/occupier : | 37 Lancaster Grove Ltd
| 0 |  |  | Frequency : | 2 Monthly
| London |  |  | Likely end Date | 2023-11-01
Postcode : | NW3 4HB |  |  | Next report due : | 2023-09-01
Visit Date: |  | Technician Initials | Visit Comments
2021-05-12 |  | RCS | No new concerns raised at time of visit
2021-10-15 |  | TF | Please see email.
2023-05-09 |  | EC | No new concerns raised at time of visit
2023-07-12 |  | 0
- |  | 0
- |  | 0
- |  | 0
- |  | 0
- |  | 0
- |  | 0
- |  | 0