## Introduction
Camden Energy & Sustainability Proforma for Major Development
BACKGROUND AND PURPOSE
From June 2023 planning applicants for new and refurbished schemes are encouraged to use this proforma to assist meeting the Energy & Sustainability requirements within the London Borough of Camden. It should be used to support both domestic and non-domestic developments. This spreadsheet should be submitted accompanying relevant Energy & Sustainability Statements.
This proforma is for major residential and non-residential developments. This includes residential developments that are either 10+ units or >1000sqm. All non-residential developments in which the sum of new and refurbished floorspace is >1000sqm should use this proforma.
Details of new and refurbished floor areas should be filled out seperately on the appropriate sheets as different policies will apply to each.
Applicants should note that we will update the spreadsheet from time to time to ensure it remains fit for purpose. Applicants should use the latest version at the time of the planning submission.
Major development includes any residential greater than 10 units or greater than 1000sqm and any non-residential greater than 1000sqm. The sum of new and refurbished floorspace is included in this figure.
Additional relevant guidance can be found both in Camden Planning Guidance for Energy Efficiency & Adaption
And the GLAs Energy Planning Guidance
METHODOLOGY
Applicants should complete all light blue input cells in the applicable tabs prior to submission ('Summary', Dwelling New', 'Dwelling Refurbishment', 'Non-Dwelling New' and 'Non-Dwelling Refurbishment').
After inputting to certain key policy targets these have been formatted to indicate if you are meeting the policy | Policy met
Policy not met
Validation Check Applicants must ensure that the calculated Carbon Reductions in this spreadsheet matches the actual values from the Energy/Sustainability Statement which in turn are calculated from Part L 2021 BRUKL and SAP worksheets. The Part L 2021 BRUKL and SAP sheets must accompany the Energy/Sustainability statement so that results can be validated.

## Summary
TABLE 1. APPLICATION DETAILS |  |  | Response | [5 empty] | Further notes
Application number (when known)
Scheme name (if applicable)
Scheme address
Postcode
Type of development (choose drop down options) | [8 empty] | Major development is > 1000 sq.m or 10+ residential units
No. of residential units
Scale of development details (m2) |  |  | Existing | Proposed |  |  |  |  | Developments over 1,000sq.m are a major development, this includes proposals involving substantial refurbishment (that requires planning permission)
|  |  | TOTAL pre- development | For demolition | New-build incl. infills, re-build, extensions | Retained (refurbished or Change of Use) | TOTAL post-development | Net UPLIFT post- development
Total floor area of development (GIA) | [6 empty] | 0 | 0
of which residential | [6 empty] | 0 | 0
of which non- residential | [6 empty] | 0 | 0
Energy Statement document details | [8 empty] | Full title, author, date and version
Sustainability Plan document details | [8 empty] | Full title, author, date and version
TABLE 2. KEY METRICS |  |  |  |  | Further notes
CO2e savings against baseline |  | tonnes/yr | 3.95 |  | Populated from sheets, CO2e savings beyond the Baseline (Building Regs Part L 2021)
Renewable Capacity Installed |  | kWp | 156.075 |  | Total capacity of renewables installed
Green Infrastructure Installed |  | m² | 0 |  | Total area of green infrastructure i.e. green roofs, rain gardens and other vegetated areas
Further guidance can be found in London Plan Guidance on Urban Greening Factors (London Plan Policy G5)
TABLE 2. ENERGY STATEMENT |  |  |  |  | Further notes
Complete relevant tabs to populate tables automatically |  |  |  |  | SAP 10.2 should be used for all submissions after 1st January 2023 - Please contact your planning case officer if another carbon factor has to be used for any reason.
Carbon Factor |  |  | SAP 10.2
New Development Total SAP 10.2
| Total tCO2e | Stage reduction, tCO2 | Stage reduction, %
Baseline | 0 | N/A | N/A |  | Be Lean reduction requirements apply separately for residential 10% and non-residential 15% - see specific tabs. (London Plan SI 2)
Be Lean | 0 | 0 | 0%
Be Clean | 0 | 0 | 0% |  | Relevant if connecting to or creating a Heat Network only (London Plan Policy SI 3)
Be Green | 0 | 0 | 0% |  | Be Green reductions are a minimum 20% from on-site renewable generation for all new Major developments. (Local Plan 8.11)
TOTAL | 0 | 0 | 0%
Target | 0 | 0 | 100%
Shortfall | 0 | 0 | 100% |  | Whole site should aim for zero carbon and a minimum of 35% reduction. A carbon offset applies to any residual emissions, currently £95/t for 30 years (London Plan SI 2)
Offset payment | 0
Refurbished Development Total SAP 10.2
| Total tCO2e | Stage reduction, tCO2 | Stage reduction, %
Baseline | 9.9873 | N/A | N/A |  | Be Lean should aim for 10% residential and 15% non-residential reduction - see specific tabs (London Plan 9.2.1)
Be Lean | 6.9297 | 3.0576 | 30.61%
Be Clean | 6.9297 | 0 | 0% |  | 20% reduction in carbon from on site renewables, after energy efficiency measures (Local Plan 8.11)
Be Green | 6.0373 | 0.89239 | 12.88%
TOTAL | 6.0373 | 3.95 | 39.55% |  | Whole site should aim for zero carbon, carbon offset only applies to new build elements
Whole Development Total SAP 10.2
| Total tCO2e | Stage reduction, tCO2 | Stage reduction, %
Baseline | 9.9873 | N/A | N/A
Be Lean | 6.9297 | 3.0576 | 30.61%
Be Clean | 6.9297 | 0 | 0%
Be Green | 6.0373 | 0.89239 | 12.88%
TOTAL | 6.0373 | 3.95 | 39.55%
Target | 0 | 9.9873 | 100% |  | Whole site should aim for zero carbon but carbon offset only applies to new build elements
Shortfall | 6.0373 | 6.0373 | 60.45%
Offset payment | 0 |  |  |  | New build elements only @ £95/tonne for 30 years

## Dwelling New
Major new residential (or deep refurbishment)
Details of new residential proposals:
Name of applicable buildings/blocks/units
No. of residential units
Floor area (GIA) m2
Energy Statement | [7 empty] | Location of justification / supporting Information |  | Further notes
1. Carbon Reductions | [7 empty] | Document | Page/ section reference | See GLA Energy Assessment Guidance & Camden Planning Guidance (CPG) on Energy Efficiency for detailed guidance.
SAP10.2
| Total tCO2e per annum | Stage reduction, tCO2 | Stage reduction, % | [6 empty] | All major applications should also complete & submit GLA Carbon emission reporting spreadsheet
Baseline
Be Lean |  | 0 | 0% | [6 empty] | Minimum 10% reduction in Carbon Emissions at Be Lean (London Plan Policy SI 2)
Be Clean |  | 0 | 0% | [6 empty] | Relevant if connecting to or creating a Heat Network only (London Plan Policy SI 3)
Be Green |  | 0 | 0% | [6 empty] | Minimum 20% reduction from on-site renewable generation (Local Plan 8.11)
TOTAL | 0 | 0 | 0% | [6 empty] | Minimum 35% reduction on site (London Plan SI 2)
Target | 0 | 0 | 100%
Shortfall | 0 | 0 | 100% | [6 empty] | Whole site should aim for zero carbon and a minimum of 35% reduction. A carbon offset applies to any residual emissions, currently £95/t for 30 years (London Plan SI 2)
Offset payment | 0
2. Regulated and whole life carbon emissions | [9 empty] | CPG Energy Efficiency and Adaptation Chapters 6 & 9
Regulated and whole life carbon |  |  |  |  | Yes / No
a. Worksheets provided (TER and DER for each stage) | [9 empty] | This should include baseline calculations.
b. Whole Life Carbon Assessment provided | [9 empty] | Required for referrable applications or if there is 'substantial demolition'. Refer to GLA Whole Life Carbon Assessment Guidance. - Local Plan CC1 & CPG Energy Efficency 9.5 - 9.8
3. Be Lean
a. Building Fabric |  |  |  |  | Yes / No
i. Meets all Building Regulation part L1 Limiting Fabric Parameters | [9 empty] | Clearly justify if not met
ii. Meets all Part L1 Notional Dwelling Specification | [9 empty] | Clearly justify if not met
iii. What is the proposed Air permeability? | [5 empty] | m3/(h·m2) @ 50Pa
b. Active design measures |  |  |  |  | Yes / No
i. Efficient centralised MVHR or individual units next to external wall
Camden Local Plan Policy CC1, London Plan SI 3, CPG Energy Efficiency and Adaptation Chapter 4 (includes link to Camden’s Borough Wide Heat Demand and Heat Source Mapping study)
4. Be Clean
Potential decentralised energy network |  |  |  |  | Yes / No
a. Is the site within 500m of existing network? | [9 empty] | State location & detail feasibility of connection.
b. If no to a) Within 1km of existing or potential network? | [9 empty] | State location & detail future proofing of connection.
c. If yes to b) Future proofing checklist completed? | [9 empty] | See Appendix 3 of CPG Energy Efficiency and Adaptation
d. Is a site wide heat network proposed?
e. CHP and District Heating Feasibility Checklist completed? | [9 empty] | See Appendix 3 of CPG Energy Efficiency and Adaptation
5.Be Green | [9 empty] | London Plan Policy SI 2 ,Camden Local Plan Policy CC1 and section 8.11
Minimum 20% reduction in CO2 from on-site renewable energy technologies |  |  |  | Viable (Yes /No) | Proposed (kW) | Expected tCO2 saved per annum | COP (at rating conditions in BS EN 14511-2) |  |  | A robust renewable feasibility assessment should be completed and installation of renewable technologies should be maximised. See Chapter 5 of the CPG on Energy Efficiency and Adaptation.
a. Solar PV (photovoltaics) | [9 empty] | Detail array size, layout drawings, estimated generation, CO2 savings, overshadowing assessment.
b. Solar Thermal (water heating)
c. Air source heat pump (air to water) | [9 empty] | Details required include type of system / details of the Coefficient of Performance (COP) and Energy Efficiency Ration (EER) / CO2 savings / noise and visual effects / commitment to monitoring the performance post-construction /information to and control by end-users
d. Air source heat pump (air to air)
e. Ground source heat pump
f. Other please state
g. Other please state | [9 empty] | Details required technical details, CO2 savings, air quality impacts, visual or noise implications
6. Be Seen
a. Building management, metering and monitoring |  |  |  |  | Yes / No |  |  |  |  | London Plan Policy SI 2, Camden Local Plan section 8.28, CPG Energy Efficiency and Adaptation Chapter 5
i. Will there be a whole-building energy management system (BEMS)?
ii. Will all units be individually metered?
iii. Will key plant be monitored post construction?
b. Be Seen reporting requirements to Greater London Authority (GLA) |  |  |  |  | Yes / No |  |  |  |  | See GLA Be Seen Energy Monitoring Guidance.
i. Required data will be uploaded to GLA 'Be Seen' portal
Sustainability Statement | [7 empty] | Location of justification / supporting Information |  | Further notes
7. Overheating | [7 empty] | Document | Page/ section reference | Local Plan Policy CC2, London Plan Policy SI 4, GLA Energy Assessment Guidance Chapter 8.
Overheating / cooling (Camden Local Plan section 8.41.8.42 and CPG Energy Efficiency and Adaptation Cht 10) |  |  |  |  | Yes / No
a. Applied cooling hierarchy, passive design measures included? | [9 empty] | See GLA Energy Assessment Guidance, Good Homes Alliance 'Early Stage Overheating Risk Tool'.
b. Overheating risk tool completed and provided? | [9 empty] | Requirements set out in The GLA Energy Assessment Guidance Chapter 8.
c. Overheating - dynamic thermal modelling completed? | [9 empty] | Design must be informed by the cooling hierarchy, passive design measure should be incorporated before any active cooling. It is not anticipated that active cooling will be required in new residential development.
d. Is active cooling proposed?
Passive measures |  |  |  |  | Yes / No
i. Orientation and site layout optimised | [9 empty] | CPG Energy Efficiency and Adaptation Chapter 3
ii. Units at least dual aspect and designed to allow natural ventilation
iii. Solar shading incorporated into the design | [9 empty] | Requirments set out in Building Regs Part O section 1.9
iv. Exposed internal thermal mass and night time purge ventilation
v. Other please state | [9 empty] | Details should be set out as in 7.5 & 7.6 of GLA Energy Assessment Guidance
8. Reducing Waste and the Circular Economy
Material and waste |  |  |  |  | Response |  |  |  |  | Local Plan Policy CC1, London Plan SI 7, CPG Energy Efficiency and Adaptation Cht 9
a. Pre-demolition audit completed? | [9 empty] | Significant demolition must justify why the existing buildings can't be retained Local Plan policy CC1.
b. Whole life carbon assessment submitted? (see note) | [9 empty] | Required if referable to the Mayor and/or there is significant demolition. Local Plan CC1, London Plan SI7
c. % of construction & demolition waste be reused/recycled? | [5 empty] | % |  |  |  | 95% of construction and demolition waste should be reused/recycled London Plan Policy SI7
d. % of excavation waste be put to beneficial use? | [5 empty] | % |  |  |  | 95% beneficial use of inert excavation waste London Plan Policy SI7
e. Circular economy statement submitted (see note) | [9 empty] | Required if referable to the Mayor, London Plan Policy SI7
9. Green infrastructure | [9 empty] | Camden Local Plan CC2, London Plan Policy G5, CPG Energy Efficiency and Adaptation Cht 10
Green infrastructure and biodiversity |  |  |  |  | Area m2
a. Green/blue roof | [9 empty] | The Council will expect all developments to incorporate green infrastructure unless it is demonstrated this is not possible or appropriate. This includes new and existing buildings. Please refer to CPG Energy Efficiency and Adaptation chapter 10 & London Plan Guidance on Urban Greening Factors (London Plan Policy G5)
b. Green roof
c. Green wall
d. Vegetated SuDs features i.e. Rain Gardens, Tree pits
e. Other Green infrastructure please state:
10. Water
Water efficiency (Camden Local Plan section 8.55 and CPG Water and Flooding Cht 2) |  |  |  |  | Response | Unit |  |  |  | Local Plan CC3 + section 8.55, London Plan SI 13
a. Greywater/rainwater harvesting system feasibility assessment? | [9 empty] | The Camden Local plan section 8.55 states 'Major developments and high or intense water use developments, such as hotels, hostels and student housing, should include a grey water and rainwater harvesting system. Where such a system is not feasible or practical, developers must demonstrate to the Council’s satisfaction that this is the case.'
b. Greywater harvesting capacity proposed | [5 empty] | m3
c. Rainwater harvesting capacity proposed | [5 empty] | m3
Additional comments / notes:

## Dwelling Refurbishment
Major residential refurbishment
Details of refurbished residential proposals:
Name of applicable buildings / blocks / units
No. of residential units
Floor area (GIA) m2
Energy Statement | [7 empty] | Location of justification / supporting Information |  | Further notes
1. Carbon Reductions | [7 empty] | Document | Page/ section reference | See GLA Energy Assessment Guidance & Camden Planning Guidance (CPG) on Energy Efficiency for detailed guidance.
SAP10.2
| Total tCO2e per annum | Stage reduction, tCO2 | Stage reduction, % | [6 empty] | Referables should also complete GLA Carbon emission reporting spreadsheet
Baseline
Be Lean |  | 0 | 0% | [6 empty] | Should not increase. Aim for 10% reduction in CO2 emissions (London Plan 9.2.1).
Be Clean |  | 0 | 0% | [6 empty] | Relevant if connecting to or creating a Heat Network only (London Plan Policy SI 3)
Be Green |  | 0 | 0% | [6 empty] | 20% reduction in carbon from on site renewables, after energy efficiency measures incorporated (Local Plan 8.11)
TOTAL | 0 | 0 | 0% | [6 empty] | Aim for 35% reduction on site
Target | N/A | N/A | N/A | [6 empty] | Major refurbishments should aim for the greatest possible reduction, as close to zero carbon as possible.
Shortfall | N/A | N/A | N/A
Offset payment | N/A
2. Regulated and whole life carbon emissions | [9 empty] | CPG Energy Efficiency and Adaptation Chts 6 & 9
Regulated and whole life carbon |  |  |  |  | Yes / No
a. Worksheets provided (TER and DER for each stage) | [9 empty] | This should include baseline calculations.
b. Whole Life Carbon Assessment provided | [9 empty] | Required for referrable applications or if there is 'substantial demolition'. Refer to GLA Whole Life Carbon Assessment Guidance.
3. Be Lean
a. Building Fabric |  |  |  |  | Yes / No
i. Meets all Building Regulation part L1 Limiting Fabric Parameters | [9 empty] | Clearly justify if not met
ii. Meets all Part L1 Notional Dwelling Specification | [9 empty] | Clearly justify if not met
iii. What is the proposed Air permeability? | [5 empty] | m3/(h·m2) @ 50Pa
b. Active design measures |  |  |  |  | Yes / No
i. Efficient centralised MVHR or individual units next to external wall
4. Be Clean | [9 empty] | Camden Local Plan Policy CC1, London Plan SI 3, CPG Energy Efficiency and Adaptation Chapter 4 (includes link to Camden’s Borough Wide Heat Demand and Heat Source Mapping study)
Potential decentralised energy network |  |  |  |  | Yes / No
a. Is the site within 500m of existing network? | [9 empty] | State location & detail feasibility of connection.
b. If no to a) Within 1km of existing or potential network? | [9 empty] | State location & detail future proofing of connection.
c. If yes to b) Future proofing checklist completed? | [9 empty] | See Appendix 3 of CPG Energy Efficiency and Adaptation
d. Is a site wide heat network proposed?
f. CHP and District Heating Feasibility Checklist completed?
5.Be Green | [9 empty] | London Plan Policy SI 2 ,Camden Local Plan Policy CC1 and section 8.11
Minimum 20% reduction in CO2 from on-site renewable energy technologies |  |  |  | Viable (Yes /No) | Proposed (kW) | Expected tCO2 saved per annum | COP (at rating conditions in BS EN 14511-2) |  |  | A robust renewable feasibility assessment should be completed and installation of renewable technologies should be maximised. See Chapter 5 of the CPG on Energy Efficiency and Adaptation.
a. Solar PV (photovoltaics) | [9 empty] | Detail array size, layout drawings, estimated generation, CO2 savings, overshadowing assessment.
b. Solar Thermal (water heating)
c. Air source heat pump (air to water) | [9 empty] | Details required include type of system / details of the Coefficient of Performance (COP) and Energy Efficiency Ration (EER) / CO2 savings / noise and visual effects / commitment to monitoring the performance post-construction /information to and control by end-users
d. Air source heat pump (air to air)
e. Ground source heat pump
f. Other please state
g. Other please state | [9 empty] | Details required technical details, CO2 savings, air quality impacts, visual or noise implications
6. Be Seen
a. Building management, metering and monitoring |  |  |  |  | Yes / No |  |  |  |  | London Plan Policy SI 2, Camden Local Plan section 8.28, CPG Energy Efficiency and Adaptation Cht 5
i. Will there be a whole-building energy management system (BEMS)?
ii. Will all units be individually metered?
iii. Will key plant be monitored post construction?
b. Be Seen reporting requirements to Greater London Authority (GLA) |  |  |  |  | Yes / No |  |  |  |  | See GLA Be Seen Energy Monitoring Guidance.
i. Required data will be uploaded to GLA 'Be Seen' portal
Sustainability Statement | [7 empty] | Location of justification / supporting Information |  | Further notes
7. Overheating | [7 empty] | Document | Page/ section reference | Local Plan Policy CC2, London Plan Policy SI 4, GLA Energy Assessment Guidance Chapter 8.
Overheating / cooling (Camden Local Plan section 8.41.8.42 and CPG Energy Efficiency and Adaptation Cht 10) |  |  |  |  | Yes / No
a. Applied cooling hierarchy, passive design measures included? | [9 empty] | See GLA Energy Assessment Guidance, Good Homes Alliance 'Early Stage Overheating Risk Tool'.
b. Overheating risk tool completed and provided? | [9 empty] | Requirements set out in The GLA Energy Assessment Guidance.
c. Overheating - dynamic thermal modelling completed? | [9 empty] | Design must be informed by the cooling hierarchy, passive design measure should be incorporated before any active cooling. It is not anticipated that active cooling will be required in new residential development.
d. Is active cooling proposed?
Passive measures |  |  |  |  | Yes / No |  |  |  |  | CPG Energy Efficiency and Adaptation Cht 3
i. Orientation and site layout optimised
ii. Units at least dual aspect and designed to allow natural ventilation
iii. Solar shading incorporated into the design
iv. Exposed internal thermal mass and night time purge ventilation
v. Other please state | [9 empty] | Details should be set out as in 7.5 & 7.6 of GLA Energy Assessment Guidance
8. Reducing Waste and the Circular Economy
Material and waste |  |  |  |  | Response |  |  |  |  | Local Plan Policy CC1, London Plan SI 7, CPG Energy Efficiency and Adaptation Cht 9
a. Pre-demolition audit completed? | [9 empty] | Significant demolition must justify why the existing buildings can't be retained Local Plan policy CC1.
b. Whole life carbon assessment submitted? (see note) | [9 empty] | Required if referable to the Mayor and/or there is significant demolition. Local Plan CC1, London Plan SI7
c. % of construction & demolition waste be reused/recycled? | [5 empty] | % |  |  |  | 95% of construction and demolition waste should be reused/recycled London Plan Policy SI7
d. % of excavation waste be put to beneficial use? | [5 empty] | % |  |  |  | 95% beneficial use of inert excavation waste London Plan Policy SI7
e. Circular economy statement submitted (see note) | [9 empty] | Required if referable to the Mayor, London Plan policy SI7
9. Green infrastructure
Green infrastructure and biodiversity |  |  |  |  | Area m2 |  |  |  |  | Camden Local Plan CC2, London Plan Policy G5, CPG Energy Efficiency and Adaptation Cht 10
a. Green/blue roof | [9 empty] | The Council will expect all developments to incorporate green infrastructure unless it is demonstrated this is not possible or appropriate. This includes new and existing buildings. Please refer to CPG Energy Efficiency and Adaptation chapter 10 & London Plan Guidance on Urban Greening Factors (London Plan Policy G5)
b. Green roof
c. Green wall
d. Vegetated SuDs features i.e. Rain Gardens, Tree pits
e. Other Green infrastructure please state:
10. Water
Water efficiency |  |  |  |  | Response | Unit |  |  |  | Local Plan CC3 + section 8.55, London Plan SI 13 CPG Water and Flooding Cht 2
a. Water use per person per day (internal) | [5 empty] | litres |  |  |  | Maximum 105 litres/person/day. Local Plan section 8.55 and CPG Water and Flooding Chapter 2.
b. Water use per person per day (external) including irrigation | [5 empty] | litres |  |  |  | Maximum 5 litres/ person / day. CPG Water and Flooding Chapter 2
c. Greywater/rainwater harvesting system feasibility assessment? | [9 empty] | The Camden Local plan section 8.55 states 'Major developments and high or intense water use developments, such as hotels, hostels and student housing, should include a grey water and rainwater harvesting system. Where such a system is not feasible or practical, developers must demonstrate to the Council’s satisfaction that this is the case.'
d. Greywater harvesting capacity proposed | [5 empty] | m3
e. Rainwater harvesting capacity proposed | [5 empty] | m3
11. Adapting to Climate Change
BREEAM - Overall |  |  |  |  | Score |  |  |  |  | Local Plan Policy CC2 and section 8.46 to 8.48 CPG Energy Efficiency Cht 11
a. Overall rating | [9 empty] | BREEAM Excellent is encouraged for 5+ dwellings or 500sqm+ of floorspace Local Plan Policy CC2
b. Overall % score | [9 empty] | More than 70% to meet 'Excellent'
Additional comments / notes:

## Non-Dwelling New
Major New Non-Dwelling (or deep refurbishment)
Details of new Non-Dwelling proposals:
Name of applicable buildings / blocks / units
Floor area (GIA) m2
Energy Statement | [7 empty] | Location of justification / supporting Information |  | Further notes
1. Carbon Reductions | [7 empty] | Document | Page/ section reference | See GLA Energy Assessment Guidance & Camden Planning Guidance (CPG) on Energy Efficiency for detailed guidance.
SAP10.2
| Total tCO2e per annum | Stage reduction, tCO2 | Stage reduction, % | [6 empty] | Referables should also complete GLA Carbon emission reporting spreadsheet
Baseline
Be Lean |  | 0 | 0% | [6 empty] | Should not increase. 15% reduction in CO2 at be lean
Be Clean |  | 0 | 0% | [6 empty] | Relevant if connecting to or creating a Heat Network only (London Plan Policy SI 3)
Be Green |  | 0 | 0% | [6 empty] | Greatest possible reduction after energy efficiency measures incorporated
TOTAL | 0 | 0 | 0%
Target | 0 | 0 | 100% | [6 empty] | Overall target is zero carbon
Shortfall | 0 | 0 | 100%
Offset payment | 0 | [8 empty] | £95/t for 30 years
2. Regulated and whole life carbon emissions | [9 empty] | CPG Energy Efficiency and Adaptation Chts 6 & 9
Regulated and whole life carbon |  |  |  |  | Yes / No
a. Worksheets provided (BRUKL for each stage) | [9 empty] | This should include baseline calculations.
b. Whole Life Carbon Assessment provided | [9 empty] | Required for referrable applications or if there is 'substantial demolition'. Refer to GLA Whole Life Carbon Assessment Guidance.
3. Be Lean
a. Building Fabric |  |  |  |  | Yes / No
i. Meets all Building Regulation part L2 Limiting Fabric Parameters | [9 empty] | Clearly justify if not met
ii. Meets all Part L2 Notional Non-Dwelling Specification | [9 empty] | Clearly justify if not met
iii. What is the proposed Air permeability? | [5 empty] | m3/(h·m2) @ 50Pa
b. Active design measures |  |  |  |  | Yes / No
i. Efficient centralised MVHR or individual units next to external wall
4. Be Clean | [9 empty] | Camden Local Plan Policy CC1, London Plan SI 3, CPG Energy Efficiency and Adaptation Chapter 4 (includes link to Camden’s Borough Wide Heat Demand and Heat Source Mapping study)
Potential decentralised energy network |  |  |  |  | Yes / No
a. Is the site within 500m of existing network? | [9 empty] | State location & detail feasibility of connection.
b. If no to a) Within 1km of existing or potential network? | [9 empty] | State location & detail future proofing of connection.
c. If yes to b) Future proofing checklist completed? | [9 empty] | See Appendix 3 of CPG Energy Efficiency and Adaptation
d. Is a site wide heat network proposed?
f. CHP and District Heating Feasibility Checklist completed?
5.Be Green | [9 empty] | London Plan Policy SI 2 ,Camden Local Plan Policy CC1 and section 8.11
Minimum 20% reduction in CO2 from on-site renewable energy technologies |  |  |  | Viable (Yes /No) | Proposed (kW) | Expected tCO2 saved per annum | COP (at rating conditions in BS EN 14511-2) |  |  | A robust renewable feasibility assessment should be completed and installation of renewable technologies should be maximised. See Chapter 5 of the CPG on Energy Efficiency and Adaptation.
a. Solar PV (photovoltaics) | [9 empty] | Detail array size, layout drawings, estimated generation, CO2 savings, overshadowing assessment.
b. Solar Thermal (water heating)
c. Air source heat pump (air to water) | [9 empty] | Details required include type of system / details of the Coefficient of Performance (COP) and Energy Efficiency Ration (EER) / CO2 savings / noise and visual effects / commitment to monitoring the performance post-construction /information to and control by end-users
d. Air source heat pump (air to air)
e. Ground source heat pump
f. Other please state
g. Other please state | [9 empty] | Details required technical details, CO2 savings, air quality impacts, visual or noise implications
6. Be Seen
a. Building management, metering and monitoring |  |  |  |  | Yes / No |  |  |  |  | London Plan Policy SI 2, Camden Local Plan section 8.28, CPG Energy Efficiency and Adaptation Cht 5
i. Will there be a whole-building energy management system (BEMS)?
ii. Will all units be individually metered?
iii. Will key plant be monitored post construction?
b. Be Seen reporting requirements to Greater London Authority (GLA) |  |  |  |  | Yes / No |  |  |  |  | See GLA Be Seen Energy Monitoring Guidance.
i. Required data will be uploaded to GLA 'Be Seen' portal
Sustainability Statement | [7 empty] | Location of justification / supporting Information |  | Further notes
7. Overheating | [7 empty] | Document | Page/ section reference | Local Plan Policy CC2, London Plan Policy SI 4, GLA Energy Assessment Guidance Chapter 8.
Overheating / cooling (Camden Local Plan section 8.41.8.42 and CPG Energy Efficiency and Adaptation Cht 10) |  |  |  |  | Yes / No
a. Applied cooling hierarchy, passive design measures included? | [9 empty] | See GLA Energy Assessment Guidance Chapter 8
c. Overheating - dynamic thermal modelling completed? | [9 empty] | Design must be informed by the cooling hierarchy, passive design measure should be incorporated before any active cooling.
d. Is active cooling proposed?
Passive measures |  |  |  |  | Yes / No |  |  |  |  | CPG Energy Efficiency and Adaptation Cht 3
i. Orientation and site layout optimised
ii. Units at least dual aspect and designed to allow natural ventilation
iii. Solar shading incorporated into the design
iv. Exposed internal thermal mass and night time purge ventilation
v. Other please state | [9 empty] | Details should be set out as in 7.5 & 7.6 of GLA Energy Assessment Guidance
8. Reducing Waste and the Circular Economy
Material and waste |  |  |  |  | Response |  |  |  |  | Local Plan Policy CC1, London Plan SI 7, CPG Energy Efficiency and Adaptation Cht 9
a. Pre-demolition audit completed? | [9 empty] | Significant demolition must justify why the existing buildings can't be retained Local Plan policy CC1.
b. Whole life carbon assessment submitted? (see note) | [9 empty] | Required if referable to the Mayor and/or there is significant demolition. Local Plan CC1, London Plan SI7
c. % of construction & demolition waste be reused/recycled? | [5 empty] | % |  |  |  | 95% of construction and demolition waste should be reused/recycled London Plan Policy SI7
d. % of excavation waste be put to beneficial use? | [5 empty] | % |  |  |  | 95% beneficial use of inert excavation waste London Plan Policy SI7
e. Circular economy statement submitted (see note) | [9 empty] | Required if referable to the Mayor, London Plan policy SI7
9. Green infrastructure
Green infrastructure and biodiversity |  |  |  |  | Area m2 |  |  |  |  | Camden Local Plan CC2, London Plan Policy G5, CPG Energy Efficiency and Adaptation Cht 10
a. Green/blue roof | [9 empty] | The Council will expect all developments to incorporate green infrastructure unless it is demonstrated this is not possible or appropriate. This includes new and existing buildings. Please refer to CPG Energy Efficiency and Adaptation chapter 10 & London Plan Guidance on Urban Greening Factors (London Plan Policy G5)
b. Green roof
c. Green wall
d. Vegetated SuDs features i.e. Rain Gardens, Tree pits
e. Other Green infrastructure please state:
10. Water
Water efficiency (Camden Local Plan section 8.55 and CPG Water and Flooding Cht 2) |  |  |  |  | Response | Unit |  |  |  | Local Plan CC3 + section 8.55, London Plan SI 13
a. Greywater/rainwater harvesting system feasibility assessment? | [9 empty] | The Camden Local plan section 8.55 states 'Major developments and high or intense water use developments, such as hotels, hostels and student housing, should include a grey water and rainwater harvesting system. Where such a system is not feasible or practical, developers must demonstrate to the Council’s satisfaction that this is the case.'
b. Greywater harvesting capacity proposed | [5 empty] | m3
c. Rainwater harvesting capacity proposed | [5 empty] | m3
11. Adapting to Climate Change
BREEAM - Overall |  |  |  |  | Score |  |  |  |  | Local Plan Policy CC2 and section 8.46 to 8.49 CPG Energy Efficiency Cht 11
a. Overall rating | [9 empty] | At least BREEAM Excellent Is required for 500sqm or more floorspace
b. Overall % score | [9 empty] | More than 70% required to meet 'Excellent'
BREEAM - Categories |  |  |  |  | Available credits | Targeted | %
c. Energy | [6 empty] | 0% |  |  | At least 60% of unweighted credits
d. Water | [6 empty] | 0% |  |  | At least 60% of unweighted credits
e. Materials | [6 empty] | 0% |  |  | At least 40% of unweighted credits
Additional comments / notes:

## Non-Dwelling Refurbishment
Major Refurbishment Non-Dwelling
Details of Refurbishment Non-Dwelling proposals:
Name of applicable buildings / blocks / units
Floor area (GIA) m2
Energy Statement | [7 empty] | Location of justification / supporting Information |  | Further notes
1. Carbon Reductions | [7 empty] | Document | Page/ section reference | See GLA Energy Assessment Guidance & Camden Planning Guidance (CPG) on Energy Efficiency for detailed guidance.
SAP10.2
| Total tCO2e per annum | Stage reduction, tCO2 | Stage reduction, % | [6 empty] | Referables should also complete GLA Carbon emission reporting spreadsheet
Baseline | 9.9873 | [6 empty] | MEP Sustainability Statement | P15 - Modelling Results
Be Lean | 6.9297 | 3.0576 | 30.61% |  |  |  |  | MEP Sustainability Statement | P15 - Modelling Results | Should not increase. 15% reduction in CO2 at be lean
Be Clean | 6.9297 | 0 | 0% |  |  |  |  | MEP Sustainability Statement | P15 - Modelling Results | Relevant if connecting to or creating a Heat Network only (London Plan Policy SI 3)
Be Green | 6.0373 | 0.89239 | 12.88% |  |  |  |  | MEP Sustainability Statement | P15 - Modelling Results | Greatest possible reduction after energy efficiency measures incorporated
TOTAL | 6.0373 | 3.95 | 39.55% |  |  |  |  | MEP Sustainability Statement | P15 - Modelling Results | Major refurbishments should aim for the greatest possible reduction, as close to zero carbon as possible.
Target | N/A | N/A | N/A
Shortfall | N/A | N/A | N/A
Offset payment | N/A
2. Regulated and whole life carbon emissions | [9 empty] | CPG Energy Efficiency and Adaptation Chts 6 & 9
Regulated and whole life carbon |  |  |  |  | Yes / No
a. Worksheets provided (BRUKL for each stage) |  |  |  |  | Yes |  |  | MEP Sustainability Statement | Appendix 2-4 | This should include baseline calculations.
b. Whole Life Carbon Assessment provided |  |  |  |  | Yes |  |  | MEP Sustainability Statement | P16-17 - Carbon & Cost Analysis | Required for referrable applications or if there is 'substantial demolition'. Refer to GLA Whole Life Carbon Assessment Guidance.
3. Be Lean
a. Building Fabric |  |  |  |  | Yes / No
i. Meets all Building Regulation part L2 Limiting Fabric Parameters |  |  |  |  | Yes |  |  | MEP Sustainability Statement | P8 - Table 1 | Clearly justify if not met
ii. Meets all Part L2 Notional Non-Dwelling Specification |  |  |  |  | Yes |  |  | MEP Sustainability Statement | P8 - Table 1 | Clearly justify if not met
iii. What is the proposed Air permeability? |  |  |  |  | 3 | m3/(h·m2) @ 50Pa |  | MEP Sustainability Statement | P8 - Table 1
b. Active design measures |  |  |  |  | Yes / No
i. Efficient centralised MVHR or individual units next to external wall |  |  |  |  | Yes |  |  | MEP Sustainability Statement | P9 - Ventilation and Passive Cooling
4. Be Clean | [9 empty] | Camden Local Plan Policy CC1, London Plan SI 3, CPG Energy Efficiency and Adaptation Chapter 4 (includes link to Camden’s Borough Wide Heat Demand and Heat Source Mapping study)
Potential decentralised energy network |  |  |  |  | Yes / No
a. Is the site within 500m of existing network? |  |  |  |  | No |  |  | MEP Sustainability Statement | Appendix 1 | State location & detail feasibility of connection.
b. If no to a) Within 1km of existing or potential network? |  |  |  |  | Yes |  |  | MEP Sustainability Statement | Appendix 1 | State location & detail future proofing of connection.
c. If yes to b) Future proofing checklist completed? |  |  |  |  | No |  |  |  |  | See Appendix 3 of CPG Energy Efficiency and Adaptation
d. Is a site wide heat network proposed? |  |  |  |  | No
f. CHP and District Heating Feasibility Checklist completed? |  |  |  |  | No
5.Be Green | [9 empty] | London Plan Policy SI 2 ,Camden Local Plan Policy CC1 and section 8.11
Minimum 20% reduction in CO2 from on-site renewable energy technologies |  |  |  | Viable (Yes /No) | Proposed (kW) | Expected tCO2 saved per annum | COP (at rating conditions in BS EN 14511-2) |  |  | A robust renewable feasibility assessment should be completed and installation of renewable technologies should be maximised. See Chapter 5 of the CPG on Energy Efficiency and Adaptation.
a. Solar PV (photovoltaics) |  |  |  | Yes | 6.075 | 612 |  | MEP Sustainability Statement | P16-17 - Carbon & Cost Analysis | Detail array size, layout drawings, estimated generation, CO2 savings, overshadowing assessment.
b. Solar Thermal (water heating) |  |  |  | No
c. Air source heat pump (air to water) |  |  |  | Yes | 150 | 1548 | 3.2 | MEP Sustainability Statement | P16-17 - Carbon & Cost Analysis | Details required include type of system / details of the Coefficient of Performance (COP) and Energy Efficiency Ration (EER) / CO2 savings / noise and visual effects / commitment to monitoring the performance post-construction /information to and control by end-users
d. Air source heat pump (air to air) |  |  |  | No
e. Ground source heat pump |  |  |  | No
f. Other please state
g. Other please state | [9 empty] | Details required technical details, CO2 savings, air quality impacts, visual or noise implications
6. Be Seen
a. Building management, metering and monitoring |  |  |  |  | Yes / No |  |  |  |  | London Plan Policy SI 2, Camden Local Plan section 8.28, CPG Energy Efficiency and Adaptation Cht 5
i. Will there be a whole-building energy management system (BEMS)? |  |  |  |  | Yes |  |  | MEP Sustainability Statement | P10 - 4.4 Be Seen
ii. Will all units be individually metered? |  |  |  |  | Yes |  |  | MEP Sustainability Statement | P10 - 4.4 Be Seen
iii. Will key plant be monitored post construction? |  |  |  |  | Yes |  |  | MEP Sustainability Statement | P10 - 4.4 Be Seen
b. Be Seen reporting requirements to Greater London Authority (GLA) |  |  |  |  | Yes / No |  |  |  |  | See GLA Be Seen Energy Monitoring Guidance.
i. Required data will be uploaded to GLA 'Be Seen' portal |  |  |  |  | Yes
Sustainability Statement | [7 empty] | Location of justification / supporting Information |  | Further notes
7. Overheating | [7 empty] | Document | Page/ section reference | Local Plan Policy CC2, London Plan Policy SI 4, GLA Energy Assessment Guidance Chapter 8.
Overheating / cooling (Camden Local Plan section 8.41.8.42 and CPG Energy Efficiency and Adaptation Cht 10) |  |  |  |  | Yes / No
a. Applied cooling hierarchy, passive design measures included? |  |  |  |  | Yes |  |  | MEP Sustainability Statement | P8 - 4.1 Be Lean (Reduce Energy Demand) | See GLA Energy Assessment Guidance Chapter 8.
c. Overheating - dynamic thermal modelling completed? |  |  |  |  | Yes |  |  | MEP Sustainability Statement | P.15 - 6.0 Modelling Results | Design must be informed by the cooling hierarchy, passive design measure should be incorporated before any active cooling.
d. Is active cooling proposed? |  |  |  |  | Yes |  |  | MEP Sustainability Statement | P11 - 4.6 Cooling
Passive measures |  |  |  |  | Yes / No |  |  |  |  | CPG Energy Efficiency and Adaptation Cht 3
i. Orientation and site layout optimised |  |  |  |  | Yes |  |  | MEP Sustainability Statement | P8 - 4.1 Be Lean (Reduce Energy Demand)
ii. Units at least dual aspect and designed to allow natural ventilation |  |  |  |  | No |  |  | MEP Sustainability Statement | P8 - 4.1 Be Lean (Reduce Energy Demand)
iii. Solar shading incorporated into the design |  |  |  |  | Yes
iv. Exposed internal thermal mass and night time purge ventilation |  |  |  |  | Yes |  |  | MEP Sustainability Statement | P8 - Solar Shading & Glazing Positions
v. Other please state | [9 empty] | Details should be set out as in 7.5 & 7.6 of GLA Energy Assessment Guidance
8. Reducing Waste and the Circular Economy
Material and waste |  |  |  |  | Response |  |  |  |  | Local Plan Policy CC1, London Plan SI 7, CPG Energy Efficiency and Adaptation Cht 9
a. Pre-demolition audit completed? | [9 empty] | Significant demolition must justify why the existing buildings can't be retained Local Plan policy CC1.
b. Whole life carbon assessment submitted? (see note) | [9 empty] | Required if referable to the Mayor and/or there is significant demolition. Local Plan CC1, London Plan SI7
c. % of construction & demolition waste be reused/recycled? | [5 empty] | % |  |  |  | 95% of construction and demolition waste should be reused/recycled London Plan Policy SI7
d. % of excavation waste be put to beneficial use? | [5 empty] | % |  |  |  | 95% beneficial use of inert excavation waste London Plan Policy SI7
e. Circular economy statement submitted (see note) | [9 empty] | Required if referable to the Mayor, London Plan policy SI7
9. Green infrastructure
Green infrastructure and biodiversity |  |  |  |  | Area m2 |  |  |  |  | Camden Local Plan CC2, London Plan Policy G5, CPG Energy Efficiency and Adaptation Cht 10
a. Green/blue roof | [9 empty] | The Council will expect all developments to incorporate green infrastructure unless it is demonstrated this is not possible or appropriate. This includes new and existing buildings. Please refer to CPG Energy Efficiency and Adaptation chapter 10 & London Plan Guidance on Urban Greening Factors (London Plan Policy G5)
b. Green roof
c. Green wall
d. Vegetated SuDs features i.e. Rain Gardens, Tree pits
e. Other Green infrastructure please state:
10. Water
Water efficiency (Camden Local Plan section 8.55 and CPG Water and Flooding Cht 2) |  |  |  |  | Response | Unit |  |  |  | Local Plan CC3 + section 8.55, London Plan SI 13
a. Greywater/rainwater harvesting system feasibility assessment? | [9 empty] | The Camden Local plan section 8.55 states 'Major developments and high or intense water use developments, such as hotels, hostels and student housing, should include a grey water and rainwater harvesting system. Where such a system is not feasible or practical, developers must demonstrate to the Council’s satisfaction that this is the case.'
b. Greywater harvesting capacity proposed | [5 empty] | m3
c. Rainwater harvesting capacity proposed | [5 empty] | m3
11. Adapting to Climate Change
BREEAM - Overall |  |  |  |  | Score |  |  |  |  | Local Plan Policy CC2 and section 8.46 to 8.49 CPG Energy Efficiency Cht 11
a. Overall rating | [9 empty] | At least BREEAM Excellent Is required for 500sqm or more floorspace
b. Overall % score | [9 empty] | More than 70% required to meet 'Excellent'
BREEAM - Categories |  |  |  |  | Available credits | Targeted | %
c. Energy | [6 empty] | 0% |  |  | At least 60% of unweighted credits
d. Water | [6 empty] | 0% |  |  | At least 60% of unweighted credits
e. Materials | [6 empty] | 0% |  |  | At least 40% of unweighted credits
Additional comments / notes:

## Lists (hidden)
Dev type | Dev type 2 | Carbon Factor | Answer
Residential | New | Choose Option | Yes
Non-residential | Refurbished | SAP 10.2 | No
Mixed use | New & refurbished | SAP 10.0 | N/A
Choose Option | Choose Option