DECISION

Planning (Listed Building and Conservation Areas) Act 1990

Listed Building Consent Granted

Address:

Dickens House Museum

48 Doughty Street

London

WC1N 2LX

Proposal:

Addition of one Premises Information Box to front lightwell of 48 Doughty Street and one Premises Information Box to front lightwell of 49 Doughty Street on advice of London Fire Brigade.

Drawing Nos: Site Location Plan; Existing Plans & Elevations; Proposed Plans & Elevations; HSSPIBC Specification Sheet - Certified High Security Grade OS0008-4C4; Design and Access & Heritage Statement.

The Council has considered your application and decided to grant Listed Building Consent subject to the following condition(s):

Conditions And Reasons:

| 1 | The works hereby permitted shall be begun not later than the end of three years from the date of this consent. Reason: In order to comply with the provisions of Section 18 of the Planning (Listed Buildings and Conservation Areas) Act 1990. |
| --- | --- |
| 2 | The development hereby permitted shall be carried out in accordance with the following approved plans: Site Location Plan; Existing Plans & Elevations; Proposed Plans & Elevations; HSSPIBC Specification Sheet - Certified High Security Grade OS0008-4C4; Design and Access & Heritage Statement. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |
| 3 | All new work and work of making good shall be carried out to match the existing adjacent work as closely as possible in materials and detailed execution. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |

Informative(s):

|  | Reasons for granting listed building consent: The application site is the Charles Dickens Museum, which comprises a grade I listed mid-terrace townhouse at No 48 Doughty Street and the linked adjacent grade II listed mid-terrace townhouse at No 49 Doughty Street. The museum is located on the eastern side of Doughty Street within the Bloomsbury Conservation Area. Approval is sought for the installation of premises information boxes to the front lightwells of both No 48 and No 49 Doughty Street on the advice of London Fire Brigade, to allow access to the museum's emergency plan and remove the need to cause damage to the buildings when gaining access should a keyholder not be present in an emergency. The high security grade boxes measure 570mm high x 495mm wide x 93mm deep, and are constructed from steel with an anti-corrosion powder-coated red finish (RAL 3002), fronted by a photo-luminescent emblem for visibility in a dark environment. The boxes will be positioned at low level below the external metal stairs on the northern retaining wall of each front lightwell, so that they will be accessible in an emergency situation. They will be surface-mounted to the existing masonry in a reversible manner employing stainless steel screws The proposed installations will support the safeguarding of the museum buildings, their contents and human life in the event of an emergency. The works are minor in nature and will not affect the special interest.of the grade I and grade II listed buildings or the character and appearance of the surrounding conservation area. Public consultation was undertaken by placement of a press notice and a site notice, and no responses were received. Bloomsbury CAAC was consulted and responded on 14 April 2024, stating it did not want to comment on the application. Historic England was consulted, whereby a response was issued on 14 March 2024 (and authorised by the Secretary of State on 15 March 2024), authorising the Council to determine the application as it sees fit. The site's planning history was taken into account when coming to this decision. Special regard has been attached to the desirability of preserving the listed building and its features of special architectural or historic interest, under s.16 of the Planning (Listed Buildings and Conservation Areas) Act 1990 as amended by the Enterprise and Regulatory Reform Act (ERR) 2013. |
| --- | --- |
|  | Your proposals may be subject to control under the Building Regulations and/or the London Buildings Acts that cover aspects including fire and emergency escape, access and facilities for people with disabilities and sound insulation between dwellings. You are advised to consult the Council's Building Control Service, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (tel: 020-7974 6941). |
|  | You are advised that any works of alterations or upgrading not included on the approved drawings which are required to satisfy Building Regulations or Fire Certification may require a further application for listed building consent. |
|  | Your proposals may be subject to control under the Party Wall etc Act 1996 which covers party wall matters, boundary walls and excavations near neighbouring buildings. You are advised to consult a suitably qualified and experienced Building Engineer. |
|  | This approval does not authorise the use of the public highway. Any requirement to use the public highway, such as for hoardings, temporary road closures and suspension of parking bays, will be subject to approval of relevant licence from the Council's Streetworks Authorisations & Compliance Team, 5 Pancras Square c/o Town Hall, Judd Street London WC1H 9JE (Tel. No 020 7974 4444). Licences and authorisations need to be sought in advance of proposed works. Where development is subject to a Construction Management Plan (through a requirement in a S106 agreement), no licence or authorisation will be granted until the Construction Management Plan is approved by the Council. |
|  | Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You are advised to consult the Council's Noise and Licensing Enforcement Team, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (Tel. No. 020 7974 4444 or search for 'environmental health' on the Camden website or seek prior approval under Section 61 of the Act if you anticipate any difficulty in carrying out construction other than within the hours stated above. |
|  | All works should be conducted in accordance with the Camden Minimum Requirements - a copy is available on the Council's website (search for ‘Camden Minimum Requirements’ at www.camden,gov.uk) or contact the Council's Noise and Licensing Enforcement Team, 5 Pancras Square c/o Town Hall, Judd Street London WC1H 9JE (Tel. No. 020 7974 4444) Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You must secure the approval of the Council's Noise and Licensing Enforcement Team prior to undertaking such activities outside these hours. |

In dealing with the application, the Council has sought to work with the applicant in a positive and proactive way in accordance with paragraph 38 of the National Planning Policy Framework 2021.

You can find advice about your rights of appeal at:

http://www.planningportal.gov.uk/planning/appeals/guidance/guidancecontent

Yours faithfully

Daniel Pope

Chief Planning Officer