|  | ENVIRONMENTAL HEALTH SUPPORTING COMMUNITIES |
| --- | --- |

| To: | Jennifer Dawson, Planning Officer, Development Management, 5 Pancras Square |
| --- | --- |
| From: | Edward Davis (Environmental Health Officer) |
| Date: | 05 June 2024 |
| Re: | 9 Chancery Lane High Holborn London WC1V 6DR |
| Proposal: | New fascia and projecting signage, and 7 condenser units on the roof plant area |
| Reference: | Planning application ref. 2024/1902/P |
| Key Points: | The proposals are unacceptable in environmental health terms |

# ENVIRONEMTAL HEALTH OBERVATIONS

insufficient information has been provided assessing the potential noise impact from the proposed 7 condenser units.

I therefore recommend that in order for this section to make an informed comment the applicant should be requested to provide further information assessing the noise impact of the external noise sources from the proposed 7 condenser units on sensitive reseptors. The report should include, if appropriate, measures to be taken to mitigate excess noise impact.

The report should be prepared by a person with appropriate acoustic qualifications and should be with full regard to all relevant guidance including Noise Policy Statement for England, National Planning Policy Framework (NPPF), Planning Practice Guidance on Noise, BS 8233 Guidance on sound insulation and noise reduction for buildings, Camden Council’s Local Plan, version June 2017 and BS 4142:2014 “Methods for rating and assessing industrial and commercial sound”.

Regards

Edward Davis

Pollution Planning Officer

Supporting Communities

London Borough of Camden

Telephone:   02079745550/ Mobile: 07967 652382