DECISION

Planning (Listed Building and Conservation Areas) Act 1990

Listed Building Consent Granted

Address:

23 Delancey Street

London

Camden

NW1 7NP

Proposal:

Erection of two storey rear extension with green roof, alterations to front lightwell including railing and new access stairs, PV panels to roof, works to rear garden, alterations to front door, windows and roof, alterations to internal non-original fabric.

Drawing Nos: 546-101 Rev A; 546-102 Rev A; 546-103 Rev A; 526-104; 546-105; 546-106; 546-107; 546-108 Rev B; 546-109 Rev A; 546-110 Rev A; 546-111

The Council has considered your application and decided to grant Listed Building Consent subject to the following condition(s):

Conditions And Reasons:

| 1 | The works hereby permitted shall be begun not later than the end of three years from the date of this consent. Reason: In order to comply with the provisions of Section 18 of the Planning (Listed Buildings and Conservation Areas) Act 1990. |
| --- | --- |
| 2 | The development hereby permitted shall be carried out in accordance with the following approved plans: 546-101 Rev A; 546-102 Rev A; 546-103 Rev A; 526-104; 546-105; 546-106; 546-107; 546-108 Rev B; 546-109 Rev A; 546-110 Rev A; 546-111 Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |
| 3 | All new work and work of making good shall be carried out to match the existing adjacent work as closely as possible in materials and detailed execution. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |
| 4 | Detailed drawings, or samples of materials as appropriate, in respect of the following, shall be submitted to and approved in writing by the local planning authority before the relevant part of the work is begun: LIGHTWELL STAIRCASE Details of new front lightwell staircase and materiality at a scale of 1:25, including materials, finish and method of fixing. JOINERY Plan, elevation and section drawings at a scale of 1:10 with glazing bar details at a scale of 1:1 of all new window and door joinery units (internal and external) – including glazing bars, opening mechanisms, architraves, cills and materials. All joinery units located in the bulk of the host building (windows and internal doors) are to be timber framed, traditionally detailed, and with slimline double glazing only where approved. New joinery located in the bulk of the new rear extension is to be slim-profiled crittal style with associated glazing bar divisions. BRICKWORK a) Before work begins, the proposed manufacturer's specification details and samples of all facing materials (brickwork for rear extensions), are to be submitted to the Local Planning Authority to be approved in writing with the Local Planning Authority b) A sample panel of the approved facing brickwork demonstrating the proposed face-bond and pointing (joint dimensions, mortar mix, profile and finish) shall be provided on site and approved in writing by the local planning authority before the relevant parts of the works are commenced and the development shall be carried out in accordance with the approval given. The approved panel shall be retained on site until the work has been completed. PAVING Samples of all proposed new paving and hard landscaping materials to be provided. Specifically the York stone cladding for the front steps with associated detail drawings at a scale of 1:10 showing nosing. SOLAR Specifications, dimensions, and attachment details of the proposed solar array are to be provided. Plans should demonstrate that the applied angle that will not be visible from the public realm on Delancey Street or Albert Street. LIGHTING Reflected ceiling plans showing the position of any new light fittings are to be provided. No consent isapproved for the provision of recessed downlighters into historic lath and plaster ceilings or primary rooms or hallways. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policies D1 and D2 of the Camden Local Plan 2017. |

Informative(s):

|  | You are advised that any works of alterations or upgrading not included on the approved drawings which are required to satisfy Building Regulations or Fire Certification may require a further application for listed building consent. |
| --- | --- |

In dealing with the application, the Council has sought to work with the applicant in a positive and proactive way in accordance with the National Planning Policy Framework. The council publishes its adopted policies online, along with detailed Camden Planning Guidance. It also provides advice on the website for submitting applications and offers a pre-application advice service.

You can find advice about your rights of appeal at:

http://www.planningportal.gov.uk/planning/appeals/guidance/guidancecontent

Yours faithfully

Daniel Pope

Chief Planning Officer