DECISION

Planning (Listed Building and Conservation Areas) Act 1990

Approval of Details (Listed Building) Granted

Address:

89 Great Russell Street

London

WC1B 3PS

Proposal:

Approval of details pursuant to condition 5 (a) (survey of existing roof slates) and 5 (b) (re-slating plan) of listed building consent ref 2024/0260/L, granted on 30 July 2024 for works to roof and parapets.

Drawing Nos: 20180-CBP-Z0-04-DR-A-3010-P02 - Proposed Roof Re-Slating Plan; Photo of New Slate Sample; Welsh Slate Roofing Product Information; Facade Checkers Letter to Chris Perkins 06/12/2024; Facade Checkers Letter to Chris Perkins 13/12/2024; Cover Letter 20/12/2024.

The Council has considered your application and decided to grant Approval of Details (Listed Building) subject to the following condition(s):

Conditions And Reasons:

Informative(s):

|  | Reasons for granting approval of details (listed building): The application site is a grade II listed end-terrace Georgian townhouse in use as a single family dwelling, located on the north side of Great Russell Street immediately west of the British Museum within the Bloomsbury Conservation Area. Approval of details is sought to clear conditions 5 (a) (survey of existing roof slates) and 5 (b) (re-slating plan) of listed building consent ref 2024/0260/L, granted on 30 July 2024, for works to the mansard roof and associated parapets. A specialist slate roof survey has been submitted to assist in the discharge of the condition 5 (a), which has found the majority of existing slates to be in poor and unsalvageable condition, with only a limited number (up to one hundred) capable of reuse for a maximum of 5 years. It is therefore proposed to fully replace the roof slates with new natural Welsh slates from a reliable source. A sample of the specified slate was inspected by officers at a site visit on 12 December 2024, when the principle of wholesale replacement was agreed in principle. A re-slating plan has been submitted for the purposes of condition 5 (b) which shows the proposed arrangement of replacement slates on the mansard roof. The information provided for this approval of details application satisfies the requirements of the relevant conditions and demonstrates that a sustainable long-term solution has been found which will cause no harm to the special interest of the listed building or to the character and appearance of the conservation area. The site's planning history was taken into account when arriving at this decision. Public consultation was undertaken by means of a site notice and a press notice, to which no responses were received. Bloomsbury CAAC was consulted but chose not to respond. Special regard has been attached to the desirability of preserving the listed building and its features of special architectural or historic interest, under s.16 of the Planning (Listed Buildings and Conservation Areas) Act 1990 as amended by the Enterprise and Regulatory Reform Act (ERR) 2013. As such, the proposal is in general accordance with policies D1 and D2 of the Camden Local Plan 2017. The proposed development also accords with the London Plan 2021 and the National Planning Policy Framework 2024. |
| --- | --- |
|  | You are reminded that condition 4 (brick bond, pointing mix and profile) of listed building consent 2024/0260/L, granted on 30 July 2024, is outstanding and requires details to be submitted and approved. |

In dealing with the application, the Council has sought to work with the applicant in a positive and proactive way in accordance with the National Planning Policy Framework. The council publishes its adopted policies online, along with detailed Camden Planning Guidance. It also provides advice on the website for submitting applications and offers a pre-application advice service.

You can find advice about your rights of appeal at:

http://www.planningportal.gov.uk/planning/appeals/guidance/guidancecontent

Yours faithfully

Daniel Pope

Chief Planning Officer