10 March 2014

Development Control

London Borough of Camden

Town Hall

London WC1 8NJ

FAO Fergus Freeney

Flat 1, 15 Wedderburn Road NW3 5QS

2013/7182/P

I refer to the revised drawings 111 P2,112 P2, 113 P2 ( still dated 31.10.13) submitted in relation to the above application.

These appear to show a setting back of excavations such that access to Flat 3 is now possible, and that excavation will not now take place under the lift.  However these changes have not been followed through into the drawings or supporting information in the Construction Method Statement or the Construction Management Plan.

We have been advised that it is not possible to evaluate the implications without that additional information.

It is impossible to identify where the internal or external piling will now be required or what temporary supports may be necessary. Piling may now be proposed under the southern part of the entrance hall to Flat 3, under its staircase and immediately adjacent to the lift. There is no information provided that the safe and continuous access to Flat 3 will be possible.

It is noted that the Section line bb  marked on the plans appears to be in a different location on different levels. This also makes it difficult to interpret the exact proposals.  There are significant drains in the area immediately south of Flat 3's ground floor which serve all 3 flats.  There is no indication in the application how these will be maintained during and after excavation for the occupiers of Flats 2 and 3..

The revisions may appear to overcome some of the access problems created for Flat 3 by the application, however they provide no information on how the safe and continuous access to Flat 2 is to be maintained, including access to their parking space and as such appear to be a token gesture.

It must be stressed that this application is for part of a multi-occuppied property and the Council’s policies in CPG4 still seem to be being ignored.

Our objections to these changes and the far more significant comments in our previous submission must therefore still stand.

Elizabeth Pether, Iqbal Bundhun, Jo Konrad

Cc Ellen Dahrendorf and Tim Macfarlane CEng MIStructE RDI