# Warren Court, Euston Road, London NW1 3AA

Conversion of part first floor to 4no self contained flats,

2 x 2 bedroom flats and 2 x 1 bedroom flats

# LIFETIME HOMES – DESIGN CRITERIA

### 1.	Car parking

No car parking facilities exists to the building..

### 2.	Access from Car Parking

Not applicable.

### 3.	Approach gradients

Not applicable. The access to the flat is level, an existing small step is in place adjacent to the main entrance door.

### 4.	Entrances

Common entrance serving proposed units and existing residential units on upper floors.

### 5.	Communal Stairs and Lifts

All as existing

### 6.	Doorways and Hallways

Within proposed unit, doors and hallways have been designed to meet current standards.

### Common Hallways

All as existing

### 7.	Wheelchair Accessibility

The building does benefit from a lift which is adequately sized for wheelchair access. The common hallways giving access to the flat entrance door are of a considerable width (see drawing).

Within the proposed flats, allowance for wheelchair access has been incorporated within the design. Bedrooms and  the living rooms are at entrance level.

The walls will be forming in  construction adequate to affix adaptations if  required.

Window sills cannot be adjusted.

### 8.	Entrance Level Bed Space

Bedrooms are all on entrance level.

### 9.	Entrance Level WC and Shower Drainage

The bathroom, WC and shower are at entrance level and the shower fitting will be appropriate for wheelchair use.

### 10.	Bathroom and WC Walls

Will be constructed so that they are capable to take adaptations should this be required in the future.

### 11.	Stairlift/Through Floor Lift

Not applicable.

### 12.	Tracking Hoist Route

Not applicable.

### 13.	Bathroom Layout

Allowance for this has been incorporated into the design, which  has been designed to incorporate side access to both WC and bath if it should be required.

### 14.	Window Specification

It is not intended to replace the existing windows.

### 15.	Control Fixtures and Fittings

Sockets, switches etc will be installed at an appropriate and convenient height.