162 Agar Grove, London NW1 9TY:

Conversion of a vacant Basement floor of a Georgian Terrace from ancillary Restaurant use to Office. The application also includes the construction of new stairs to provide access to the Basement and new windows.

The property was last used as a Restaurant some years ago and has remained empty for some time.

BASEMENT IMPACT ASSESSMENT .

Characteristics of the Project:

The property is a 4 storey plus basement mid-terrace Georgian building situated to the South side of Agar Grove. The project comprises of a conversion of the Basement into an Office. It involves construction of new stairs to provide access from the pavement level into the Basement. The lightwell to accommodate the stairs will also allow daylight into the basement as per Structural Engineer’s detailed drawings, Spec and Method statement. A Full Plans Building Control Application will be lodged as statutorily required prior to commencement of work on site.

Location of the Project:

There are no known ponds or river in close proximity to the development. The area is not known for flooding. Please see location map as submitted with the application.

Characteristics of the Potential Impact:

As the proposal is for an existing basement, the proposal should have no long time negative impact on the soil, land use or water quality. The excavation should have no major impact on the water quality and hydrology.