| 15 February 2013 | Our Reference – 33821 C002/TO |
| --- | --- |
| Planning Permission Reference – 2010/6837/P |  |
| London Borough of Camden |  |
| Regeneration and Planning 6th Floor Camden Town Hall Extension Argyle Street London WC1H 8EQ |  |

Dear Sir/ Madam

80 Charlotte Street & 65 Whitfield Street – Planning Condition 10

The enclosed report is submitted in response to the requirements of Planning Condition 10, that “full details in respect of the green and brown roofs in the areas indicated on the approved plan shall be submitted to and approved by the Council before the relevant part of the development commences.”

The report has been prepared by a suitably experienced ecologist, and provides details of the ecological design specifications to be implemented on the green and brown roofs in accordance with established guidance on living roof developments, and with reference to the recommendations included within the approved ecological assessment.

With specific reference to the queries raised by the Council:

- A list of wildflower species to be planted on the green roof areas is provided in Section 3.2.4 (Table 3.1) of the report.  In response to the discussion point raised in the original committee report (para 6.3.17), it is confirmed that the green roof planting specification includes a “wildflower meadow” selection of species. It is anticipated that the mix will provide a substantial ecological enhancement to the development.

- Substrate/build up specifications for both green and brown roofs are provided in Sections 3.2.3 and 2.2.2 of the report respectively. The specifications have been proposed in line with best practice guidance (the green roof code), and will provide a range of suitable conditions for a wide variety of plants and invertebrates.

- As detailed in Section 2, the brown roof specification includes several habitat enhancements for black redstart, including areas of sparsely vegetated rubble and rocky terrain, that favour the plants and invertebrates on which black redstart feeds. In addition a number of black redstart hibernacula will be created by moulding sand, soil and crushed brick mounds.

- Finally, Section 4 of the report also includes guidance on the maintenance, monitoring and aftercare of the habitat creation areas, however specific details would need to be clarified by the nominated contractor upon construction of the living roof habitats.

I trust that the information provided within this letter and the enclosed report provides sufficient information to satisfy the requirements of the Condition. Nonetheless if you require any further information, please contact Anthony Plumbly of DP9 (anthony.plumbly@dp9.co.uk Telephone - 020 7004 17 21).

Yours sincerely

Tom Ormesher

Senior Consultant Ecologist

Direct Line – 01183 775 675

E-mail – tom.ormesher@amec.com