14 December 2007

Dear Sirs,

28 Park Village East London NW1 7PZ

Planning application and listed building consent

Ref on-line submission PP-00318506

Your Ref 2007/5906/INVALID AND 2007/59003/NEW

With reference to your letter dated 5th December 2007, we confirm the following referring to your bullet points in order

- Please find enclosed photo sheets 1-6 inclusive

- Please see drawing number 6 attached

- We will omit this work from the application

- Please see drawing number 6 attached

- Please see drawing numbers 6-8 inc attached

- One of the fcu’s is shown on photo sheet 3, photo number 2. This is scheduled to go to room S3. The fcu for room F1.8 would be installed in a purpose made casing, similar to the existing radiator casings in the house. It is proposed to be a Daikin FXNQ-MA

- No external plant required

- Photos included as 1 above, but please note that this will be the subject of a further application following further research. The fireplace was replaced in the 1980’s due to a fire at the property

- It is proposed to install bookshelves in room S3 either side of and flush with the chimney breast, and to run the cornice and skirting through in a straight line. Drawing number 8 shows this in section

- Can this follow, or be a condition?

- There will be no new vents, soil pipes etc

Please contact the writer if you have any queries

Yours faithfully

William Harrison

For and on behalf of Urban Exchange (London) Ltd

Cc	Mr & Mrs R Robinow

Philip Niesing

Development Control

London Borough of Camden

Camden Town Hall

Argyle Street

London

WC1H 8ND