## Sheet1
Schedule of Works |  | SANYA POLESCUK ARCHITECTS
Highgate West Hill, London N6 |  | 8a BAYNES MEWS LONDON NW3 5BH T 020 7431 8580
2007-10-02 |  | F 020 7435 8341 E enquiries@polescukarchitects.com
Floor & dwgs | Existing Room | Work
Basement | Kitchenette | Strip out all fittings and fixtures, lower the existing slab to align with adjacent in Dining/Living, remove the existing post (replace with the down stand and posts/wall-nibs), reposition existing door to staircase and add steps to accommodate level difference, replace built-in cupboard and fit new kitchenette, all as shown on drwgs. Make good walls & skirtings and install new timber flooring.
Ex Dwg A01F, A07A, A12A | Dining/Living | Strip out exisitng radiator (replace with new in the new position), remove central section of the wall to Bedroom 7, replace with downstand and wall-nibs, all as shown on drgws. Remove existing floor finish, add DPM and instal new timber flooring. Make good walls & skirtings.
| Bedroom 7 | Remove walls to Bathroom 3 and Cupboard, dispose of the door. Remove the floor finish, add new DPM, replace exisitng walls with new section of stud-wall & sliding 'pocket' door, as shown on drwgs. Make good walls & skirtings and install new timber flooring and new radiator.
Prop Dwg A13F, A19, A24 | Bathroom 3 | Strip out all fixtures, fittings, floor and walls coverings, remove the door and make good. Re-fit as per layout shown on drwgs to include new DPM, mechanical extractor and low-level flue-vent for the existing chimney breast. Tiled flooring.
| Store | Strip out flooring, andd DPM, fit new Utility, including of the new extractor vent within the exisitng opening, all as shown on drwgs.
| Stairs (spiral) | Hack off damp-damaged plasterwork @ external walls, install proprietary tanking system (Vandex or similar) full height, then re-decorate.
| Plant Room | No work alteration, except for new DPM and DPC.
Ground Fl | Kitchen | Strip all fixtures and finishes, take down the door into Stairs (spiral) and re-fit in the new position, re-fit new kitchen including the hit&miss vent, all as shown on drwgs.
Ex Dwg A02C, A12, A08A | Breakfast | Remove existing fitted cupboard and WC together with the back-wall to the Stairs (spiral), ensuring the cornice in the room is kept intact and fit new portion of lowered ceiling (levelled with the bottom edge of the cornice) over entire area of removal. Fit new door and stud wall between Breakfast and Stairs (spiral).
| Dining Room | No alteration work here.
Prop Dwg A14B, A24, A20 | Stairs (spiral) | Build new walls adjacent to the existing stairs to provide a new Larder accessible from Kitchen via an existing door and a Cupboard with a new door, accessible from the Stairs.
| Entrance Hall & Stairs | Fit new internal shelves and pegs inside the existing built-in cupboards in the Entrance Hall and half-landing to Basement.
1st Floor Ex Dwg A03C, A12A, A10B | Study, Library, Drawing Room, Stairs, WC 2 | No alteration work here.
Prop Dwg A15B, A24, A22B, | Stairs (spiral) | Remove the circular blocking piece from the floor of the spiral stairs and rotate the existing balustrade, the landing piece and the handrail to bring the stair back into use.
2nd Floor | Bedroom 2, En Suite 2, 2nd fl Landing, Main Bedroom | No alteration work here.
Ex Dwg A04A & A10B Prop Dwg A16A, A22B | En Suite 1 | Install new mechanical ventilation in the wall next to the widow as drgws show.
3rd Floor | Staircase | Strip out exisitng cupboard to treat damp ingress, fit new cupboard and shelving over @ half-landing as shown on drwg.
| Bathroom 1 | Strip out all floor and wall coverings, fixtures and fittings and built-in cupboard facing the corridor. Make good floors and walls and fit new fixtures and fittings, inlcude ventilation as per Building Regulationas shown on drwgs.
Ex Dwg A05B, A09, A12A | Bedroom 6 | Remove the section of wall to Bathroom 2 and the door to corridor to enable creation of larger bedroom. Install new fitted joinery along the wall to Bathroom1 - see drwg.
| Bathroom2 | Remove existing fixtures, fittings and wall to staircase, (retain the door for re-use), make good walls, floors and skirtings match existing in Bedroom 6. See drwgs.
Prop Dwg A17C, A21, A22B, A24 | Bedroom 5 | Strip out built-in cupboards and remove wall to Bedroom 4. Remove the section of wall to corridor and retain the door. Build new stud wall to create Bathroom 2 and fit it out as shown on drgws, to include cast iron pipework and ventilation as per Building Regulation.
| Bedroom 4 | Remove the door to corridor, put aside for re-use and close off the opening in that wall, make good skirtings to match existing. Remove wall and door to Bedroom 3 and make good. Erect a new stud wall to Bed 3 and build a new cupboard, all as shown on dwgs.
| Bedroom 3 | Make good junctions of new wall to Bed 4 (see above) and fit new skirtings/covings to match existing.