| #### Delegated Report |  |  | #### Analysis sheet |  |  |  |  |  | #### Expiry Date: |  |  | # 27/05/2014 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | N/A |  |  |  |  |  | Consultation Expiry Date: |  |  | - |  |
| #### Officer |  |  |  |  |  |  | #### Application Number(s) |  |  |  |  |  |  |
| Ben Le Mare |  |  |  |  |  |  | 2014/2334/P |  |  |  |  |  |  |
| #### Application Address |  |  |  |  |  |  | ## Drawing Numbers |  |  |  |  |  |  |
| 29 Red Lion Street London WC1R 4PS |  |  |  |  |  |  | Mechanical Plant Noise Acoustic Report by Adnitt Acoustics, dated 9 June 2014 (ref 1455/ENS/R2) |  |  |  |  |  |  |
| #### PO 3/4 | #### Area Team Signature |  |  | #### C&UD |  |  | #### Authorised Officer Signature |  |  |  |  |  |  |
| #### Proposal(s) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Details of mechanical plant and noise levels required by condition 6 of planning permission 2012/1302/P allowed on appeal under APP/X5210/A/12/2185213 on 11/6/13 (for change of use of existing offices to hotel and associated external works). |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Recommendation(s): |  | Grant |  |  |  |  |  |  |  |  |  |  |  |
| Application Type: |  | ## Approval of Details |  |  |  |  |  |  |  |  |  |  |  |
| ## Conditions or Reasons for Refusal: |  | ### Refer to Decision Notice |  |  |  |  |  |  |  |  |  |  |  |
| ## Informatives: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Consultations |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Adjoining Occupiers: |  | No. notified |  |  | 00 | No. of responses No. electronic |  |  |  | 00 00 | No. of objections |  | 00 |
| ## Summary of consultation responses: |  | N/A |  |  |  |  |  |  |  |  |  |  |  |
| ## CAAC/Local groups comments: |  | N/A |  |  |  |  |  |  |  |  |  |  |  |

## Site Description

The application site is a 7 storey plus basement 1960’s office (Class B1a) building located on the east side of Red Lion Street, wrapping around the corner onto Princeton Street. The property has been vacant over 4 years and has recently been purchased by Arora International. An internal inspection has established that the building has been stripped out and further refurbishment is required for before occupation. The property has an undercoft parking area at ground floor (providing 10 spaces) and basement level (providing 27 spaces) which is accessible via a vehicle ramp off Princeton Street. Red Lion Street dates from the late C17th and is a relatively narrow street which characterised continuous building frontages that provide a good sense of enclosure and subsequently of a noticeably urban character. A variety of uses and ages of buildings characterise the street although the prevailing type remains the terraced house with the ground floors converted to shops or restaurants with the upper floors providing residential accommodation. There are two ornate public houses at the northern end of the street, The Dolphin Tavern and The Enterprise, which contribute to character of the streetscene. The site is located within the Central London Area. The building is not listed nor does make a positive contribution to the Bloomsbury Conservation Area within which it is located.

## Relevant History

2012/1302/P - Change of use of existing office building (Class B1) to 150 bedroom hotel (Class C1) with ancillary bar and restaurant facilities, including demolition of existing rear extension, external alterations, and infilling of undercroft. Allowed on appeal (ref: APP/X5210/A/12/2185213) 2014/0306/P - Details of cycle storage (condition 5) and wheelchair standards (condition 8) of planning permission 2012/1302/P allowed at appeal under APP/X5210/A/12/2185213 on 11/06/13 (for change of use of existing offices to hotel and associated external works). Granted 2014/0606/P - Relocation of substation, installation of new windows, and other associated alterations, allowed at appeal under APP/X5210/A/12/2185213 on 11/06/2013 (for change of use of existing offices to hotel and associated external works) (ref: 2012/1302/P). Granted 2014/1134/P - Details of sample panels of all facing materials (condition 4) of the appeal decision ref: APP/X5210/A/12/2185213 granted on 11/06/2013 (Ref: 2012/1302/P for the change of use of existing office building (Class B1) to 150 bedroom hotel (Class C1) with ancillary bar and restaurant facilities, including demolition of existing rear extension, external alterations, and infilling of undercroft.). Granted

## Relevant policies

Local Development Framework Core Strategy and Development Policies, 2010 CS5 Managing the impact of growth and development DP26 Managing the impact of development on occupiers and neighbours DP28 Noise and vibration Supplementary Planning Policies: Camden Planning Guidance (CPG) 2013 - CPG 6 Amenity Bloomsbury Conservation Area Appraisal and Management Strategy 2011 London Plan July 2011 National Policy Planning Framework 2012

## Assessment

The application proposes to discharge condition 6 of APP/X5210/A/12/2185213 which requires the following: ‘No mechanical plant shall be installed or operated within the plant areas shown on the approved plans, other than in accordance with technical specification details, including an acoustic report, which shall previously have been submitted to and approved in writing by the local planning authority.’ The submitted assessment provides a baseline ambient level of 39dBA to be achieved. The report also identifies the nearest sensitive receptors as being 5m and 16m away from the proposed plant. It has been noted from the assessment that the mechanical equipment will be sited at various elevations, distances and heights as detailed on table 1455/T4 of the report. As such, the assessment provides the predicted aggregate noise levels at each sensitive receptor. Having checked the noise calculations, the Council’s Environmental Health Team are satisfied that the assessment demonstrates theoretically that Camden’s planning noise condition has been met, and therefore the condition can be discharge. Recommendation: Grant NB: All conditions which required the approval of details have been discharged.