Athlone House, Hampstead Lane, London N6 4RU

Basement Impact Assessment – Corrigendum – in response to the Assessment dated June 2014 by GCG

### The following corrects certain factual errors in parts of the Stage 1 Scoping section of the Basement Impact Assessment by Geotechnial and Environmental Associates (included as Appendix A to the Price & Myers Basement Impact Assessment)

### Stage 1 - Screening

### Section 3.1.1 – Surface Flow and Flooding

### Question 1 – The Answer is Yes (not No). The site is within the Catchment Area of the Highgate Ponds.

### Section 3.1.2 – Subterranean (Groundwater) Flow

### Question 3 – The Answer is Yes (not No). The site is within the Catchment Area of the Highgate Ponds.

### These corrections do not alter the overall conclusions reached in the Basement Impact Assessment, which is soundly based on evidence and remains valid and reliable.

### Prepared by:	Philip Hudson BSc CEng MICE MIStructE

### July 17th 2014

### 16756/4/ph