LONDON BOROUGH OF CAMDEN

ACCESS COMMENTS

From:		Michelle Horn

Tel. number:	020 7974 5124

Ref:		2014/4107/P

Date:		15/7/14

To:		Nanayaa Ampoma

Re:	5 Cleve Street

Formation of 2 apartments to existing lower ground floor, formation of front light wells and access including demolition of existing side extension and formation of lightwell and windows .

As a change of use to residential planning policy DP9 will require the new dwellings be designed to comply with Lifetime homes standards.

The applicant has not mentioned Lifetime homes in their D&AS and the drawings appear to indicate that the requirements have not been taken into account.

A details lifetime homes statement and annotated drawings should be requested for review.