Project : 15 Iverson Road, London. NW6 2QT

LIFTIME HOME ASSESSMENT:

| LTH Criteria No. | LTH CRITERIA | COMMENTS |
| --- | --- | --- |
| 1 | a).Where a dwelling has car parking within its plot boundary, at least one parking space length should be capable of enlargement to achieve a min. of 3.3 m. b)Where parking is provided by communal or shared bays, spaces with a width of 3.3 m. should be provided as required. | Not applicable No parking provided Not applicable No parking provided |
| 2 | The distance from the car parking space to the dwelling entrance (or relevant block entrance or lift core), should be kept to a minimum and be level or gently sloping. The distance from visitors parking to relevant entrances should be as short as practicable and be level or gently sloping. | Not applicable No parking provided |
| 3 | The approach to all entrances should preferably be level or gently sloping | The said property is at Lower Ground floor level (-1.225 m. level) so not applicable |
| 4 | All entrances should: a) Be illuminated b) Have level access over the threshold c) Have effective clear opening width and nib d) Have adequate weather protection e) Have a level external landing. | Yes The existing doorway has rise of 75mm from LGFL Yes There is an internal entrance lobby Complies to Lifetime Homes Standards |
| 5 | a) Principal access stairs should provide easy access b) Where a dwelling is reached by a lift, it should be fully accessible | The existing main stair will be the principle access – this is generally in accordance with the Lifetime Homes specification Not Applicable, no lift proposed or existing |
| 6 | Movement in hallways and through doorways should be as convenient to the widest range of people, including those using mobility aids or wheelchairs, and those moving furniture or other objects. | All corridors and doorways internal to individual units will be to Lifetime Homes Standard |
| 7 | There should be space for turning a wheelchair in dining areas and living rooms and basic circulation space for wheelchair users elsewhere. | This has been achieved as far as possible |
| 8 | A living room / living space should be provided on the entrance level of every dwelling. | Complies to front self contained unit |
| 9 | In dwellings with two or more storeys, with no permanent bedroom on the entrance level, there should be space on the entrance level that could be used as a convenient temporary bed-space. | Not Applicable as it is Lower ground floor self contained unit |
| 10 | Where an accessible bathroom, is not provided on the entrance level of a dwelling, the entrance level should have an accessible WC compartment, with potential for a shower to be installed | Bathrooms have been laid out to meet Lifetime Homes Standards as far as is possible |
| 11 | Walls in all bathrooms and WC compartments should be capable of firm fixing and support for adaptations such as grab rails | Complies to Lifetime Homes Standards |
| 12 | The design within a dwelling of two or more storeys should incorporate: a) Potential for stair lift installation b) A suitable identified space for a through-the floor lift from the entrance level to a storey containing a main bedroom and a bathroom | Not applicable Not applicable |
| 13 | Structure above a main bedroom and bathroom ceilings should be capable of supporting ceiling hoists and the design should provide a reasonable route between this bedroom and the bathroom. | Not applicable |
| 14 | An accessible bathroom, providing ease of access should be provided in every dwelling on the same storey as a main bedroom | Provided in self contained units |
| 15 | Windows in the principal living space (typically the living room), should allow people to see out when seated. In addition, at least one opening light in each habitable room should be approachable and usable by a wide range of people – including those with restricted movement and reach | Complies fully in front self contained unit and partially in rear unit |
| 16 | Location of service controls Service controls should be within a height band of 450mm to 1200mm from the floor and at least 300mm away from any internal room corner. | Complies to Lifetime Homes Standards |