CODE FOR SUSTAINABLE HOMES ASSESSMENT – SUSTAINABILITY REPORT

Proposed development at

50 HAVERSTOCK HILL NW3

R. Wurmser B.Sc.,

Energy Consultant,

28 Broadhurst Avenue,

Edgware,

Middx  HA8 8TS

Tel:  07805 241102

CODE FOR SUSTAINABLE HOMES ASSESSMENT – SUSTAINABILITY REPORT

50 HAVERSTOCK HILL NW3

Erection of first, second and third floor extension to ground floor surgery, to provide two residential units or additional surgery rooms

Purpose: To meet the requirements of Camden Policies CS13 and DP22 in relation to sustainable design and construction in support of application to provide 2 new residential dwellings and alternative.

This Sustainability Statement is to demonstrate that the proposed development at 50 Haverstock Hill MW3 by Dr A Bookey in the London Borough of Camden is considered sustainable and conforms to the Code of Sustainable Homes Level 4 standard, as measured against relevant local, regional and national planning policies.

The proposed development consists of 2 new residential dwellings within an extension to the existing surgery on the ground floor.   A commitment to achieve a minimum of Code for Sustainable Homes Level 4 for new build dwellings represents a high level of sustainable design and construction.

The alternative proposal for an extended surgery is only proposed so that the ground floor surgery might need to expand in the future.  The sustainability criteria described would be equally applicable.

Through the incorporation of sustainable design and construction methods, energy and water saving measures, waste reduction techniques as well as measures to enhance the ecological value of the site, a good quality and sustainable development is proposed.

The key sustainability features outlined in this Sustainability Statement are listed below:

- The proposed new build dwellings will achieve a minimum Code for Sustainable Homes rating of Level 4, representing a high level of sustainable design and construction.

- Within the Code for Sustainable Homes assessment, at least 50% of the available credits will be achieved in the Energy (subject to preferred strategy regarding the use a green wall), Water and Materials categories;

- The development will target a 35% CO2 reduction over the Part L 2013 baseline in line with the London Plan.

- Water efficiency measures and devices will be installed in the dwellings to achieve a maximum daily water usage of 105 litres/person/day;

- Recycling facilities will be provided for domestic and construction related waste;

- The use of sustainable transport modes will be encouraged with the provision of cycle storage and locating the development close to an underground station and bus routes.

- Each dwelling in the proposed development will enable the provision of home office facilities, with space for desk and computer, reducing the need to travel to work;

- Enhancements will be implemented where appropriate to improve the site’s ecological value;  the development includes the incorporation of a green wall;

Foundations originally constructed for the current building were dug to cater for a four storey building, so new materials for foundations will not be needed.  Where practical, other building materials will be sourced locally to reduce transportation pollution and support the local economy. Materials will be selected based on their environmental impact, with preference given to ‘A+’ or ‘A’ rated materials from the BRE Green Guide to Specification where possible;

- All timber will be legally obtained from sustainable sources;

- All dwellings will be designed to meet all applicable Lifetime Homes requirements;

- Steps will be taken to ensure physical security; and

- Sound insulation values are to target an improvement by at least 5dB on Building Regulations Part E where possible.

Background Information

The current building was commenced under planning permission of 1989 (Council ref 8802717)  for the erection of a part single storey and part four storey building comprising doctors surgeries.    Work had commenced but stopped after building one storey.

Development Proposal

The proposal consists of an extension to provide two residential units on a new first, second and third floors.   It includes terrace space, cycle parking provision, refuse and recycling storage areas and a green wall.

In terms of built form, the proposed development of this current application is an improvement on the previously approved design.

Sustainability Statement

The formulation of the Sustainability Strategy for the proposed development has taken into account several important priorities, including:

- To achieve the maximum viable reduction in CO2 emissions through the application of the London Plan hierarchy with an affordable, deliverable and technically appropriate strategy;

- To address all national, regional and local planning policies and requirements;

- Provision of high quality homes that are adaptable to future changes in climate;

- To minimise the negative impact on the proposed development on both the local and wider climate and environment;

- To achieve the highest viable levels of sustainable design and construction environmental assessment methodologies;

- To minimise emissions of pollutants such as oxides of nitrogen and particulate matter;

- To create a pleasant, safe and friendly working and living environment that will be flexible to its residents’ needs.

In preparing this Sustainability Statement the policy documents set out below have been used to guide and inform the sustainability strategy for the proposed development.

National Planning Policy

The National Planning Policy Framework (NPPF) was published on 27 March 2012. This document sets the overarching policies for development in England and states that:

“At the heart of the NPPF is a presumption in favour of sustainable development, which should be seen as a golden thread running through both plan-making and decision-taking.

For decision-taking this means:

- Approving development proposals that accord with the development plan without delay; and

- Where the development plan is absent, silent or relevant policies are out-of-date, granting permission unless:

Any adverse impacts of doing so would significantly and demonstrably outweigh the benefits, when assessed against the policies in this Framework taken as a whole; or

-Specific policies in this Framework indicate development should be restricted.”

Paragraph 95 of the NPPF states that:

“To support the move to a low carbon future, local planning authorities should:

- Plan for new development in locations and ways which reduce greenhouse gas emissions;

- Actively support energy efficiency improvements to existing buildings; and

- When setting any local requirement for a building’s sustainability, do so in a way consistent with the Government’s zero carbon buildings policy and adopt nationally described standards.”

The document also makes it clear that the delivery of a wide choice of well-designed high quality homes is central to delivering sustainable development.

Regional Policy

The London Plan 2011 (as amended) sets out an integrated economic, environmental, transport and social framework for the development of London over the next 20 – 25 years.

On 10 March 2015 the Mayor published the Further Alterations to the London Plan (FALP).  From this date the FALP are operative as formal alterations to the London Plan (the Mayor’s spatial development strategy) and form part of the development plan for London.

The following outlines key policies set out in the London Plan which must be addressed by new developments and which are relevant to the Proposed Development.

Policy 5.2 – Minimising Carbon Dioxide Emissions requires that all residential buildings between 2013 – 2016 achieve a 40% improvement on 2010 Building Regulations. The London Plan Sustainable Design and Construction SPG (2014) updates this target stating that the Mayor will adopt a carbon dioxide improvement target beyond Part L 2013 of 35%.

Policy 5.3 – Sustainable Design and Construction states that the highest standards of sustainable design and construction should be achieved in London to improve the environmental performance of new developments. Major development should meet the minimum standards outlined in the London Plan Supplementary Planning Guidance and this should be clearly demonstrated. The standards include the following sustainable design principles (summarised):

- Minimising  CO2 emissions;

- Avoiding internal overheating and contributing to the urban heat island effect;

- Efficient use of natural resources (including water);

- Minimising pollution (including noise, air and urban run-off);

- Minimising the generation of waste and maximising reuse and recycling;

- Avoiding impacts from natural hazards (including flooding);

- Ensuring developments are comfortable and secure for users;

- Securing sustainable procurement of materials, using local suppliers where feasible; and

- Promoting and protecting biodiversity and green infrastructure.

Policy 5.5 – Decentralised Energy Networks states that the Mayor expects 25 per cent of the heat and power used in London to be generated through the use of localised decentralised energy systems by 2025. The Mayor will prioritise the development of decentralised heating and cooling networks at the development and area wide levels, including larger scale heat transmission networks.

Policy 5.6 - Decentralised Energy requires that all developments should evaluate the feasibility of Combined Heat and Power (CHP) systems, and examine the opportunities to extend the system beyond the site boundary to adjacent sites.

Policy 5.7 – Renewable Energy states that within the framework of the energy hierarchy, major development proposals should provide a reduction in expected carbon dioxide emissions through the use of on-site renewable energy generation, where feasible.

Policy 5.8 – Innovative Energy Technologies encourages the more widespread use of innovative energy technologies to reduce use of fossil fuels and carbon dioxide emissions.

Policy 5.9 – Overheating and Cooling seeks to reduce the impact of the urban heat island effect, reduce potential overheating and reduce reliance on air conditioning systems.

Policy 5.10 – Urban Greening encourages new planting in the public realm (including streets, squares and plazas) and green infrastructure, to contribute to the adaptation to, and mitigation of, the effects of climate change.

Policy 5.12 – Flood Risk Management states that new developments must comply with the flood risk assessment and management requirements, and will be required to pass the Exceptions Test addressing flood resilient design and emergency planning.

Policy 5.13 – Sustainable Drainage requires that developments should use sustainable urban drainage systems (SUDS) unless there are practical reasons for not doing so, and should aim to achieve greenfield run-off rates and ensure that surface water run-off is managed as close to its source as possible.

Policy 5.15 – Water Use and Supplies requires that development should minimise the use of mains water by incorporating water saving measures and equipment and that residential development is designed so that mains water consumption meets a target of 105 litres/person/day or less.

Policy 7.3 – Designing Out Crime requires that development should reduce the opportunities for criminal behaviour and contribute to a sense of security without being overbearing or intimidating.

The London Plan Supplementary Planning Guidance – Sustainable Design and Construction (2014) includes guidance on:

Policy 5.13 – Sustainable Drainage requires that developments should use sustainable urban drainage systems (SUDS) unless there are practical reasons for not doing so, and should aim to achieve greenfield run-off rates and ensure that surface water run-off is managed as close to its source as possible.

Policy 5.15 – Water Use and Supplies requires that development should minimise the use of mains water by incorporating water saving measures and equipment and that residential development is designed so that mains water consumption meets a target of 105 litres/person/day or less.

Policy 7.3 – Designing Out Crime requires that development should reduce the opportunities for criminal behaviour and contribute to a sense of security without being overbearing or intimidating.

The London Plan Supplementary Planning Guidance – Sustainable Design and Construction (2014) includes guidance on:

- Energy efficient design;

- Meeting carbon dioxide reduction targets;

- Decentralised energy;

- How to off-set carbon dioxide where the targets set out in the London Plan are not met;

- Retro-fitting measures;

- Support for monitoring energy use during occupation;

- An introduction to resilience and demand side response;

- Air quality neutral;

- Resilience to flooding;

- Urban greening;

- Pollution control;

- Basements policy and developments; and

- Local food growing.

Each section of the Supplementary Planning Guidance sets out the Mayor’s priorities for the particular topic area, which the Mayor seeks developers to address in all development proposals. Some sections also contain best practice ambitions, which the Mayor strongly encourages be delivered in appropriate developments. To support these approaches, the Supplementary Planning

Guidance includes detailed guidance for boroughs and developers, signposts to further information and best practice examples.

The London Housing Supplementary Planning Guidance (2012) states that designers should seek to achieve a minimum of Level 4 of the Code for Sustainable Homes in all new development

Local Policy: The London Borough of Camden

Core Strategy

The Camden Core Strategy was adopted in November 2010. The following policies are considered to be pertinent to this Statement:

Policy CS13 – Tackling climate change through promoting higher environmental standards: The Council will require all development to take measures to minimise the effects of, and adapt to, climate change and encourage all development to meet the highest feasible environmental standards that are financially viable during construction and occupation by:

- Ensuring patterns of land use that minimise the need to travel by car and help support local energy networks;

- Promoting the efficient use of land and buildings;

- Minimising carbon emissions from the redevelopment, construction and occupation of buildings by implementing, in order, all of the elements of the following energy hierarchy: Ensuring developments use less energy; making use of energy from efficient sources; generating renewable energy on-site;

- Ensuring buildings and spaces are designed to cope with, and minimise the effects of, climate change.

The Council will promote local energy generation and networks by working with partners and developers to implement local energy networks and protecting existing local energy networks where possible.

The Council will make Camden a water efficient borough and minimise the potential for surface water flooding by:

- Making sure development incorporates efficient water and foul water infrastructure;

- Requiring development to avoid harm to the water environment, water quality or drainage systems and prevents or mitigates local surface water and down-stream flooding.

Policy CS18 – Dealing with our waste and encouraging recycling: The Council will make sure developments include facilities for the storage and collection of waste and recycling.

Development Policies

Camden’s Development Policies were adopted in November 2010. The following policies are considered to be pertinent to this Statement:

Policy DP6 – Lifetime homes and wheelchair housing: All housing development should meet lifetime homes standards. 10% of homes developed should either meet wheelchair housing standards, or be easily adapted to them.

Policy DP16 – The transport implications of development: The Council will seek to ensure that development is properly integrated with the transport network and is supported by adequate walking, cycling and public transport links.

Policy DP17 – Walking, cycling and public transport: Development should make suitable provision for pedestrians, cyclists and public transport.

Policy DP22 – Promoting sustainable design and construction: The Council will require development to incorporate sustainable design and construction measures. Schemes must:

- Demonstrate how sustainable development principles have been incorporated into the design and proposed implementation;

- Incorporate green or brown roofs and green walls wherever suitable.

The Council will promote and measure sustainable design and construction by:

Expecting new build housing to meet Code Level 4 by 2013 and encouraging Code Level 6 (zero carbon) by 2016;

Expecting developments (except new build) of 500sqm of residential floorspace or above or 5 or more dwellings to achieve ‘Very Good’ in EcoHomes assessments prior to 2013 and encouraging ‘Excellent’ from 2013.

The Council will require development to be resilient to climate change by ensuring schemes include appropriate climate change adaptation measures such as:

- Summer shading and planting;

- Limiting run-off;

- Reducing water consumption;

- Reducing air pollution; and

- Not locating vulnerable uses in basements in flood-prone areas.

Policy DP23 – Water: The Council will require developments to reduce their water consumption, the pressure on the combined sewer network and the risk of flooding by:

- Incorporating water efficient features and equipment and capturing, retaining and re-using surface water and grey water on-site;

- Limiting the amount and rate of run-off and waste water entering the combined storm water and sewer network through the measures above and other sustainable urban drainage methods to reduce the risk of flooding.

  - Policy DP26 – Managing the impact of development on occupiers and neighbours: Developments will be required to provide facilities for the storage, recycling and disposal of waste and facilities for bicycle storage.

Camden Policy Guidance - Sustainability

This Policy Guidance document has been prepared by Camden to support the adopted Core Strategy and Development Policies. This Policy Guidance was last updated in September 2013. Relevant guidance within this document considered pertinent to this Statement includes the following:

- All developments are expected to reduce their carbon dioxide emissions by following the steps in the energy hierarchy, Be Lean, Be Clean, Be Green, to reduce energy consumption;

- Developments are to target a 20% reduction in carbon dioxide emissions from on-site renewable energy technologies unless it can be demonstrated that such provision is not feasible;

- The performance of water minimisation measures will be assessed against the water category in the Code for Sustainable Homes assessment;

- Prioritise the reduction, re-use and recycling of materials and sourcing materials responsibly;

- Code for Sustainable Homes Level 4 should be achieved (2013-2015) achieving 50% of the credits available in the Energy, Water and Materials categories;

- Green and brown roofs should be incorporated;

- Drainage and surface water should be managed on-site using Sustainable Drainage Systems (SUDS);

- Biodiversity considerations should be incorporated into the development.

Code for Sustainable Homes

All dwellings classed as new build within the proposed development will be assessed against national recognised environmental assessment methodology, Code for Sustainable Homes.

The Code for Sustainable Homes is a national standard for assessment on the sustainability and energy efficiency of new developments. The Code assesses the sustainability of a dwelling under nine categories and there are a total of 34 issues organised under these categories.

The nature of the building is such that the provision of a green roof or PV roof would not match in streetscape terms to the remainder of the terrace of which this building forms part.   It is felt desirable that the roof tiles of the proposed roof should match the adjacent properties to achieve a consistent design.  Nevertheless, we believe that the minimum 19% CO2 emission saving required to achieve Code Level 4 is not achievable through energy efficiency measures alone. As such, Code 4 could be achieved by the incorporation of a green wall.

Given the above, the proposed dwellings will achieve a minimum of Code for Sustainable Homes Level 4, achieving 50% of the credits available in the Energy, Water and Materials categories in accordance with Camden policy.

The pre-assessment at Appendix A presents an illustrative route to Code for Sustainable Homes Level 4 certification through the installation of a green wall.

Summary of Sustainability Features

The main sustainability features included in the development are listed below:

The new dwellings will benefit from the provision of energy efficiency measures aiming to achieve a reduction in regulated CO2 emissions of at least 35% over 2013 Building Regulations in line with the London Plan and exceeding the mandatory energy requirements for Code Level 4. The achievement of this target is subject to the inclusion of a green wall.

In addition to this, all dwellings will be provided with energy efficient lighting, white goods with high efficiency ratings and energy display devices to monitor heat and electricity consumption.

Water efficiency measures and devices will be installed to achieve a maximum daily water usage of 105 litres/person/day (in accordance with the London Plan).

Recycling facilities will be provided for domestic and construction related waste;

The use of sustainable transport modes will be encouraged with the provision of cycle storage, and the use of public transport which lies in very close proximity.   Chalk Farm underground station lies almost opposite.

The proposed development includes the provision of Home Office facilities, reducing the need to travel to work.  This is achieved by desk space available in the living rooms.

At least a ‘neutral’ change to the sites’ ecological value is expected.

No new foundations are necessary, since the building was commenced with the intention of implementing the previous planning permission.  Where practical, building materials will be sourced locally to reduce transportation pollution and support the local economy. Materials will be selected based on their environmental impact, with preference given to ‘A+’ or ‘A’ rated materials from the BRE Green Guide to Specification where possible. Materials will also be sourced from sustainable suppliers where possible.

All dwellings will be designed to meet all applicable Lifetime Homes requirements, as set out in separate report.

The site is already well secured for the ground floor surgery and the upper units will benefit from this security.

Sound insulation values are to be improved by at least 5dB on Building Regulations Part E where possible.

All insulation materials are to have a GWP of less than 5 and any boilers are to have low NOx emissions.

Construction site impacts are to be closely monitored and a ‘beyond best practice’ Considerate Constructors score is expected to be achieved.

The narrow nature of the site and the building precludes the opportunity to provide a lift.  Nevertheless, a stair lift can be fitted if required.

ENERGY AND CO2 CONSERVATION

The Energy Strategy for the Proposed Development has been formulated following the London Plan Energy Hierarchy: Be Lean, Be Clean and Be Green. The overriding objective in the formulation of the strategy is to maximise the reductions in CO2 emissions through the application of this Hierarchy with a cost-effective, viable and technically appropriate approach and to minimise the emission of other pollutants.

The extension will be built under Part L 2013 of the Building Regulations; therefore, in line with the London Plan, will target a 35% CO2 reduction over the Part L 2013 baseline.

A range of advanced Be Lean energy efficiency measures are proposed. They enable the proposed development to exceed Part L1A 2013 Target Emission Rate (TER) and Target Fabric Energy Efficiency (TFEE) minimum standards for the residential aspect of the development through energy efficiency measures alone. A site-wide 4% and 2% reduction in regulated and total CO2 emissions respectively is predicted over the Part L 2013 baseline. This represents a high level of sustainable design and construction.

In line with the London Plan, the feasibility of decentralised energy production as a Be Clean measure has been assessed. There are currently no existing or proposed district heat networks in the area. It has been concluded that a communal heating strategy is inappropriate for a development of this size as it would substantially increase capital costs and operational costs (and resident energy bills).

Improvement in Energy Efficiency Rating

Through the appropriate specification and utilisation of energy efficiency measures the proposed dwellings will be able to achieve a high standard of Energy Efficiency Rating (EER), by means of  U-Value to the floors, walls and windows; > 100% energy efficient lighting;  and a SEDBUK ‘A’ rated gas boiler.

Ventilation

To avoid problems associated with the build-up of pollutants and humidity levels whilst avoiding excessive heat loss, ventilation will be designed to meet the requirements of Building Regulations Parts L & F.

All homes will benefit from openable windows allowing natural convective ventilation and night-purging should the occupant desire.

Lighting

All lighting to the residential units will be dedicated energy efficient fittings, with a luminous efficacy greater than 40 lumens per circuit watt, and with appropriate controls. All external lighting, and any security lighting, will be adequately controlled either using PIR sensors, daylight cut-off sensors or time switches.

Energy Efficient White Goods

Where installed, energy efficient white goods will meet the following specification and energy efficient ratings under the EU Energy Efficiency Labelling Scheme (as per the Code for Sustainable Homes and BREEAM assessments):

- Fridges, freezers and fridge-freezers: A+ rating;

- Washing machines: A++ rating;

- Dishwashers: A+ rating; and

- Tumble dryers and washer-dryers: A rating.

Energy display devices which monitor consumption data for electricity and/or primary heating fuel may be provided, empowering the occupants to be more aware of and therefore reduce their energy usage.

Education

Home User Guides will be provided to the occupants of the new dwellings providing advice and information on how to best operate the services within their dwelling. This method can be one of the most effective means to reduce energy use both in the short and long term. The type of information incorporated into the Home User Guide will include the following subjects:

- Energy efficiency;

- Water use;

- Transport facilities;

- Materials and waste;

- Emergency information; and

- Local amenities.

WATER REDUCTION

Conservation of water is crucial to the sustainability debate. The processing of water into fresh, drinking water uses large amounts of energy. Using water in our homes contributes around 35 million tonnes of greenhouse gas a year (on average 1.5 tonnes per family). Additionally, water is a finite resource and during times of drought supplies can run low. Many natural ecosystems in the United Kingdom can suffer as a result of water abstraction.

Policy 5.15 of the London Plan and Code for Sustainable Homes Level 4 requires the internal potable water usage in the dwellings to be no more than 105 litres/person/day; therefore this will be targeted for all dwellings. In addition, Camden policy guidance requires at least 50% of the credits in the Water category of the Code for Sustainable Homes assessment to be achieved.

To achieve the above targets, internal water consumption will be reduced through the use of practical and hygienic water saving measures. An evaluation of the devices to be used will be undertaken based on technical performance, cost and appeal. These may include dual flushes, low flow taps and shower heads and, if white goods are to be provided, they should be best practice with respects to both water use and energy efficiency. A suitable strategy would include the following:

- Dual flush WCs (6/4L per min);

- Wash hand basin tap flows of 3L/min;

- Shower flow rates of 9L/min;

- Bath capacity of up to 140L;

- Kitchen tap flows of 3L/min.

Waste water reduction advice will be provided to the occupants within a comprehensive Home User Guide, to enable optimum use to be made of the devices installed.

SUSTAINABLE MATERIAL SELECTION

The Building Research Establishment (BRE) Green Guide will be used to assess the building materials as part of the Code assessments. As part of this, materials are rated from ‘A’ to ‘E’, with the rating reflecting the Life Cycle of the materials in question.

New materials required in the development will be sourced where possible to ensure that environmentally friendly and low embodied energy materials are used. Where possible, “A+/A” rated materials and element construction will be sourced to enable the development to be as environmentally friendly as possible.

Preference will be given to the use of local materials and suppliers where viable. This will be considered as part of the detailed design and construction process.

In line with the Government’s policy for timber procurement, all timber and wood derived products used on the site, including timber used in the construction phase, such as hoarding, fencing and scaffolding, will be sourced from sustainable sources (e.g. PEFC and FSC). The use of recycled materials (e.g. crushed concrete from waste used for hard-standing) has zero embodied energy impact, other than that expended in their processing or transport.

At least 50% of the credits will be secured under the Materials category of the Code for Sustainable Homes assessment, in accordance with Camden policy guidance.

POLLUTION

The building materials within the proposed development will all meet the following criteria:

- Use traditional and/or long-established materials that do not emit pollutants;

- Use materials that are stable, durable and appropriate;

- Do not use materials that contain heavy metals, biocides or known toxins such as lead or asbestos;

- Make sure that mineral and other fibres are completely encapsulated;

- Use low or nil-formaldehyde-emitting materials;

- Minimise the use of paints, using organic, water-based or mineral paints wherever practicable;

- Avoid timber preservatives;

- Avoid harmful cleaning agents, solvents and smoke from open fires; and

- All insulation materials to have Ozone Depleting Potential of zero and a Global Warming Potential of less than 5.

The applicant will ensure all plant and machinery is readily accessible to facilitate regular maintenance and inspection. All plant and machinery will be subject to a regular service agreement to maintain operational efficiency and to minimise emissions.

Dwellings will be installed with high efficiency, low NOx boilers.

Overall, the proposed development will reduce emissions by use of energy efficient structure, onsite low and zero carbon technology, encouraging sustainable transport behaviour, and measures in the CEMP to reduce air pollution during construction.

FLOOD RISK & DRAINAGE

The Environment Agency’s Flood Map for Planning denotes that the site is located in Flood Zone 1 and is therefore at low risk of flooding. This means that development of this type, in this location, is suitable.

WASTE MANAGEMENT

Household Waste

Adequate internal storage containers for household recycling will be provided within the apartments with a minimum capacity of at least 30 litres, in accordance with the measures outlined in the Code for Sustainable Homes assessments.

External storage for waste and recycling will be provided to the dwellings and floorspace within the development, and all external waste storage areas will be designed in accordance with the Inclusive Design Principles where possible and the requirements of Camden Council.

A Home User Guide will be provided to the occupants of the new dwellings which will provide advice and information on the most effective means and methods to recycle and minimise waste.

External storage for waste and recycling will be provided to all dwellings within the development and all external waste storage areas will be designed in accordance with the Inclusive Design Principles where possible and the requirements of Camden Council.

A Home User Guide will be provided to the occupants of the new dwellings which will provide advice and information on the most effective means and methods to recycle and minimise waste.

Construction Waste

Construction waste is a key element to be considered in achieving a reduction in all waste. It is estimated that some 40% of all waste is construction related. It has also been shown on a number of housing sites that as soon as the issue of waste starts to be addressed, significant improvements follow quickly across the site. There are two key elements to be considered:

- Appropriate construction methods and effective management;

- Re-use/recycling of materials on site where possible.

The amount of waste materials arising from construction can be reduced by introducing regular audits to monitor and control site activities more closely, for example reviewing materials ordering and site practices to prevent damage and cross-contamination. Attention to the quantity of materials purchased and the way that these are offloaded, labelled and stored, can significantly reduce the amount of materials wasted. Wherever possible, the use of packaging and non-returnable pallets should be avoided, or they should be recycled or reused.

Recycling of materials from the construction waste stream can provide valuable construction materials and relieves the existing pressure on landfill sites. By maximising the value extracted from these materials, and extending their life in this way, the demand for such materials from new sources is reduced and there is likely to be a long-term beneficial impact on the conservation of mineral resources such as primary aggregate materials.

A minimum of 85% by weight or by volume of non-hazardous construction waste generated by the project will be diverted from landfill in order to achieve the maximum Code for Sustainable Homes credits.

BUILDING QUALITY

Security

The development will conform to the requirements of Section 2 – Physical Security – from Secured by Design where possible.  The site already benefits from security measures for the ground floor surgery, and a secure development will be achieved.

Safety

The dwellings will be fitted with a compliant Grade A fire alarm system, and a compliant carbon monoxide detector.

Sound Insulation

In order to reduce the likelihood of noise complaints and to ensure a high quality development is created, the development will be aiming to achieve airborne sound insulation values that will improve upon the performance standards outlined within the Building Regulations Part E standards. An improvement of 5dB is expected to be achieved which would achieve 3 Code for Sustainable Homes credits.

Construction traffic will be minimised by restricting deliveries and arrival times in order to manage potential impacts on existing and future occupants. Work will be limited to appropriate hours to be agreed with the Council, and suppressors will be used to reduce noise from machinery in line with the Considerate Constructor’s Scheme.

Lifetime Homes

All dwellings will be built to the Lifetime Homes standards in line with the London Plan policy 3.8 and Camden Development Policy DP6.

The Lifetime Homes standards are a series of 16 criteria intended to make homes more easily adaptable for use over their lifetime. The Lifetime Homes standards aim to ensure accessible and adaptable accommodation for everyone; young families, older people, individuals with a temporary or permanent physical impairment, and allow residents to stay in their home despite developing disabilities.

The principles of Lifetime Homes enables flexibility, visitability (facilitating ease of visiting access to the homes by everyone, regardless of mobility or disability) and future-proofing i.e. the accommodation will be adaptable and able to respond to changing technological and environmental conditions. This will ensure that the highest standards of accessibility are achieved, for example:

- Car parking space with disabled access;

- Wheelchair accessible entrance which is sheltered and adequately lit;

- Accessible communal stairs with opportunity for a chair lift if required;

- Doorways and hallways with clear opening widths;

- Adequate circulation space;

- Potential for ceiling hoists between a bedroom and bathroom;

- Accessible locations of service controls and window handles.

Daylight and Sunlight

Daylighting will be maximised throughout the development where possible. This may be assessed as part of the Code for Sustainable Homes, with up to three credits available for this issue, including for a 2% Average Daylight Factor (ADF) in the kitchen, 1.5% ADF in all living, dining rooms and studies, and at least 80% of the working plane (desk level height) receiving direct light from the sky. Where appropriate, solar control glazing may be installed to reduce solar gains.

TRANSPORT

Sustainable Transport Strategy

Sustainable transport links are central to the sustainability debate. They provide a positive contribution to environmental, societal and economic sustainability of the places they serve.

The site is located almost opposite Chalk Farm London Underground station (Northern Line)

There are regular bus services available from bus stops within close proximity to the site along Haverstock Hill and Chalk Farm Road.

The site is also located within close proximity of local amenities such as cafes, shops, leisure and entertainment facilities in Camden.

It is therefore considered that the site is sustainably located and very suitable for a residential development or surgery such as proposed.

Cycle Parking

Encouraging cycling not only makes a positive contribution to health and well-being, but also reduces pressure on existing transport systems in accordance with the London Plan.

Secure, covered cycle parking is to be provided on site. Space for at least 4 cycles will be provided. This will be sufficient to achieve 2 credits in the Code for Sustainable Homes.

Working from Home

The concept of working from home will be promoted by the provision of internal services and infrastructure, enabling the potential for home offices to be established in each dwelling. This will contribute to the vibrancy of this scheme, whilst offering additional environmental benefits in terms of potential reduced demand for transportation.

Under both the Code for Sustainable Homes requirements for all housing, it is necessary for two double electrical sockets, a broadband enabled telephone point, good ventilation (preferably through an openable window), good daylighting (minimum 1.5% average daylight factor) and an available wall greater than 1.8m in length. This allows enough room for a desk and either a filing cabinet or a bookshelf.

ECOLOGY

Current Ecological Value

The existing site is a previously developed brownfield site with no green landscaping. It is therefore considered that the site as existing is of low ecological value. Opportunity therefore exists for features of ecological enhancement to be incorporated into the development.

Enhancement of Ecological Value

The inclusion of planting on the green wall will attract native species to increase the biodiversity on site.

It is considered that a green or PV roof would not be appropriate owing to the need to match the design of adjacent roofs in this terrace.

### Plants can be planted directly into a material within the green wall or can be planted in the ground or a pot and encouraged to climb up the structure so that the wall is covered with vegetation.

Green walls provide a number of benefits:

- they provide useful habitat for invertebrates which in themselves provide a food source for birds and bats. Dense foliage provides nesting sites for a number of birds such as robin, wren and blackbirds

- evergreen, climbing plants provide insulation and can reduce wind chill during winter months

- climbing plants provide shade which can help to cool a building in summer, particularly when grown on south and western facing walls.

- climbing plants can also be effective in trapping airborne pollutants

- provide visual interest adding colour and texture to the wall surface.

The green wall can provide either for self clinging climbers such as Ivy, Russian Vine and Virginia Creeper - these plants are able to grow directly onto the wall surface; or climbers which need support e.g. honeysuckle and jasmine. Supports are usually provided by trellis structures or wires.

Green walls are known to provide significant localised benefits, including a reduction in urban heat island effect (localised cooling through increased evaporation); provision of ecological habitats for fauna and flora; contribute to the provision of ecology credits as part of the Code assessment.

With the inclusion of the above measures for ecological enhancement, it can be concluded that a positive change in ecological value is expected to be achieved on the site as a result of the proposed development.

REDUCING CONSTRUCTION IMPACTS

Considerate Constructors Scheme

The development proposals will be registered with the Considerate Constructors Scheme to which the applicant is committed to achieving a ‘beyond best practice’ score. This is designed to encourage environmentally and socially considerate ways of working, to reduce any adverse impacts arising from the construction process in accordance with Policy 5.3 of the London Plan. It will also assist in obtaining credits under the Code for Sustainable Homes assessment. The Considerate Constructors Scheme aims are as follows:

- Enhancing the appearance;

- Respecting the community;

- Protecting the environment;

- Securing everyone’s safety; and

- Caring for the workforce.

Monitoring Construction Site Impacts

During the construction processes, control procedures will be put in place to minimise noise and dust pollution and roads will be kept clean. The management systems will generally comprise procedures and working methods that are approved by the development team together with commercial arrangements to ensure compliance.

Further to the above, additional measures will be adopted to minimise the impact on the local area during construction. This will include the limiting of air and water pollution in accordance with best practice principles, as well as the recording, monitoring and displaying of energy and water use from site activities during construction.

In addition to Considerate Constructors, the Code for Sustainable Homes assessment incorporates credits awarded for other sustainable construction practices such as security, responsible sourcing of materials and recycling.

CONCLUSION

The issue of sustainable development has been considered throughout the design of the proposed development. In particular, the associated effects of flood risk, drainage, water efficiency, building structure, low and zero carbon technologies and recycling have been addressed.

A commitment to a minimum of Code for Sustainable Homes Level 4 represents a high level of sustainable design and construction.

Within the Code for Sustainable Homes assessment, at least 50% of the available credits will be achieved in the Energy, Water and Materials categories;

The development will target a 35% CO2 reduction over the Part L 2013 baseline in line with the London Plan.

Water efficiency measures and devices will be installed in the dwellings to achieve a maximum daily water usage of 105 litres/person/day.

Recycling facilities will be provided for domestic and construction related waste;

The use of sustainable transport modes will be encouraged with the provision of cycle storage and use of public transport.

Each dwelling in the proposed development will include the provision of home office facilities, reducing the need to travel to work.

Enhancements will be implemented where appropriate to improve the site’s ecological value

Where practical, building materials will be sourced locally to reduce transportation pollution and support the local economy. Materials will be selected based on their environmental impact, with preference given to ‘A+’ or ‘A’ rated materials from the BRE Green Guide to Specification where possible.

All timber will be legally obtained from sustainable sources.

All dwellings will be designed to meet applicable Lifetime Homes requirements where possible.

Sound insulation values are to target an improvement by at least 5dB on Building Regulations Part E where possible.

Overall, it must be recognised that the proposed development seeks to achieve the best use of this urban land within an established urban area.  The site currently remains mostly undeveloped, and is an eyesore in that it reveals an unattractive party wall. This will be remedied by the proposed development, which is  sustainable simply by its principle.

APPENDIX

CODE FOR SUSTAINABLE HOMES – LEVEL 4

ASSESSMENT

ENE1 Dwelling Emission Rate

To meet Code Level 4, at least a 19% improvement over 2013 Building Regulations is to be achieved through improved fabric performance and the use of renewable technologies. However, to meet the London Plan a 35% improvement is required which would achieve 4 credits. Detailed calculations and credits to be confirmed during detailed energy modelling. Credits Available 10 Credits Predicted 4 ENE2 Fabric Energy Efficiency

To achieve credits for this issue, high levels of air tightness and fabric improvements will be required, such as enhanced insulation in the building envelope (walls, roofs, floors and glazing) to achieve average U-values better than those required by Part L (2013) Building Regulations. To achieve 4 credits, all apartments will need to achieve a target FEE of less than or equal to 45 kWh/m2/year. This will be confirmed and refined during detailed modelling. Credits Available 9 Credits Predicted 4 ENE3 Energy Display Devices

All dwellings will be provided with a correctly specified Energy Display Device that will display electricity and/or primary heating fuel consumption data. All devices must meet the Code criteria, but this will be outlined during the detailed design stage. Credits Available 2 Credits Predicted 1 ENE4 Drying space

Credit awarded for the provision of either internal or external secure drying space, capable of holding 4m+ of drying line for 1-2 bedromm dwellings and 6m+ for 3+ bedroom dwellings. Internal drying space must be adequately ventilated.

Credits Available  1    Credits Predicted    1

ENE5 Energy Labelled white goods

One credit has been predicted at this stage where an EU Energy Efficiency Labelling Scheme is to be provided to each dwelling. Any white goods will need to have the following energy ratings: - Fridge, freezer or fridge-freezer: A+ rated; - Washing Machine: A rated; - Dishwasher: A rated; - Tumble dryer or washer-dryer: B rated.

Credits Available  2    Credits Predicted    2

ENE6  External lighting

All external/communal lighting will be dedicated energy efficient fittings, with a luminous efficacy greater than 40 lumens per circuit watt, and with appropriate controls. Where security lighting is to be installed it must be energy efficient and have either daylight cut-off sensors, PIR sensors or time switches. If no security lighting is specified, the second credit will be awarded by default.

Credits Available  2    Credits Predicted    2

ENE7   Renewable technologies

Credit not anticipated at this stage.

Credits Available  2    Credits Predicted    0

ENE8  Cycle storage

Secure cycle storage is to be provided to both dwellings in the form of a communal cycle store. 2 credit should be targeted which requires the following:- 1 bedroom dwellings - storage for 1 cycle per dwelling.- 2/3 bedroom dwellings - storage for 2 cycle per dwelling.- 4 bedrooms and above - storage for 4 cycles per dwelling. All cycle storage must meet the following requirements:

• Easy and direct access to/from the dwellings and to/from the cycle store to a public right of way

• Located within 100m of the main entrances to the dwellings

• Secure solid enclosure and a secure permanent entrance lock (BS3621 compliant)

• Secure cycle fixings (steel set in concrete to allow for both wheel and frame to be secured).

Credits Available  2    Credits Predicted    2

ENE9  Home office space

Each dwelling will need to incorporate the space and services necessary for a home office. The Code requires a wall length of at least 1.8m, a broadband enabled telephone point (or 2 telephone points), two double power sockets, an openable window and an average daylight factor of at least 1.5%.

Credits Available  1    Credits Predicted    1

Total Energy & CO2 Category       31                      Predicted Score    17

WAT1   Indoor water use

A strategy will be adopted to meet the mandatory 105 litres/person/day target. A suitable strategy would include the following:

• Dual flush WC's (6/4L per min)

• Wash hand basin tap flows of 3 L/min

• Shower flow rates of 8 L/min

• Bath capacity of up to 150L

• Kitchen tap flows of 4L/min

Dishwashers and washing machines (or washer-dryers) will also need to be included as part of the WAT 1 Calculator.

Credits Available  5   Credits Predicted    3

WAT2

Credit can be awarded by default if no garden spaces are specified.

Credits Available  1    Credits Predicted    1

Total Water  Category    6   Predicted Score    4

MAT1  Environmental impact of materials

This score will need to be verified at the detailed Design Stage and the developers will reference the Green Guide to Housing Specification when determining their material specification. 'A+' and 'A' rated materials will be used where possible.

Credits Available  15    Credits Predicted    9

MAT 2 /3

Responsible sourcing of materials – basic building  /  finishing elements

This score will need to be verified at the detailed Design Stage and the developers will reference the Green Guide to Housing Specification when determining their material specification. 'A+' and 'A' rated materials will be used where possible.

Credits have been predicted for MAT 2 and 3. The materials listed below have the ability to be sourced from sustainable sources, with certification to one of the following schemes:FSC, PEFC, CSA, SFI, BES6001:2008, MTCC, Verified, SGS, TFT, ISO 14001 and EMAS.

▪ Brick

▪ Tiles

▪ Timber

▪ Concrete

▪ Glass

▪ Plastics and rubbers

▪ Metals

▪ Dressed or building stone

▪ Plasterboard and plaster

▪ Resin based composite material

▪ Cement bonded particle board

▪ Bituminous materials

▪ Mineral based materials

▪ Products with recycled content.

MAT 2  Credits Available  6    Credits Predicted    4

MAT 3  Credits Available  3   Credits Predicted    2

Total Materials      24                      Predicted Score    15

SUR1  Management of surface water run-off

No additional run off from the site is produced as a result of the new development.

Credits Available  2   Credits Predicted    0

SUR2   Flood risk

According to the Environment Agency's Flood Map, the site is Flood Zone 1 therefore 2 credits may be achieved.

Credits Available  2    Credits Predicted    2

Total Surface water run-off      4                      Predicted Score    2

WAS1 Storage of non-recyclable waste

External storage for waste and recycling is to be provided in communal bin stores. Bins will be adequately sized to accommodate the largest of the following two volumes:- The minimum requirements of BS5906 (170L for 2 bedroom dwellings)- The total volume of the external waste containers provided by the Local Authority. These provisions do not include garden or kitchen waste storage - see WAS 3. Internal storage for recyclable materials will also be provided, with an overall capacity of at least 30L located in a dedicated position. Camden operates a service that does not require pre-collection sorting .All external waste storage areas will be designed in accordance with the IDP (Inclusive Design Principles).  Amenities provide access and usability.

Credits Available  4    Credits Predicted    4

WAS2  Construction site waste management

This will include procedures and commitments for waste minimisation and diversion from landfill. Waste would be either re-used or recycled on site, or sorted on site and collected for recycling. A minimum of 85% by weight or by volume of non-hazardous construction waste generated by the project would be diverted from landfill for the full 3 credits to be awarded.

Credits Available  3    Credits Predicted    3

WAS3  Composting

Camden operates a garden and kitchen waste collection service so 1 credit is achievable for this issue.

Credits Available  1    Credits Predicted    1

Total Waste      8               Predicted Score    8

POL1   Global warming

All insulation materials will have a zero Ozone Depleting Potential and a Global Warming Potential of less than 5.

Credits Available  1    Credits Predicted    1

POL2  NOx Emissions

High efficiency, low NOx (less than 40 mg/kWh) boilers are to be provided.

Credits Available  3    Credits Predicted    3

Total Pollution      4                      Predicted Score    4

HEA1  Daylighting

2 credits should be achievable for this issue with all living & dining rooms (and any home offices) achieving a daylighting factor of at least 1.5%. The kitchens willpass the required 2% daylighting factor and a view of the sky should also be achieved for all applicable areas.

Credits Available  3    Credits Predicted    2

HEA2  Sound insulation

Sound testing can  be used to demonstrate a 5dB improvement on Building Regulations.

Credits Available  4    Credits Predicted    3

HEA3  Private space

Private space will be provided to both dwellings in the form of private balconies, sized to meet the minimum size requirements and compliant with the checklist.

Credits Available  1    Credits Predicted    1

HEA4  Lifetime homes

Anticipated at this stage that all applicable Lifetime Homes requirements will be met, as set out in separate schedule

Credits Available  4    Credits Predicted    4

Total Health and Wellbeing  Category       12                      Predicted Score    10

MAN1  Home user guide

A compliant Home User Guide will be supplied to each dwelling to provide information on the environmental performance of the home, information regarding the site and its surroundings, and be made available in other formats (e.g. CD and Braille).

Credits Available  3    Credits Predicted    3

MAN2   Considerate constructors’ scheme

There will be a commitment to achieve 'best practice' under the Considerate Constructors Scheme, achieving a score between 35 and 50 with no section scoring less than 7.

Credits Available  2   Credits Predicted    2

MAN3  Construction site impacts

The development should monitor and reduce construction site impacts to reduce the affect of construction on the local area. This can involve the limitation of air and water pollution in accordance with best practice principles, as well as the recording, monitoring and displaying of energy and water use from site activities during construction.

Credits Available  2    Credits Predicted    2

MAN4  Security

An architect or Crime Prevention Design Advisor will provide advice that will ensure that the dwellings meet all aspects of Section 2 – Physical Security of Secured by Design – New Homes.

Credits Available  2    Credits Predicted    2

Total Management Category       9                      Predicted Score    9

ECO1 Ecological value

It is assumed that the site has low ecological value therefore 1 credit may be achieved.

Credits Available  1    Credits Predicted    1

ECO2   Ecological enhancement

The provision of a green wall as described above would score a credit under this heading.

Credits Available  1    Credits Predicted    1

ECO3 Protection of ecological features

As the site has low ecological value therefore this credit should be achieved by default.

Credits Available  1    Credits Predicted    1

ECO4  Change of ecological value

At least some benefit can be assumed by reason of the green wall.

Credits Available  4    Credits Predicted    2

ECO5  Building footprint

No increase beyond the existing ground footprint is proposed.

Credits Available  2    Credits Predicted    2

Total Ecology Category       9                     Predicted Score    7

TOTALS AVAILABLE    107                    TOTALS PREDICTED  76    (minimum standard 69.25)

N.B.  The above assessment can be equally applied to the alternative scheme to meet the normal standard.