Basement Impact Assessment AUDIT: Instruction

Section A (Site Summary) – to be completed by Case Officer

| Case officer contact details: | Nanayaa Ampoma | Date of request: |  | Date |  |
| --- | --- | --- | --- | --- | --- |
| Camden Reference: | 2014/6787/P | Statutory consultation end date: |  | Date |  |
| Site Address: | 156A Goldhurst Terrace NW6 3HP |  |  |  |  |
| Reason for Audit: | Planning application / Appeal / discharge of S106 or condition / Other (please specify) |  |  |  |  |
| Proposal description and : Provide proposal description |  |  |  |  |  |
| Relevant planning background Put details here |  |  |  |  |  |
| Do the basement proposals involve a listed building or does the site neighbour any listed buildings? |  |  | Yes/No |  |  |
| Is the site in an area of relevant constraints? (check site constraints in M3/Magic GIS) |  |  | Slope stability |  | Yes/No (explain: eg Claygate beds |
|  |  |  | Surface Water flow and flooding |  | No/Yes |
|  |  |  | Subterranean (groundwater) flow |  | No/Yes (explain: eg Claygate beds |
| Does the application require determination by Development Control Committee in accordance fall the Terms of Reference |  |  | Yes/No |  |  |
| No/Does the scope of the submitted BIA extend beyond the screening stage? |  |  | Yes/No |  |  |

Section B: BIA components for Audit (to be completed by Applicant)

| Items provided for Basement Impact Assessment (BIA)1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item provided |  |  | - Yes/No/NA2 | - Name of BIA document/appendix in which information is contained. |
| 1 | Description of proposed development. |  |  | - Basement Excavation under exiting mid-terrace house |
| 2 | Plan showing boundary of development including any land required temporarily during construction. |  | - Yes | - EXISTING SITE PLAN - PROPOSED PLAN |
| 3 | Plans, maps and or photographs to show location of basement relative to surrounding structures. |  | - Yes | - Within the BMS document; see section 5. Desk Study and Walkover Survey |
| 4 | Plans, maps and or photographs to show topography of surrounding area with any nearby watercourses/waterbodies including consideration of the relevant maps in the Strategic FRA by URS (2014) |  | - Yes | - Within the BMS document; see section 2. Basement Impact: Screening, appendix A and also Hydrological report |
| 5 | Plans and sections to show foundation details of adjacent structures. |  | - Yes | - Within the BMS document; see Appendix B |
| 6 | Plans and sections to show layout and dimensions of proposed basement. |  | - Yes | - 11 - PROPOSED PLAN - 14 - PROPOSED PLAN - 15 - PROPOSED PLAN |
| 7 | Programme for enabling works, construction and restoration. |  | - Yes | - 7765 method goldhurst |
| 8 | Identification of potential risks to land stability (including surrounding structures and infrastructure), and surface and groundwater flooding. |  | - Yes | - Within the BMS document; see DP27 section and hydrological report |
| 9 | Assessment of impact of potential risks on neighbouring properties and surface and groundwater. |  | - Yes | - Within the BMS document; see Adjacent properties |
| 10 | Identification of significant adverse impacts. |  | - Yes | - Within the BMS document |
| 11 | Evidence of consultation with neighbours. |  | - Yes | - Goldhurst Terrace, 156_MASTER Spreadsheet of AO's 22.04.15.xls |
| 12 | Ground Investigation Report and Conceptual Site Model including - Desktop study - exploratory hole records - results from monitoring the local groundwater regime - confirmation of baseline conditions - factual site investigation report |  | - Yes | - See BMS report appendix E |
| 13 | Ground Movement Assessment (GMA). |  | - Yes | - Ground movement calculations appendix F |
| 14 | Plans, drawings, reports to show extent of affected area. |  | - Yes | - Within the BMS report |
| 15 | Specific mitigation measures to reduce, avoid or offset significant adverse impacts. |  | - Yes |  |
| 16 | Construction Sequence Methodology (CSM) referring to site investigation and containing basement, floor and roof plans, sections (all views), sequence of construction and temporary works. |  | - Yes | - See appendix D |
| 17 | Proposals for monitoring during construction. |  | - Yes | - See adjacent properties section |
| 18 | Confirmatory and reasoned statement identifying likely damage to nearby properties according to Burland Scale |  | - Yes | - See adjacent properties section and appendix F |
| 19 | Confirmatory and reasoned statement with supporting evidence that the structural stability of the building and neighbouring properties will be maintained (by reference to BIA, Ground Movement Assessment and Construction Sequence Methodology), including consideration of cumulative effects. |  | - Yes | - See appendix C for Structural basement Calculations and appendix D for basement method statement |
| 20 | Confirmatory and reasoned statement with supporting evidence that there will be no adverse effects on drainage or run-off and no damage to the water environment (by reference to ground investigation, BIA and CSM), including consideration of cumulative effects. |  | - Yes | - See basement Impact - screening |
| 21 | Identification of areas that require further investigation. |  | - Yes | - Within the BMS report |
| 22 | Non-technical summary for each stage of BIA. |  | - Yes | - 15-06-26 156 Goldhurst Terrace CMS rev 1 - and - 156 Goldhurst Terrace BIA review |
| Additional BIA components (added during Audit) |  |  |  |  |
| Item provided |  | Yes/No/NA2 |  | - Comment |

Notes:

1 NB DP27 also requires consideration of architectural character, impacts on archaeology, amenity and other matters which are not covered by this checklist.

2 Where response is ‘no’ or ‘NA’, an explanation is required in the Comment section.

Section C : Audit proposal (to be completed by the Auditor)

| Date | Fee Categorisation (A/B/C) and costs (£ ex VAT) | Commentary (including timescales for completion of Initial Report) |
| --- | --- | --- |
| 01.05.15 | Category B – extends beyond screening stage | Fee includes consideration of the one coments received to date. Additional fees may be incurred if further comments are received after issue of audit report, if audit identifies need for site visit or documents require to be revised. |

Note: Where changes to the fee categorisation are required during the audit process, this will require an update to the above table, with justification provided by the auditor. These changes shall be agreed with the planning officer and the applicant, in writing before the work is undertaken.

Section D: Audit Agreement (to be completed by Applicant)

I agree to pay the full costs of the independent audit of the Basement Impact Assessment associated with the planning application for the site identified in Section A. Such costs may include additional fees charged at the hourly rate for DCC attendance (for example).

| Name of contact [to be sent Invoice for final costs] | Guy Shani |
| --- | --- |
| Address of contact | 156 Goldhurst Terrace London NW6 3HP |
| Company (if relevant) |  |
| Contact telephone number | 07770393323 |
| Date | 2 July 2015 |

Recommendations for approval of certain types of application require determination by Development Control Committee (DCC). From time to time applications which would normally be determined by officers under delegated authority are referred by the Director of Culture and Environment to DCC for decision. Where the Auditor makes representations at DCC on behalf of an application the fees for attendance will be passed to the applicant.