## Readings
[17 empty] | 2 | Important: Do not delete any columns right of column R
LEVEL MONITORING - RELATIVE SURVEY READINGS
|  | Provider Details |  |  |  | Client Details | [5 empty] | Risk Address | [5 empty] | Movement - Relative Values
|  | Name: | MHN Ltd |  |  | Insurance Co.: |  | EIG |  |  |  | Occupier: |  | LHA London Ltd |  |  |  | All measurements in 'mm'. | [33 empty] | isometric | plan | plan |  |  |  |  | isometric |  |  |  | DIFF
[6 empty] | Client Name: |  | Crawford |  |  |  | Address: |  | Belsize | [36 empty] | xmin | -12.25 | -1 | xmin | -1 | xrange | 9 | 18 | xmin | -12 | xrange | 19 | -0.25 |  |  |  |  | Datum for Heave | 9.8103
[6 empty] | Technical Mgr: |  | P Gardner |  |  |  | Address: |  | 38-40 Belsize Park Gardens | [36 empty] | xmax | 7.25 | 17 | xmax | 8 |  |  |  | xmax | 7 | [7 empty] | Datum for Subsidence | 10
|  | Date of Issue: |  | 2015-07-06 |  | Email: |  | subsidence.monitoring@crawco.co.uk |  |  |  | Town: |  | London
[6 empty] | Client Ref: |  | SU1401214 |  |  |  | County: | [5 empty] | Job Ref: |  | 0 | [30 empty] | ymin | -11 | -16 | ymin | -16 | yrange | 18 |  | ymin | -11 | yrange | 13 | [5 empty] | Manual datum | 10
|  | Monitoring Details |  |  |  | Address: |  | National Subsidence Unit |  |  |  | Post Code: |  | NW3 4NA |  |  |  | Client Ref: |  | SU1401214 | [30 empty] | ymax | 2 | 2 | ymax | 2 |  |  |  | ymax | 2
|  | Instruction Date: |  | 2014-08-26 |  | Address: |  | 4th Floor 30 St Pauls Square |  |  |  | Tel Home: | [5 empty] | Address: |  | Belsize
|  | First Reading Date: |  | 2014-09-05 |  | Town: |  | Birmingham |  |  |  | Tel Work: | [5 empty] | Address: |  | 38-40 Belsize Park Gardens | [30 empty] | Level Scale factor = |  | 10 | (Factor is input on Sketches Sheet)
|  | Maximum No Visits: |  | 7 |  | County: | [5 empty] | Mobile: |  | 07554 013 357 - M Douglas |  |  |  | Town: |  | London | [30 empty] | VERTICAL DISTORTED SCALE 1:10.
|  | Anticipated Expiry Date: |  | 2015-09-01 |  | Post Code: |  | B3 1QZ |  |  |  | Other: | [5 empty] | Post Code: |  | NW3 4NA | [31 empty] | ISOX Adj Factor | 0.86603
|  | Monitoring Int: |  | 2 Monthly |  | Other Email: |  | subsidence.monitoring@crawco.co.uk |  |  |  | Other: | [40 empty] | ISOY Adj Factor | 0.5
[5 empty] | Target Date: | [13 empty] | Target Date: | [31 empty] | Values for Chart | [18 empty] | Drawing Labels
[5 empty] | Reading Date: | 2014-09-05 | 2014-11-04 | 2015-01-13 | 2015-03-04 | 2015-05-02 | 2015-07-03 | [7 empty] | Reading Date: | 2014-09-05 | 2014-11-04 | 2015-01-13 | 2015-03-04 | 2015-05-02 | 2015-07-03 | [42 empty] | Datum for graph |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | [7 empty] | ISO LABELS
[5 empty] | Issue Date: | 2014-09-09 | 2014-11-06 | 2015-01-14 | 2015-03-05 | 2015-05-06 | 2015-07-06 | [7 empty] | Issue Date: | 2014-09-09 | 2014-11-06 | 2015-01-14 | 2015-03-05 | 2015-05-06 | 2015-07-06 | [8 empty] | New Base Readings Table | [16 empty] | X | Y | ISOX | ISOY | Z1 | Z2 | Z3 | Z4 | Z5 | Z6 | Z7 | Z8 | Z9 | Z10 | Z11 | Z12 | End | [5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | End | Rounded
|  | Row No. | Point Name | X Co-ordinate | Y Co- ordinate | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Row No. | Point Name | Reading 1 | Reading 2 | Reading 3 | Reading 4 | Reading 5 | Reading 6 | Reading 7 | Reading 8 | Reading 9 | Reading 10 | Reading 11 | Reading 12 | Max | Min | Reading 1 | Reading 2 | Reading 3 | Reading 4 | Reading 5 | Reading 6 | Reading 7 | Reading 8 | Reading 9 | Reading 10 | Reading 11 | Reading 12 | Max Base Reading | Initial Base Reading | Max Variance | Datum Label | Distortion Label |  |  |  |  | Reading 1 (5/9/14) | Reading 2 (4/11/14) | Reading 3 (13/1/15) | Reading 4 (4/3/15) | Reading 5 (2/5/15) | Reading 6 (3/7/15) | Reading 7 (30/12/99) | Reading 8 (30/12/99) | Reading 9 (30/12/99) | Reading 10 (30/12/99) | Reading 11 (30/12/99) | Reading 12 (30/12/99) | [5 empty] | datum | Reading 1 | Reading 2 | Reading 3 | Reading 4 | Reading 5 | Reading 6 | Reading 7 | Reading 8 | Reading 9 | Reading 10 | Reading 11 | Reading 12
Spare row. Do not delete!
1 |  | 1 | 1 | 0 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | [6 empty] | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 0 | 1. | 1; 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 10 | 10 | Level diff | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
2 |  | 2 |  | 0 | -3.7 | [12 empty] | 2 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | -3.7 | -3.2043 | -1.85 | -1.85 | -1.85 | -1.85 | -1.85 | -1.85 | -1.85 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 3 | 2 | 0.2 | -3.7 | 9.9023 | 9.9027 | 9.9027 | 9.9028 | 9.9027 | 9.9028 | [6 empty] | 3 | 2 | 0 | 0.0004 | 0.0004 | 0.0005 | 0.0004 | 0.0005 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0005 | 0 | 9.9023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.9023 | 9.9023 | 0.0005 | 2. | 2; 0 | 0.2 | -3.7 | -3.0311 | -1.95 | -1.95 | -1.946 | -1.946 | -1.945 | -1.946 | -1.945 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 10 | 10 |  | 2 | 10 | -97.7 | 0.4 | 0.4 | 0.5 | 0.4 | 0.5 | [7 empty] | 0
2 |  | 4 | 3 | 0.2 | -8.7 | 9.8638 | 9.8641 | 9.8641 | 9.864 | 9.8647 | 9.864 | [6 empty] | 4 | 3 | 0 | 0.0003 | 0.0003 | 0.0002 | 0.0009 | 0.0002 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0009 | 0 | 9.8638 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8638 | 9.8638 | 0.0009 | 3. | 3; 0 | 0.2 | -8.7 | -7.3612 | -4.45 | -4.45 | -4.447 | -4.447 | -4.448 | -4.441 | -4.448 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 10 | 10 |  | 3 | 10 | -136.2 | 0.3 | 0.3 | 0.2 | 0.9 | 0.2 | [7 empty] | 0
2 |  | 5 |  | 0.4 | -8.7 | [12 empty] | 5 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0.4 | -8.7 | -7.188 | -4.55 | -4.55 | -4.55 | -4.55 | -4.55 | -4.55 | -4.55 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 6 |  | 0.4 | -11.5 | [12 empty] | 6 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0.4 | -11.5 | -9.6129 | -5.95 | -5.95 | -5.95 | -5.95 | -5.95 | -5.95 | -5.95 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 7 |  | 0.6 | -11.5 | [12 empty] | 7 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0.6 | -11.5 | -9.4397 | -6.05 | -6.05 | -6.05 | -6.05 | -6.05 | -6.05 | -6.05 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 8 | 4 | 0.6 | -12.8 | 9.8404 | 9.8407 | 9.8422 | 9.8428 | 9.8444 | 9.8425 | [6 empty] | 8 | 4 | 0 | 0.0003 | 0.0018 | 0.0024 | 0.004 | 0.0021 | 0 | 0 | 0 | 0 | 0 | 0 | 0.004 | 0 | 9.8404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8404 | 9.8404 | 0.004 | 4. | 4; 2 | 0.6 | -12.8 | -10.5655 | -6.7 | -6.7 | -6.697 | -6.682 | -6.676 | -6.66 | -6.679 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 10 | 10 |  | 4 | 10 | -159.6 | 0.3 | 1.8 | 2.4 | 4 | 2.1 | [7 empty] | 2
2 |  | 9 |  | 1.4 | -12.8 | [12 empty] | 9 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1.4 | -12.8 | -9.8727 | -7.1 | -7.1 | -7.1 | -7.1 | -7.1 | -7.1 | -7.1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 10 |  | 1.4 | -13.4 | [12 empty] | 10 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1.4 | -13.4 | -10.3923 | -7.4 | -7.4 | -7.4 | -7.4 | -7.4 | -7.4 | -7.4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 11 | 5 | 2.2 | -14.3 | 9.8103 | 9.8112 | 9.8139 | 9.8152 | 9.8169 | 9.814 | [6 empty] | 11 | 5 | 0 | 0.0009 | 0.0036 | 0.0049 | 0.0066 | 0.0037 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0066 | 0 | 9.8103 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8103 | 9.8103 | 0.0066 | 5. | 5; 4 | 2.2 | -14.3 | -10.4789 | -8.25 | -8.25 | -8.241 | -8.214 | -8.201 | -8.184 | -8.213 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 10 | 10 |  | 5 | 10 | -189.7 | 0.9 | 3.6 | 4.9 | 6.6 | 3.7 | [7 empty] | 4
2 |  | 12 | 6 | 4.5 | -14.3 | 9.8205 | 9.8206 | 9.8215 | 9.8216 | 9.8224 | 9.8214 | [6 empty] | 12 | 6 | 0 | 0.0001 | 0.001 | 0.0011 | 0.0019 | 0.0009 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0019 | 0 | 9.8205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8205 | 9.8205 | 0.0019 | 6. | 6; 1 | 4.5 | -14.3 | -8.487 | -9.4 | -9.4 | -9.399 | -9.39 | -9.389 | -9.381 | -9.391 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 10 | 10 |  | 6 | 10 | -179.5 | 0.1 | 1 | 1.1 | 1.9 | 0.9 | [7 empty] | 1
2 |  | 13 |  | 5.3 | -13.4 | [12 empty] | 13 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 5.3 | -13.4 | -7.0148 | -9.35 | -9.35 | -9.35 | -9.35 | -9.35 | -9.35 | -9.35 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 14 |  | 5.3 | -12.8 | [12 empty] | 14 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 5.3 | -12.8 | -6.4952 | -9.05 | -9.05 | -9.05 | -9.05 | -9.05 | -9.05 | -9.05 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 15 |  | 6 | -12.8 | [12 empty] | 15 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 6 | -12.8 | -5.889 | -9.4 | -9.4 | -9.4 | -9.4 | -9.4 | -9.4 | -9.4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 16 |  | 6 | 0 | [12 empty] | 16 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 6 | 0 | 5.1962 | -3 | -3 | -3 | -3 | -3 | -3 | -3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 17 |  | 0 | 0 | [12 empty] | 17 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 18 | [15 empty] | 18 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 19 | [15 empty] | 19 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 20 | [15 empty] | 20 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 21 | [15 empty] | 21 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 22 | [15 empty] | 22 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 23 | [15 empty] | 23 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 24 | [15 empty] | 24 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 25 | [15 empty] | 25 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 26 | [15 empty] | 26 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 27 | [15 empty] | 27 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 28 | [15 empty] | 28 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 29 | [15 empty] | 29 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 30 | [15 empty] | 30 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 31 | [15 empty] | 31 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 32 | [15 empty] | 32 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | [17 empty] | 0 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | [17 empty] | 0 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | [17 empty] | 0 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 0 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-07-03
[13 empty] | l | The Occupier expressed no new concerns
[13 empty] | l | It was not possible to install all stations within the same mortar course. Therefore initial readings cannot be interpreted as Distortion Data.
[13 empty] | l | Readings have been made relative to Level station 1, as requested. It has an assumed value of 10.0000m. If this is not appropriate, please advise if a deep datum is required?
[13 empty] | l | Further readings to be taken in Sep-15
FRONT
Monitoring Period Weekly Intervals
|  | Weeks | Days
|  | 1 | 7
|  | 2 | 14
|  | 3 | 21
|  | 4 | 28
|  | 5 | 35
|  | 6 | 42
|  | 7 | 49
|  | 8 | 56
|  | 9 | 63
|  | 10 | 70
|  | 11 | 77
|  | 12 | 84
|  | 16 | 112
|  | 20 | 140
|  | 24 | 168
0
Selected:
|  | Weeks: | #REF!
|  | Days | #REF!
Note on A23: :Flag 1 = First row so cant delete. 2=Row has data inputs so cant be deleted 3=Row is not first row and has no data so OK to delete note. Delete control flag formula programmed so that one spare row at bottom is always available.
Note on E9: Formula uses the maximum date from the Readings page. Overtype if necessary.
1 = DATUM
2
3
4
5
6
Delete Last Row
About / Instructions
Add Row
Survey Type
Distortion
Relative
STEPS
STEPS
NO ACCESS
NOTE: Measurments down this side are estimates

## Sketches (hidden)
LEVEL MONITORING - DISTORTION SURVEY SUMMARY
Provider Details | [9 empty] | Client Details | [6 empty] | Risk Address
Name: |  |  |  |  | MHN Ltd |  |  |  |  | Insurance Co.: |  |  | EIG |  |  |  | Occupier: |  |  | LHA London Ltd
[10 empty] | Client Name: |  |  | Crawford |  |  |  | Address: |  |  | Belsize
Our Ref: | [9 empty] | Technical Mgr: |  |  | P Gardner |  |  |  | Address: |  |  | 38-40 Belsize Park Gardens
Date of Issue: | [6 empty] | 2015-07-06 |  |  | Email: |  |  | subsidence.monitoring@crawco.co.uk |  |  |  | Town: |  |  | 38-40 Belsize Park Gardens
[10 empty] | Client Ref: |  |  | SU1401214 |  |  |  | County: |  |  | London
Monitoring Details | [9 empty] | Address: |  |  | National Subsidence Unit |  |  |  | Post Code:
Instruction Date: | [6 empty] | 2014-08-26 |  |  | Address: |  |  | 4th Floor 30 St Pauls Square |  |  |  | Tel Home: |  |  | NW3 4NA
First Reading Date: | [6 empty] | 2014-09-05 |  |  | Town: |  |  | Birmingham |  |  |  | Tel Work:
Maximum No Visits: | [6 empty] | 7 |  |  | County: | [6 empty] | Mobile:
Anticipated Expiry Date: | [6 empty] | 2015-09-01 |  |  | Post Code: |  |  | B3 1QZ |  |  |  | Other: |  |  | 07554 013 357 - M Douglas
Monitoring Interval (Weeks): | [6 empty] | #REF! |  |  | Other Email: |  |  | subsidence.monitoring@crawco.co.uk |  |  |  | Other:
Comments
|  | l | The Occupier expressed concerns
l
Sketch Plan
|  |  | 1 |  |  |  | 2 |  | 3 |  | 4 | 5
11
12
13
[6 empty] | 7 KING ALFRED DRIVE | [7 empty] | 9 KING ALFRED DRIVE
14
15
16
17
|  | 6 |  | 7 |  | 8 |  | 9 | 10 |  |  |  |  | 23 | 22 | 21 |  | 20 | 19 | 18
Signed:
| Next Interim Report Due: | [6 empty] | #REF!
Note on J10: Formula uses the maximum date from the Readings page. Overtype if necessary.
1
2
SKETCH TOOL BOX - COPY THE FOLLOWING SHAPES TO COMPLETE SKETCH. THE SHAPES CAN BE STRETCHED AND SCALED TO MAKE MOST HOUSE SHAPES. THE DRAW TOOLS CAN ALSO BE USED TO CREATED THE SKETCH.
3
4
5
Please note: Due to no level stations being installed at the original visit the exact locations of the original readings may have been difficult to locate. This could explain the difference in some readings.

## Sketch
|  | Vertical distorted scale 1: | 10 |  | TRUE | 2
2
LEVEL MONITORING - RELATIVE MOVEMENT SKETCH
Client: | Crawford |  |  | Client Ref: |  | SU1401214
CHECK PLAN GENERATED FROM USER CO-ORDINATES
PRESS THE SCALE PLAN BUTTON AFTER THE
CO-ORDINATES HAVE BEEN ENTERED
Notes:
[7 empty] | Vertical distorted scale 1: | 10
Point labels give level difference of last reading from original datum in mm.
Scale Plan
Rescale Sketch
CHART
HEAVE
SUBSIDENCE
MANUAL DATUM
About / Instructions
DATUM
DISPLAY
DO NOT DISPLAY

## Charts
|  |  |  | Charts set to show movements above | 0 | mm | Selected Scale mm for VBA> | 10
|  |  |  | Chart Scale 1: | 1000 | mm | Selected Chart for VBA> | 1
LEVEL MONITORING - RELATIVE SURVEY READINGS
| Client: | Crawford | Client Ref: | SU1401214 |  |  | Chart Scale 1:1000
4 | 1 | [6 empty] | 1
[9 empty] | Chart Series | Point
[9 empty] | Series 1 | 1
[9 empty] | Series 2 | 2
[9 empty] | Series 3 | 3
[9 empty] | Series 4 | 4
[9 empty] | Series 5 | 5
26 | 2 | [6 empty] | 1
[9 empty] | Chart Series | Point
[9 empty] | Series 1 | 6
Series 2
Series 3
Series 4
Series 5
6 | 3 | [6 empty] | 6
[9 empty] | Chart Series | Point
Series 1
Series 2
Series 3
Series 4
Series 5
7 | 4 | [6 empty] | 2
[9 empty] | Chart Series | Point
Series 1
Series 2
Series 3
Series 4
Series 5
20 | 5 | [6 empty] | 1
[9 empty] | Chart Series | Point
Series 1
Series 2
Series 3
Series 4
Series 5
29 | 6 | [6 empty] | 1
[9 empty] | Chart Series | Point
Series 1
Series 2
Series 3
Series 4
Series 5
31 | 7 | [6 empty] | 1
[9 empty] | Chart Series | Point
Series 1
Series 2
Series 3
Series 4
Series 5
33 | 8 | [6 empty] | 1
[9 empty] | Chart Series | Point
Series 1
Series 2
Series 3
Series 4
Series 5
35 | 9 | [6 empty] | 1
[9 empty] | Chart Series | Point
Series 1
Series 2
Series 3
Series 4
Series 5
37 | 10 | [6 empty] | 1
[9 empty] | Chart Series | Point
Series 1
Series 2
Series 3
Series 4
Series 5
39 | 11 | [6 empty] | 1
[9 empty] | Chart Series | Point
Series 1
Series 2
Series 3
Series 4
Series 5
41 | 12 | [6 empty] | 1
[9 empty] | Chart Series | Point
Series 1
Series 2
Series 3
Series 4
Series 5
Plot movements above 'n' mm as entered below
| Graph 1 |  | 0 | mm
| Graph 2 |  | 0 | mm
| Graph 3 |  | 0 | mm
| Graph 4 |  | 0 | mm
| Graph 5 |  | 0 | mm
| Graph 6 |  | 0 | mm
| Graph 7 |  | 0 | mm
| Graph 8 |  | 0 | mm
| Graph 9 |  | 0 | mm
| Graph 10 |  | 0 | mm
| Graph 11 |  | 0 | mm
| Graph 12 |  | 0 | mm
Add Next Reading
Delete Last Reading
True
False
Show Values
True
False
Show Values
True
False
Show Values
True
False
Show Values
True
False
Show Values
True
False
Show Values
True
False
Show Values
True
False
Show Values
True
False
Show Values
True
False
Show Values
True
False
Show Values
True
False
Show Values

## StdComments
Standard Comments for selection in Readings and Sketch Worksheets
User may edit these as appropriate
Standard Comments
No Comment
Standard Comment 1 | The Occupier expressed concerns
Standard Comment 2 | The Occupier expressed no new concerns
Standard Comment 3 | Standard Comment 3
Standard Comment 4 | Standard Comment 4
Standard Comment 5
Standard Bullet
l

## ChartData (hidden)
Note. Do not delete spare columns as vba uses fixed ranges to update charts | Reading No. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Reading No. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Range marked with yellow border is used in vba chart range add/delete | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 6
| Reading Date: | 2014-09-05 | 2014-11-04 | 2015-01-13 | 2015-03-04 | 2015-05-02 | 2015-07-03 | [20 empty] | Reading Date: | 2014-09-05 | 2014-11-04 | 2015-01-13 | 2015-03-04 | 2015-05-02 | 2015-07-03
| 6 | [6 empty] | 7 | 8 | 9 | 10 | 11 | 12
| Chart 1 | [26 empty] | Chart 1 | 2014-09-05 | 2014-11-04 | 2015-01-13 | 2015-03-04 | 2015-05-02 | 2015-07-03
| Date Point (y axis) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | [14 empty] | Date Point (y axis) | bar: 2014-09-05 to 2015-07-03
| Point 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 1 | 0 | 0 | 0 | 0 | 0 | 0
| Point 2 | 0 | 0.4 | 0.4 | 0.5 | 0.4 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0.0004 | 0.0004 | 0.0005 | 0.0004 | 0.0005 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 2 | 0 | 0.4 | 0.4 | 0.5 | 0.4 | 0.5
| Point 3 | 0 | 0.3 | 0.3 | 0.2 | 0.9 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0.0003 | 0.0003 | 0.0002 | 0.0009 | 0.0002 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 3 | 0 | 0.3 | 0.3 | 0.2 | 0.9 | 0.2
| Point 4 | 0 | 0.3 | 1.8 | 2.4 | 4 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0.0003 | 0.0018 | 0.0024 | 0.004 | 0.0021 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 4 | 0 | 0.3 | 1.8 | 2.4 | 4 | 2.1
| Point 5 | 0 | 0.9 | 3.6 | 4.9 | 6.6 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0.0009 | 0.0036 | 0.0049 | 0.0066 | 0.0037 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 5 | 0 | 0.9 | 3.6 | 4.9 | 6.6 | 3.7
| Chart 2 | [26 empty] | Chart 2
| Date Point (y axis) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | [14 empty] | Date Point (y axis) | bar: 2014-09-05 to 2015-07-03
| Point 6 | 0 | 0.1 | 1 | 1.1 | 1.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0.0001 | 0.001 | 0.0011 | 0.0019 | 0.0009 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 6 | 0 | 0.1 | 1 | 1.1 | 1.9 | 0.9
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chart 3 | [26 empty] | Chart 3
| Date Point (y axis) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | [14 empty] | Date Point (y axis) | bar: 2014-09-05 to 2015-07-03
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chart 4 | [26 empty] | Chart 4
| Date Point (y axis) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | [14 empty] | Date Point (y axis) | bar: 2014-09-05 to 2015-07-03
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chart 5 | [26 empty] | Chart 5
| Date Point (y axis) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | [14 empty] | Date Point (y axis) | bar: 2014-09-05 to 2015-07-03
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chart 6 | [26 empty] | Chart 6
| Date Point (y axis) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | [14 empty] | Date Point (y axis) | bar: 2014-09-05 to 2015-07-03
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chart 7 | [26 empty] | Chart 7
| Date Point (y axis) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | [14 empty] | Date Point (y axis) | bar: 2014-09-05 to 2015-07-03
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chart 8 | [26 empty] | Chart 8
| Date Point (y axis) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | [14 empty] | Date Point (y axis) | bar: 2014-09-05 to 2015-07-03
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chart 9 | [26 empty] | Chart 9
| Date Point (y axis) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | [14 empty] | Date Point (y axis) | bar: 2014-09-05 to 2015-07-03
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chart 10 | [26 empty] | Chart 10
| Date Point (y axis) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | [14 empty] | Date Point (y axis) | bar: 2014-09-05 to 2015-07-03
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chart 11 | [26 empty] | Chart 11
| Date Point (y axis) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | [14 empty] | Date Point (y axis) | bar: 2014-09-05 to 2015-07-03
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chart 12 | [26 empty] | Chart 12
| Date Point (y axis) | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | [14 empty] | Date Point (y axis) | bar: 2014-09-05 to 2015-07-03
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
| Point 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Point 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on C3: Stephen Quinn: This calc needs maintaining if more reading dates added