Basement Impact Assessment AUDIT: Instruction

Section A (Site Summary) – to be completed by Case Officer

| Case officer contact details: |  | Date of audit request: |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Camden Reference: |  | Statutory consultation end date: |  |  |  |
| Site Address: | 12 Park Village West |  |  |  |  |
| Reason for Audit: |  |  |  |  |  |
| Proposal description and : |  |  |  |  |  |
| Relevant planning background |  |  |  |  |  |
| Do the basement proposals involve a listed building or does the site neighbour any listed buildings? |  |  |  |  |  |
| Is the site in an area of relevant constraints? (check site constraints in M3/Magic GIS) |  |  | Slope stability |  |  |
|  |  |  | Surface Water flow and flooding |  |  |
|  |  |  | Subterranean (groundwater) flow |  |  |
| Does the application require determination by Development Control Committee in accordance with the Terms of Reference |  |  |  |  |  |
| No/Does the scope of the submitted BIA extend beyond the screening stage? |  |  |  |  |  |

Section B: BIA components for Audit (to be completed by Applicant)

| Items provided for Basement Impact Assessment (BIA)1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item provided |  |  | - Yes/No/NA2 | - Name of BIA document/appendix in which information is contained. |
| 1 | Description of proposed development. |  | - Yes | - Construction Method Statement completed by Conisbee (dated August 2015) and Site Investigation and Basement Impact Assessment Report completed by GEA (dated June 2015) |
| 2 | Plan showing boundary of development including any land required temporarily during construction. |  |  |  |
| 3 | Plans, maps and or photographs to show location of basement relative to surrounding structures. |  |  |  |
| 4 | Plans, maps and or photographs to show topography of surrounding area with any nearby watercourses/waterbodies including consideration of the relevant maps in the Strategic FRA by URS (2014) |  | - Yes | - Site Investigation and Basement Impact Assessment Report completed by GEA (dated June 2015) |
| 5 | Plans and sections to show foundation details of adjacent structures. |  |  |  |
| 6 | Plans and sections to show layout and dimensions of proposed basement. |  | - Yes | - Construction Method Statement completed by Conisbee (dated August 2015) |
| 7 | Programme for enabling works, construction and restoration. |  |  |  |
| 8 | Identification of potential risks to land stability (including surrounding structures and infrastructure), and surface and groundwater flooding. |  | - Yes | - Section 4 of Site Investigation and Basement Impact Assessment Report completed by GEA (dated June 2015) |
| 9 | Assessment of impact of potential risks on neighbouring properties and surface and groundwater. |  | - Yes | - Section 4 of Site Investigation and Basement Impact Assessment Report completed by GEA (dated June 2015) |
| 10 | Identification of significant adverse impacts. |  | - Yes | - Section 4 of Site Investigation and Basement Impact Assessment Report completed by GEA (dated June 2015) |
| 11 | Evidence of consultation with neighbours. |  |  |  |
| 12 | Ground Investigation Report and Conceptual Site Model including - Desktop study - exploratory hole records - results from monitoring the local groundwater regime - confirmation of baseline conditions - factual site investigation report |  | - Yes | Site Investigation and Basement Impact Assessment Report completed by GEA (dated June 2015) |
| 13 | Ground Movement Assessment (GMA). |  | - N/A | - Not required |
| 14 | Plans, drawings, reports to show extent of affected area. |  | - N/A | - As above |
| 15 | Specific mitigation measures to reduce, avoid or offset significant adverse impacts. |  | - Yes | - Construction Method Statement completed by Conisbee (dated August 2015) |
| 16 | Construction Sequence Methodology (CSM) referring to site investigation and containing basement, floor and roof plans, sections (all views), sequence of construction and temporary works. |  | - Yes | - Construction Method Statement completed by Conisbee (dated August 2015) |
| 17 | Proposals for monitoring during construction. |  | - N/A | - The surrounding buildings are at a distance away from the proposed works that movement monitoring is not required |
| 18 | Confirmatory and reasoned statement identifying likely damage to nearby properties according to Burland Scale |  | - N/A | - As above |
| 19 | Confirmatory and reasoned statement with supporting evidence that the structural stability of the building and neighbouring properties will be maintained (by reference to BIA, Ground Movement Assessment and Construction Sequence Methodology), including consideration of cumulative effects. |  | - Yes | - The surrounding buildings will not be affected by the works. The Construction Method Statement completed by Conisbee (dated August 2015) covers the stability of the building. |
| 20 | Confirmatory and reasoned statement with supporting evidence that there will be no adverse effects on drainage or run-off and no damage to the water environment (by reference to ground investigation, BIA and CSM), including consideration of cumulative effects. |  | - Yes | - Site Investigation and Basement Impact Assessment Report completed by GEA (dated June 2015) |
| 21 | Identification of areas that require further investigation. |  | - Yes | - Section 10 of Site Investigation and Basement Impact Assessment Report completed by GEA (dated June 2015) |
| 22 | Non-technical summary for each stage of BIA. |  | - Yes |  |
| Additional BIA components (added during Audit) |  |  |  |  |
| Item provided |  | Yes/No/NA2 |  | - Comment |

Notes:

1 NB DP27 also requires consideration of architectural character, impacts on archaeology, amenity and other matters which are not covered by this checklist.

2 Where response is ‘no’ or ‘NA’, an explanation is required in the Comment section.

Section C : Audit proposal (to be completed by the Auditor)

| Date | Fee Categorisation (A/B/C) and costs (£ ex VAT) | Date estimate for initial report | Commentary (including timescales for completion of Initial Report) |
| --- | --- | --- | --- |
| Date | Category and cost - | This will depend on date of completion of section D but some indication is required | If possible please ALSO provide estimate for possible additional fees required to review consultation responses received to date. |

Note: Where changes to the fee categorisation are required during the audit process, this will require an update to the above table, with justification provided by the auditor. These changes shall be agreed with the planning officer and the applicant, in writing before the work is undertaken.

Section D: Audit Agreement (to be completed by Applicant)

I agree to pay the full costs of the independent audit of the Basement Impact Assessment associated with the planning application for the site identified in Section A. Such costs may include additional fees charged at the hourly rate for DCC attendance (for example).

| Name of contact [to be sent Invoice for final costs] |  |
| --- | --- |
| Address of contact |  |
| Company (if relevant) |  |
| Contact telephone number |  |
| Date |  |

Recommendations for approval of certain types of application require determination by Development Control Committee (DCC). From time to time applications which would normally be determined by officers under delegated authority are referred by the Director of Culture and Environment to DCC for decision. Where the Auditor makes representations at DCC on behalf of an application the fees for attendance will be passed to the applicant.