Basement Impact Assessment AUDIT: Instruction

Section A (Site Summary) – to be completed by Case Officer

| Case officer contact details: | Jonathan McClue Jonathan.McClue@camden.gov.uk 02079744908 | Date of audit request: |  | 28/01/2016 |  |
| --- | --- | --- | --- | --- | --- |
| Camden Reference: | 2015/3593/P | Statutory consultation end date: |  | 16/02/2016 |  |
| Site Address: | 26 Denning Road, London, NW3 1SU |  |  |  |  |
| Reason for Audit: | Planning application |  |  |  |  |
| Proposal description: Creation of basement to be used as a cinema room and a rear lightwell |  |  |  |  |  |
| Relevant planning background 2012/6662/P: Erection of a part one, part two storey rear extension to HMO (Class C4). |  |  |  |  |  |
| Do the basement proposals involve a listed building or does the site neighbour any listed buildings? |  |  | No |  |  |
| Is the site in an area of relevant constraints? (check site constraints in M3/Magic GIS) |  |  | Slope stability |  | NO |
|  |  |  | Surface Water flow and flooding |  | NO |
|  |  |  | Subterranean (groundwater) flow |  | Yes – 50m buffer to Claygate beds |
| Does the application require determination by Development Control Committee in accordance fall the Terms of Reference |  |  | No |  |  |
| No/Does the scope of the submitted BIA extend beyond the screening stage? |  |  | NO – unless considered differently based on differential depth of foundations |  |  |

Section B: BIA components for Audit (to be completed by Applicant)

| Items provided for Basement Impact Assessment (BIA)1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item provided |  |  | - Yes/No/NA2 | - Name of BIA document/appendix in which information is contained. |
| 1 | Description of proposed development. |  | - Yes | - BIA page 1 |
| 2 | Plan showing boundary of development including any land required temporarily during construction. |  | - Yes | - Block and site plan in BIA |
| 3 | Plans, maps and or photographs to show location of basement relative to surrounding structures. |  | - Yes | - Drawings A3/3060/201,202,210 & 211 in BIA |
| 4 | Plans, maps and or photographs to show topography of surrounding area with any nearby watercourses/waterbodies including consideration of the relevant maps in the Strategic FRA by URS (2014) |  | - Yes | - Reference made to all relevant documents – BIA pages 3 to 13 |
| 5 | Plans and sections to show foundation details of adjacent structures. |  | - Yes | - Drawing A3/3060/201 in BIA |
| 6 | Plans and sections to show layout and dimensions of proposed basement. |  | - Yes | - As 5 above. |
| 7 | Programme for enabling works, construction and restoration. |  | - No | - Contract is not yet confirmed or in place |
| 8 | Identification of potential risks to land stability (including surrounding structures and infrastructure), and surface and groundwater flooding. |  | - Yes | - Reference made to all in BIA pages 3 to 13 |
| 9 | Assessment of impact of potential risks on neighbouring properties and surface and groundwater. |  | - Yes | - Ref. Page 9 BIA Q 13 |
| 10 | Identification of significant adverse impacts. |  | - No | - None found in BIA |
| 11 | Evidence of consultation with neighbours. |  | - None | - No consultation other than through Planning. |
| 12 | Ground Investigation Report and Conceptual Site Model including - Desktop study - exploratory hole records - results from monitoring the local groundwater regime - confirmation of baseline conditions - factual site investigation report |  | - Yes | - Contained in Fieldwork in BIA |
| 13 | Ground Movement Assessment (GMA). |  | - Yes | - BIA pages 9/10 |
| 14 | Plans, drawings, reports to show extent of affected area. |  | - No | - None necessary |
| 15 | Specific mitigation measures to reduce, avoid or offset significant adverse impacts. |  | - No | - None necessary |
| 16 | Construction Sequence Methodology (CSM) referring to site investigation and containing basement, floor and roof plans, sections (all views), sequence of construction and temporary works. |  | - Yes | - Contained in Appendix C of BIA |
| 17 | Proposals for monitoring during construction. |  | - Yes | - Contained in BIA under safety controls |
| 18 | Confirmatory and reasoned statement identifying likely damage to nearby properties according to Burland Scale |  | - No | - No damage likely |
| 19 | Confirmatory and reasoned statement with supporting evidence that the structural stability of the building and neighbouring properties will be maintained (by reference to BIA, Ground Movement Assessment and Construction Sequence Methodology), including consideration of cumulative effects. |  | - Yes | - Contained in BIA under Method Statement |
| 20 | Confirmatory and reasoned statement with supporting evidence that there will be no adverse effects on drainage or run-off and no damage to the water environment (by reference to ground investigation, BIA and CSM), including consideration of cumulative effects. |  | - Yes | - Contained in BIA page 5 |
| 21 | Identification of areas that require further investigation. |  | - No | - None required |
| 22 | Non-technical summary for each stage of BIA. |  | - Yes | - Contained in BIA conclusions page 13 |
| Additional BIA components (added during Audit) |  |  |  |  |
| Item provided |  | Yes/No/NA2 |  | - Comment |

Notes:

1 NB DP27 also requires consideration of architectural character, impacts on archaeology, amenity and other matters which are not covered by this checklist.

2 Where response is ‘no’ or ‘NA’, an explanation is required in the Comment section.

Section C : Audit proposal (to be completed by the Auditor)

| Date | Fee Categorisation (A/B/C) and costs (£ ex VAT) | Date estimate for initial report | Commentary (including timescales for completion of Initial Report) |
| --- | --- | --- | --- |
| 28/01/2016 | Category A - £997.50 | 07/03/2016 | Additional fees may be required for - site attendance - reviewing revised/resubmitted documentation - reviewing third part consultation comment - attending DCC. |

Note: Where changes to the fee categorisation are required during the audit process, this will require an update to the above table, with justification provided by the auditor. These changes shall be agreed with the planning officer and the applicant, in writing before the work is undertaken.

Section D: Audit Agreement (to be completed by Applicant)

For data protection reasons this section should NOT be published on the Public website.

I agree to pay the full costs of the independent audit of the Basement Impact Assessment associated with the planning application for the site identified in Section A.

Additional fees, which would be charged at the hourly rate, will also arise, for instance in the following circumstances:

- To assess detailed revisions to the originally submitted audit material

- To assess detailed technical consultation responses from Third Party consultants

- To attend Development Control Committee

Every effort will be made to minimise the occurrence of additional unforeseen expenses arising from the audit process.

| FULL Name of contact [to be sent Invoice for final costs]* | Mr Alfie Best |
| --- | --- |
| Address of contact | Wyldecrest Parks, 857 London Road West Thurrock, Essex RM20 3AT |
| Company (if relevant) | Wyldecrest Parks |
| Contact telephone number | 0844 5767300 |
| Date | 3/2/2016 |

*If no Company name provided then full name of Contact (First-name & Surname) must be provided – initials will not suffice.

Recommendations for approval of certain types of application require determination by Development Control Committee (DCC). From time to time applications which would normally be determined by officers under delegated authority are referred by the Director of Culture and Environment to DCC for decision. Where the Auditor makes representations at DCC on behalf of an application the fees for attendance will be passed to the applicant.