| Overview of property from road | Right side frontage 171 - 175 |
| --- | --- |
| Front view left side 167 - 171 | Trees right against basement wall 171 / 171a |
| Tree close to rear corner (r/o 167) | Tree has caused damage to rear steps |

| Cracking in rear basement level wall to no 173 | Cracking in rear wall plus waste issue |
| --- | --- |

| Cracking in rear basement wall | Subsided steps to rear of 175 plus waste issue |
| --- | --- |
| Rear view of property – note crack in basement level wall | Cracking in rear wall to shared bathroom to no 9 Fairfax Mansions |
| Cracking in rear ground floor wall no 171 | Cracking in basement wall to no 175 |