LONDON BOROUGH OF CAMDEN

ACCESS COMMENTS

From:		Philippa Jackson

Tel. number:	020 7974 2305

Ref:		2016/1900/P

Date:		22 April 2016

To:		Planning Obligations

Re:	366 Finchley Road LONDON NW3 7AJ

As this is not a newly erected dwelling Building Regulations Part M will not apply. There are however a few things that the applicant might like to consider to make the property as accessible to as wide a range of potential inhabitants as possible.

Consideration could be given to installing handrails on the entrance steps on both sides and to installing contrasting nosings on the steps so that the edges are apparent.

When fitting out the new shared kitchen on the ground floor consideration could be given to colour contrast between walls, floor and fixture and fittings. A lever handle tap could be installed on the sink to ensure that the sink is easily used by all.