| Development Name: 69 Highgate High Street |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dwelling Types: Private Residential Maisonette |  |  |  |  |  |  |  |  |
| Checklist POL 1: GWP of Insulants |  |  |  |  |  |  |  |  |
| Element | Proposed Insulation Materials | Unfoamed [U] / Foamed [F] / Installed Using Propellants [P] | Manufacturer | Product Name | GWP (if foamed) | Name of Blowing Agent Used (where installed using a propellant) | GWP of Blowing Agent (if present) | Reference to literature confirming GWP (if foamed or installed using a propellant) |
| Roofs |  |  |  |  |  |  |  |  |
| Roof Type 1 | Polyisocyanurate Foam | F | Bauder | PIR Tapered Insulation | 3 kg CO2-Eq./kg |  |  | Bauder PIR Insulation Technical Data Sheet |
| Roof Type |  |  |  |  |  |  |  |  |
| Loft Access |  |  |  |  |  |  |  |  |
| Walls |  |  |  |  |  |  |  |  |
| External Walls | Pentane blown - Expanded Polystyrene | F | Sto | StoTherm EPS Board | 0 kg CO2-Eq./kg |  |  | Sto EPS – BREEAM Credit Letter |
|  | ### Thermoset Phenolic Insulation | F | Kingspan | 'Kooltherm K12' Insulation | 3 kg CO2-Eq./kg |  |  | Kingspan – GWP & ODP Technical Sheet |
|  | Mineral Wool | U | Knauf (or similar) |  | ------ |  |  |  |
| Internal Walls | Glass Mineral Wool | U | Isover | Acoustic Partition Roll (APR1200) | ------ |  |  |  |
| Doors |  |  |  |  |  |  |  |  |
| Lintels |  |  |  |  |  |  |  |  |
| Thermal and Acoustic Insulation |  |  |  |  |  |  |  |  |
| Floors |  |  |  |  |  |  |  |  |
| Ground Floor | Thermoset Insulation | F | Kingspan | Thermafloor TF70 | 3 kg CO2-Eq./kg |  |  | Kingspan – GWP & ODP Technical Sheet |
| Upper Floors |  |  |  |  |  |  |  |  |
| Basement |  |  |  |  |  |  |  |  |
| Foundations |  |  |  |  |  |  |  |  |
| Thermal Stores |  |  |  |  |  |  |  |  |
| Hot Water Cylinder | Polyurethane foam | F | Envirofoam | Envirofoam 16.425 | 0.7 kg CO2-Eq./kg |  |  | Envirofoam Technical Sheet |
| Cold Water | Polyurethane foam | F | Kingspan | Tarecpur | Less than 5 |  |  | Letter / website |
| Storage Tanks | Polyurethane foam | F | Kingspan | Tarecpur | Less than 5 |  |  | Letter / website |
| Pipe Insulation | Closed cell elastomeric foam | F | Armacell | Class O | 0 kg CO2-Eq./kg |  |  |  |
| Other Thermal Stores |  |  |  |  |  |  |  |  |
| Note: The manufacturing process of insulating materials changes regularly. Because of this, this document does not include a complete list of insulating materials that comply and manufacturers should be approached for up-to-date information on their products. |  |  |  |  |  |  |  |  |

Confirmation

By completing the criteria above, I confirm that all dwellings of this specification type on the development indicated meet the stated criteria.

Signature - This must be an electronic signature or this document must be physically signed in pen: Date: 12/05/16 Print Name and Role: Michael Russum, Architect Signoff Type: Design Stage / Post Construction Stage