Noise, Dust and Vibration Monitoring Plan

Noise, Dust and Vibration Monitoring Plan

259 – 263 Kentish Town Road

Demolition / Construction Phase

May 19th 2065

259 – 263 Kentish Town Road

Demolition / Construction Phase

May 19th 2065

Provided by

Provided by

Issue: 			Lara Ayris

Author

(signature):

Project Co ordinator   	Liz King

(signature):

Date:			May 2016

.

| Version Control Record |  |  |  |
| --- | --- | --- | --- |
| Description of Status | Date | Reviewer Initials | Author Initials |
| First Draft | 18/05/2016 | LA | LA |
| Second draft incorporating additional information | 19/05/2016 | LA | LA |
| Issue to Camden |  |  |  |
| Revision to address comment from Camden team | 08/06/2016 | LA | LA |
| Issue to Camden |  |  |  |

Table of Contents

1 Introduction	5

2 Implementation	6

2.1 Responsibilities	6

3 	Monitoring Equipment	7

3.1. 	Noise	7

3.2.	 Vibration	9

3.3. 	Dust	9

4 	Calibration	10

5 	Measurement Procedures	11

5.1 	Noise	11

5.2 	Vibration	11

5.3 Dust	11

6 	Action Levels	12

6.1 	Noise	12

6.2 Vibration	13

6.3 Dust	15

7 	Monitoring Stations	18

8 	Record Keeping	18

9 	Quality Assurance	18

10 	Audit	18

11 	Local Neighbourhood Liaison Procedures	19

Appendix 1: Dust and Emission Risk Assessment Tables	20

# 1 Introduction

Environmental monitoring during works at 259-263 Kentih Town Road NW5 2JT will be carried out to ensure compliance with the Guide for Contractors Working in Camden requirements for the demolition and construction phase at the site.

Based on the existing noise levels and The Guide for Contractors working in Camden (February 2008), measures will be put in place, not only to mitigate the effects of noise and vibration on the buildings but also to reduce the risk of environmental nuisance and complaints from adjacent neighbours.

The objectives of this monitoring plan are

- Monitoring of nuisance effects;

- Comparison of measured levels with statutory and agreed criteria values;

- Assessing the effectiveness of any mitigation of abatement measures put in place.

This is a fluid document and will be updated accordingly.

Intelligence Led Monitoring Methology will be used.

It should also be noted that the development will be steel frame with brick and the site will not be using a crane.

# 2 Implementation

This plan forms part of the Construction and Demolition Management Plan (C/DMP).

The C/DMP will detail mitigation measures as well as procedures for emergency response and reporting of incidents and non-conformances.  This document only discussed Noise, Dust and Vibration monitoring, managing and predictions for 259-263 Kentih Town Road NW5 2JT.

In line with the C/DMP we will ensure that no Construction work will take place on a Sunday or a Bank holiday and working hours have been stated in the C/DMP.

## 2.1 Responsibilities

NVD Environmental Compliance Manager: Matt Hamshere

The NVD Environmental Compliance Manager is responsible for the implementation of this plan as well as preparing reports to the Client and Local Authorities as required.  The implementation of this Plan includes inspectuions as outlined throughout this document, but includes:-

- Daily noise monitoring

- Visual airbourne dust inspections

Audits will be carried out periodically to ensure compliance with this plan as well as the project C/DMP.

Environmental Auditor: Lara Ayris

The Environmental Auditor will carry out periodic audits to ensure compliance with this plan as well as the project C/DMP, equally will advise on any issues that are required to comply with the ongoing works.

# 3 	Monitoring Equipment

Noise will be controlled by Best Practible Means with all generators, compressors and other noisy mechanical plant to be attenuated as required by means of silencers, screens, etc. complying with the Noise at Work Regulations 2005 (the Noise Regulations.) and BS 5228 Parts 1,2 and 4, Noise Control on Construction and Open Sites, as well as Camden Council’s own minimum requirements as set out in the Guide for Contractors working in Camden document..

The resultant construction noise depends on the source noise level, attenuation measures, distance to receptor and on-time of the operation of the equipment.

The nosiest item of equipment used on the site will be a Hilti TE 700 breaker, which will be powered from a generator. A block and Knibbler cannot be used as they wish to reuse the materials coming from site.

Manufacturers data for the Hilti TE 700 breaker shows a measured A-weighted sound pressure level of 86 dB (A) at 1m and a triaxial vibration for chiselling in concrete of 6.5m/s2.

Using a 15-minute ‘on-time’ together with a 3m distance to the nearest façade the resultant sound pressure level is LAeq,1hr 70dB (86 – 20 x Log(3) + 10 x Log (15/60)). The breaker will not be used any closer to any of the dwellings than this distance. For dwellings at a greater distance or for shorter ‘on-times’ the resultant noise level will be less.

The resultant construction noise depends on the source noise level, attenuation measures, distance to receptor and on-time of the operation of the equipment.

Examples of a resultant façade level at 1m from the façade using the Hilti TE 700 breaker as a source noise level with no mitigation measures in place have been calculated using Lp– 20 x Log(d-1) + 10 x Log (T/60) + F, where Lp is the source sound pressure noise level at 1m, d is the distance to the façade, T is the ‘on-time’ over a 1hr period and F is a 3dB façade correction. A façade level of LAeq,1hr 70dB will be achieved for:

- d = 3m, T = 3minutes

- d = 5m, T = 13minutes

- d = 9m, T = 54 minutes

Acoustic Matting will be used for the ground floor slab break out works during the demolition works.  No piling works are required as the existing basement structure is being retained, however, the new ground floor structure will be constructed prior to the existing basement slab being broken out, further excavated and the new slab built at a lower level.  The reason for this methodology is to significantly reduce noise and vibration.

No crane will be required for this development.  Steels will be delievered to site in sizes that can be be man handled, steel trolleys and genie lifts will be utilized to assist with steel handling.  There will also be an electronic hoist from gantry level.  Other mateirals will be hyab’d onto the rear gantry and lifted onto site via a hoist.

## 3.1. 	Noise

Best Practical Means (BPM), as defined in Section 72 of the Control of Pollution Act 1974, will be employed at all times to reduce noise (including vibration) to a minimum, with reference to the general principles contained in BS5228: 2009+A1:2014 ‘Noise and Vibration Control on Construction and Open Sites’ (in line with Camden’s Minimum Requirements).

The quietest and newest vehicles / plant / machinery shall be used at all times.  All vehicle and mechanical plant used for the purposes of the works shall be fitted with effective exhaust silencers, be in good and efficient working order and operated in such a manner as to  minimize noise emissions (in line with Camden’s Minimum Requirements.

An acoustic noise barrier will be used around the localized area of ground floor slab break-out if we are recording a dB level higher than 68.  A typical example of which will provide up to 24dB (A) reduction in noise levels and are weatherproofed to provide perfect performance all the time.  Acoustic noise barrier must be provided to internal face of the hoarding, if deemed necessary by Camden officers.

Daily noise monitoring will take place during the demolition / groundworks phases and also the construction phase. This will be done using a hand held monitor, model number is: 407730: Digital Sound Level Meter.  Readings will also be taken during expected noisy works to ensure our mitigations methods are satisfactory.

Measurements will be taken 1 metre behind and in front of the development and recorded. DDC will be purchasing a new monitor so there will be no need for a calibration service.  The Digital Sound Level Meter has   ±2dB accuracy with 0.1dB resolution and  A+C weighting.  With  AC analog output it records Max/Min values over time, and utilizes 0.5"(12.7mm) electret condenser microphone

In the event of any compaints being received our complaints policy and form are available in our Supporting Information and all complaints will be duly recorded.  Works will cease whilst a resolution is agreed and if necessary some noisy works restrictions will be agreed to.   Our Site Manager and Contracts Manager are both fully commtted to developing and maintaining good relations with those living around the site and are the first port of call for all complaints and this will be advertised on the notice board on the site hoarding.

During activities predicted to be ‘noisy works’, noise readings will be taken and if they register more than the agreed limits outlined in Section 6.1. then noisy works restrictions will be deemed necessary and will align with Camden’s Minimum Requirements.

Predicted Noise Levels in accordance with BS 5228

We have identified that the demolition and groundwork phases will include the noisiest activities due to the plant and tools being used.

Demolition Phase and Groundwork phase

Plant Equipment to be used

- Electric Concrete Breaker which can increase sound by up to 20dB.  Mitigation methods will include acoustic screens as stated above.

No piling work is to be done.

Predicted sound levels

|  | Kentish Town Road Façade (front of the site) dB | Facades to the nearest adjacent and to the west of the rear dB |
| --- | --- | --- |
| Average noise levels (see Section 6.1) | 66 | 48 |
| Maximum sound level due to plant | 86 | 68 |
| The retained front Façade Brickwork, is greater than 300mm thickFaçade protection (BS 5228) | 66 (back to existing level) | n/a |
| Mitigation methods (if required) by erecting acoustic screen, which can provide up to 24db (A) reduction in noise levels | n/a | 48 (back to existing level) |

Overall Noise Level Predictions for all Phases

Please see Supporting Information titled ‘Noise Level Predictions Table’

## 3.2.	 Vibration

No equipment is currently designated, however, should monitoring be necessary, adequate equipment will be selected and the NDV will be updated.

The contractor DDC will use for this operation is:-

Josh Smith

SRL TYechnical Services Ltd

Holbrook House

Little Waldingfield

Sudbury

Sufolk

CO10 0TF

Tel: 01787 247595

Email: jsmith@srltsl.com

## 3.3. 	Dust

No equipment is currently designated, however, should monitoring be necessary, adequate equipment will be selected and the NDV will be updated.

The contractor DDC will use for this operation is:-

Josh Smith

SRL TYechnical Services Ltd

Holbrook House

Little Waldingfield

Sudbury

Sufolk

CO10 0TF

Tel: 01787 247595

Email: jsmith@srltsl.com

# 4 	Calibration

A brand new hand held Digital Sound Level Meter will be bought, model number 407730: Digital Sound Level Meter and therefore will not require calibration.  It will conform to IEC651 type 11 and ANSI S1.4 type 11 standards.  It has a 12.5 mmØ electret condenser microphone and its accuracy is ±1.5dB(94dB@1kHz).  The measuring ranges High – 60dB – 130dB and low 30dB – 100dB. The meter has maximum and data hold function.

# 5 	Measurement Procedures

## 5.1 	Noise

Standard measurement methodologies for noise measurement are contained in BS 7445: 1991.  The relevant conditions can be summarised as follows:

- Measurements should be taken 1.2 – 1.5m above the ground;

- Precautions should be taken to minimize the influence of wind (use as a windshield), and of heavy rain falling on the microphone windshield and nearby surfaces (generally do not take measurements in the rain and when roads, etc are wet);

- Minimise the effect of electrical interference due to power cables, radio transmitters and similar entities and be alert for inconsistent or unusual results;

- If measurements have to be made above ground level, the microphone should be positioned 1m from the façade of the building;

- Be aware of excessive wind speeds if they exceed 5m/s (11.2 mph);

- Measurements should either be taken under more than 3.5m from any reflecting surface as the noise from a reflected façade will generally be increased by 3dB at 1m.

## 5.2 	Vibration

Should we need to measure Vibration.  Standard measurement methodologies for vibration measurement are contained in BS 7385-1:1990 and in BS 7385-2.1993.  The relevant conditions can be summaries as follows:

- The time history of the vibration shall be recorded over sufficient duration and with sufficient accuracy to establish its spectral characteristics;

- To measure imposed vibration, the preferred position is at the foundation, a typical location being at a point low on the main load-bearing external wall at ground floor level when measurements on the foundations are not possible;

- One of the horizontal vibration components should be in the radial direction between the source and the building.

Measured vibration levels shall be compared with the criteria in BS 5228:2009 part 2 (in line with Camden’s Minimum Requirements.

Reference to manufacturers’ specficiations and technical advice where imperative for all equipment in use to ensure correct utilization and readings for the site.

## 5.3 Dust

Should we need to monitor dust the following methodology will be used.

• Sample points should be at least 2m above the ground;

• Sampling sites should be open to the sky, with no overhanging trees or structures.  These can act as very efficient pollutant sinks;

• Sampling sites should not be subject to the interfering of sources not encompassed by the survey objective e.g. nearby rooftop vents, chimney stacks, multi-storey car parks;

• Sampling sites must be accessible for servicing, calibration or data collection, but should be secure and in a location where the risks of vandalism or accidental damage (e.g. wildlife) are minimal.

# 6 	Action Levels

## 6.1 	Noise

The National Planning Policy Framework was published by the Department of Communities and Local Government in March 2012, and is now effective.  The aims of the policy is to;

- Avoid noise from giving rise to significant adverse impacts on health and quality of life as a result of a new development;

- Mitigate and reduce to a minimum other adverse impacts on health and quality of life arising from noise from new development, including through the use of conditions, while recognizing that many developments will create some noise.

Guide for Contractors Working in Camden document states

“We aim to reduce noise nuisance to local residents and people who run businesses in the area, and to give them suitable breaks from noise and vibration through our powers under the Control of Pollution Act 1974. This applies to:

a. Erecting, constructing, altering, repairing and maintaining of any building, structure or road;

b. Breaking up, opening or digging under any road or nearby land in connection with carrying out, inspecting, maintaining or removing work;

c. Any demolition or dredging work; and

d. Any engineering work (whether or not already covered in the three points above).”

In March 2016 Matrix Acoustics Design Consultants undertook a Noise Impact Assessment at 259 – 263 kentish Town Road and reported their findings on 31st March 32016, which are :-

Baseline monitoring equipment

Brüel & Kjær Type 2260 at Monitor Position A

Brüel & Kjær Type 2238 at Monitor Position B

Survey date: 15 – 16th March 2016

Weather: Dry with wind speeds less than 10mph

The dominant source affecting the local area consists of road traffic on Kentish Town Road.  This road is extremely busy and included HGV’s, buses and emergency vehicles.  Warning beeps from the pelican crossing directly in front of the development were also clearly audible.  It was noted during set up and collection of the monitors that  the  crossing was in use aprroximately every 3 minutes.

Our complaints procedure will be communicated to our local neighbourhood via the notice board on the hoarding and through posters.  A copy of the policy and complaints form is in our Supporting Information.

A variety of measures will be employed to minimise noise and vibration levels on site in accordance with best practice, such as:-

- Employing only modern, quiet and well maintained equipment

- No cranes are being used on this project

- Careful planning of the sequence of works in order to minimise the transfer of noise/vibration to neighbours

- Use of screws and drills rather than nails for fixing hoardings, etc

- Careful handling of materials and waste

- Taking steps to isolate the deconstruction works from sensitive neighbours, in order to minimise the transfer of vibration and structure bourne noise

- Erection of acoustic screens or enclosures if and where necessary.  We will ensure that any mobile screens used have sufficient mass so as to be able to resist the passageof sound across the barrier and to be free of significant holes or gaps between or under any acoustic or board materials as far as reasonably practical(in line with Camden’s Minimum Requirements.

- Avoidance of unnecessary noise by effective site management.

| Location | Construction works Time (08:00 – 18:00 Hours Monday to Friday and 08:00 – 13.00 Saturday) | Night Time (23:00 – 07:00) Hours) | Emergency Plant Noise Level dB L |
| --- | --- | --- | --- |
| Kentish Road (Front) | 69 | N/A | 69 |
| Kentish Road (Rear) | 69 | N/A | 69 |

Table 2: Proposed Maximum Plant Noise Levels

We will, however, ensure we follow the Guide for Contractors Working in Camden.

In addition, DDC understands that any noisy operations outside the standard hours cannot be undertaken without written prior approval of the Local Authority. The permitted times of working maybe reduced in case of noisy schedules (in line with Camden’s Minimum Requirements).

If it is expected or predicted that an essential demolition operation is likely to give rise to noise levels higher than the 2 hour limit specified in the table above or in the event of a complaint, an investigation will be carried to ascertain the cause of the exceed and / or the complaint and to check that Best Practicable Means are being used to control the noise in accordance with the steps set out in the application for ‘prior consent’. Noise Levels shall be reduced further if it is reasonably practicable to do so (in line with Camden’s Minimum Requirements).   Should we be expecting an activity to cause noise on the higher levels and there are no alternative methods to carry out this operation, then notification to the main stakeholders will be given and they will be informed as soon as is practicably possible.

Should any complaints be received then a semi-permanent monitoring regime may be implemented at 259-263 Kentish Town Road, and this NDV document will be updated detailing equipment and measurement methodologies.  If during monitoring it is noted that noise levels have exceeded the target we are aspiring to achieve, a review of the demolition / construction process which is occurring will be undertaken in order to ensure Best Practicable Means are being applied.

## 6.2 Vibration

The activities which cause the most vibration on a construction site are, none of which activities will be occurring on the 259 – 263 Kentish Town Road site.

- Demolition activities using heavy plant / machinery (e.g. a knibbler)

- Piling

- Crushing of materials

- Crane operations

Demolition

As specified in the Demolition Method statement, demolition will be carried out using hand held tools, one reason for this being the intention to reuse a high percentage of the bricks which will result from the demolition process.

Therefore, it is predicted that vibration will not exceed 1mms-1 PPV, thus there should be no impact on the site neighbours.

The most vulnerable neighbour with regard to vibration is 257 Kentish Town Road (party wall) therefore DDC will endeavour to liaise with the occupants / users of that building to arrive at the most convenient schedule for carrying out the works adjacent to this wall. Ideally these works can be carried out when this building is unoccupied, as the scope of these works is relatively minor.

However, should DDC receive a complaint (see Complaints Policy in Supporting Information) monitoring equipment will be installed to measure the level of vibration being caused and if it is deemed necessary, measures will be implemented to reduce the nuisance of vibration even further.

Earthworks

During this phase of the works at 259 – 263 Kentish Town Road there should be no nuisance caused by vibration. The only possible cause could be the arrival and departure of the few trucks which will be used for the removal of excavations. There will never be more than one truck per day.

However, should DDC receive a complaint (see Complaints Policy in Supporting Information) monitoring equipment will be installed to measure the level of vibration being caused and if it is deemed necessary measures will be implemented to reduce the nuisance of vibration even further.

Construction

The construction methodology, using a steel frame and bricks, allied to the use of mortar tubs will ensure that vibration nuisance is kept to a minimum, it should definitely be within the acceptable level of 1mms-1 PPV.

However, should DDC receive a complaint (see Complaints Policy in Supporting Information) monitoring equipment will be installed to measure the level of vibration being caused and if it is deemed necessary measures will be implemented to reduce the nuisance of vibration even further.

Guidance given to BS 5228-2 2009 will be used to assess the likely impact of vibration on building occupants and is reproduced below.

| Vibration Level (PPV) | Effect |
| --- | --- |
| 0.14 mm/s | Vibration might be perceptible in the most sensitive situation for most vibration frequencies associated with construction. At lower frequencies, people are less sensitive to vibration. |
| 0.3 mm/s | Vibration might be just perceptible in residential developments. |
| 1.0 mm/s | It is likely that vibration at this level in residential/commercial environments will cause compliant, but can be tolerated if prior warning and explanation has been given to major stake holders. |
| 10.0 mm/s | Vibration is likely to be intolerable for any more than a brief exposure at this level. |

Table 3: Trigger points for Vibration Levels.

We will, however, ensure we follow the Guide for Contractors Working in Camden in relation to vibration levels.

## 6.3 Dust

Referring to visible dust, it is imperative to prevent statutory nuisance arising from the demolition, construction works or dusty activities. Therefore a philosophy of the prevention of dust formation in the first place shall be adopted. Dealing with dust should be in the following fashion:  1. Prevention 2. Suppression 3. Containment.

These three principles are well established and are central to the control strategies to control dust. They follow a hierarchy to control the emissions. These principles will be implemented in line with Camden’s Minimum Requirements.

The tables attached in Appendix 1 represent the Dust and Emissions Risk Assessment, as per GLA’s control of dust and emissions supplementary planning guidance (spg) and the risk level has been identified as negligible to low.

The main reasons for this assessment level are the size of the site (small) and relatively low activity levels, e.g. no vehicular movements and minimal plant usage on site.

So, despite the closeness and number of domestic neighbours, the impact on them and their activities will be minimal.

Regardless of the risk level, DDC will ensure that their own employees working on site and all sub-contractors follow best practice at all times to control and limit emissions of gaseous and particulate pollutants into the atmosphere from the construction and demolition activities, including vehicles and plant.

The checklist below identifies mitigation procedures, which extend beyond those required for a negligible to low risk dusty site, but will be implemented on site in order to minimize dust nuisance from dusty operations. Included are correct storage of raw materials, high standards of housekeeping and site management, minimization of drop heights and consideration of the prevailing wind (in line with Camden’s Minimum Requirements).

Suppression techniques will be through the use of water via hoses and dampening down of localised areas during demolition/construction, instead of using a Dustboss which will not be suitable for such a small location.  We will ensure that we have an adequate supply of water on site that has adequate frost protection (in line with Camden’s Minimum Requirements).

Regardless of regular inspections and procedures, should any airbourne dust be seen to be leaving the site boundary the source of the emission will be immediately identified and corrective action will be taken without delay (in line with Camden’s Minimum Requirements).

Checklist of mitigation measures relevant to this site which will be implemented

| Mitigation Measure to be implemented | Responsible Person | Frequency of checking |
| --- | --- | --- |
| Site management |  |  |
| Display name and contact details of person responsible for air quality issues on the site hoarding notice board | Site manager | Weekly |
| Display the head of regional office contact information | Site manager | Weekly |
| Record and respond to all dust and air quality pollutant emissions complaints (see Complaints Procedure in Supporting Information) | Site manager | Ad hoc |
| Make the complaints log available to the local authority when asked | Site manager | Ad hoc |
| Carry out regular site inspections to monitor compliance with air quality and dust control procedures, record inspection results and make the inspection log available to the local authority when asked | Site manager | Weekly |
| Increase the frequency of inspections when activities with a high potential to produce dust are being carried out and during prolonged dry or windy conditions | Site manager | Daily / Hourly |
| Record any exceptional incidents that cause dust and air quality pollutant emissions, either on or off site and record any action taken to resolve the situation in the log book | Site manager | Ad hoc |
| Preparing and maintaining the site |  |  |
| Plan the site layout: locate machinery and dust causing activities away from receptors | Site manager | Weekly / Daily |
| Erect solid screens or barriers around dust activities or the site boundary that are at least as high as any stockpiles on site | Site manager | Weekly |
| Fully enclose site or specific operations where there is a potential for dust production and the site is active for an extensive period | Site manager | Weekly |
| Ensure scaffolding will be enclosed with Monarflex | Site Manager | Ad hoc |
| Avoid site runoff of water or mud | Site Manager | Daily |
| Keep site fencing, barriers and scaffolding clean using wet methods | Site manager | Weekly |
| Remove materials from site as soon as possible | Site Manager | Daily |
| Operating vehicle / machinery and sustainable travel |  |  |
| Ensure all on-road vehicles comply with the requirements of the London Low Emission Zone | Site Manager | Ad hoc |
| Ensure all non-road mobile machinery (NRMM) comply with the standards set out within this guidance | Site Manager | Ad hoc |
| Ensure all vehicles switch off engines when stationery – no idling vehicles | Site Manager | Ad hoc |
| Avoid the use of diesel or petrol powered generators and use mains electricity or battery powered equipment where possible | Site Manager | Ad hoc |
| Impose and signpost a maximum site speed limit of 10 mph | Site Manager | Weekly |
| Implement a Travel Plan that supports and encourages sustainable travel (public transport, cycling, walking and car-sharing) | Site Manager | Weekily |
| Operations |  |  |
| Only use cutting, grinding and sawing equipment fitted, or in conjunction with suitable dust suppression techniques such as water sprays or local extraction, e.g. suitable local exhaust ventilation systems | Site Manager | Ad hoc |
| Ensure an adequate water supply is available on site for effective dust / particulate matter mitigation (using recycled water where possible) | Site Manager | Daily |
| Use enclosed chutes, conveyors and covered skips | Site Manager | Daily |
| Minimise drop heights from conveyors, loading shovels, hoppers and other loading and handling equipmentand use fine water sprays on such equipment wherever appropriate | Site Manager | Daily |
| Waste management |  |  |
| Reuse and recycle waste to reduce dust from waste materials | Site Manager | Weekly |
| Avoid bonfires and burning of waste materials | Site Manager | Weekly |
| Measures specific to demolition |  |  |
| Soft strip inside buildings before demolition (retaining walls and windows in the rest of the building where possible, to provide a screen against dust) | Site Manager | Weekly |
| Ensure water suppression is used during demolition operations | Site Manager | Daily |
| Avoid explosive blasting, using appropriate manual or mechanical alternatives | Site Manager | Daily |
| Bag and remove any biological debris or damp down such material before demolition | Site Manager | Daily |
| Measures specific to Construction |  |  |
| Avoid scrabbling (roughening of concrete surfaces) if possible | Site Manager | Ad hoc |
| Ensure sand and other aggregates are stored in bunded areas and are not allowed to dry out, unless required for a particular process, in which case ensure that appropriate additional control measures are in place | Site Manager | Daily |
| Measures specific to Trackout (no on-road vehicles will be entering the site) |  |  |
| Regularly use a water-assisted dust sweeper on the access and local roads, as necessary, to remove any material tracked out of the site | Site Manager | Daily |
| Avoid dry sweeping of large areas | Site Manager | Daily |
| Ensure vehicles visiting and leaving site are securely covered to prevent escape of materials during transport | Site Manager | Ad hoc |

We understand the importance of management techniques for effective control of emissions, our techniques include; proper management, supervision and training for process operations; proper use of equipment; effective preventative maintenance on all plant and equipment concerned with the control of emisions to air; and we will ensure that spares and consumables are available at short notice in order to rectify breakdowns rapidly.  We understand this is important in relation to our environmental controls onsite (in line with Camden’s Minimum Requirements.  The Site Manager will prepare a list of essential items at the start of each phase.

In addition to the above, effective preventative maintenance will be employed on all aspects of the construction / demolition works including all plant, vehicles, buildings and the equipment concerned with the control of emissions to air (in line with Camden’s Minimum Requirements).

# 7 	Monitoring Stations

The noise levels will be monitored using a hand held meter, however, if as a result of a complaint real time monitoring is introduced a diagram will be added to this NDV document detailing where the monitoring stations will be located..

Dust and vibration monitoring will only be carried out if required following a complaint. Should that occur a diagram will be added to this NDV document detailing where the monitoring stations will be located.

# 8 	Record Keeping

All readings will be saved.  A report will be prepared as part of the overall progress report to the client. The report will summarise monitoring conducted, exceedance of trigger levels and corrective actions taken when required.

# 9 	Quality Assurance

The NVD Environmental Compliance Manager will be responsible for ensuring that monitoring is carried out in accordance with this plan, in respect of noise, dust and vibration levels and site practices. Records of calibration and monitoring activities will be maintained in electronic format online and are subject to our document control.

Should noise/vibration/dust complaints arise from this site, these complaints will be recorded in the complaints register and made available to the Local Authority, if requested.  The complaints register provides information on day, time, details of the complaint, details of monitoring carried out and any mitigation works.  The works/ activities included in a complaint will cease until such time as further agreement to work is negotiated. (See Supporting Information).

Weather data will be compiled daily as part of the site diary.

# 10 	Audit

This plan and the supporting records maintained by the NVD Environmental Compliance Manager will be audited periodically by Lara Ayris, but as a minimum every quarter.

Non-conformances will be corrected immediately followed by a management review and re-audit.  A copy of all audits carried out on the site will be filed electronically and issued to the Client.

# 11 	Local Neighbourhood Liaison Procedures

During the re-development of 259-263 Kentish Town Road we are focused on ensuring our neighbours will be totally aware of the site activity and progress and also fully aware and comfortable that they can approach us at any time to ask questions, or maybe provide feedback to our communications.  Further information on procedures is available in the C/DMP.

Should any complaints take place, our compliants procedure will be implemented, please see our Supporting Information for further information.

# Appendix 1: Dust and Emission Risk Assessment Tables

Dust Emission Magnitude

| Activity |  | Dust Emission Magnitude | Primary Reason |  |  |
| --- | --- | --- | --- | --- | --- |
| Demolition |  | SMALL | Volume |  | circa 15,000 m3 |
| Earthworks |  | SMALL | Site area |  | site area < 2,500m2 |
| Construction |  | SMALL | Volume |  | circa 18,000 m3 |
| Trackout |  | SMALL | Number of trips |  | 1 trip per day |

Dust Soiling

| Demolition |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Receptor Sensitivity | Number of Receptors | Distance from source (m) |  |  |  |
|  |  | <20 | <50 | <100 | <350 |
| High | >100 |  |  | (41+42+9)=92 Medium |  |
|  | 10-100 |  | (42+9)=51 Medium |  |  |
|  | 1 to 10 | 9 Medium |  |  |  |
| Medium |  | 12(max) Medium |  |  |  |
| Low |  | Low |  |  |  |
| Earthworks |  |  |  |  |  |
| High |  |  |  | Medium |  |
|  |  |  | Medium |  |  |
|  |  | Medium |  |  |  |
| Medium |  | Medium |  |  |  |
| Low |  | Low |  |  |  |
| Construction |  |  |  |  |  |
| High |  |  |  | Medium |  |
|  |  |  | Medium |  |  |
|  |  | Medium |  |  |  |
| Medium |  | Medium |  |  |  |
| Low |  | Low |  |  |  |
| Trackout |  |  |  |  |  |
| High |  |  |  | Medium |  |
|  |  |  | Medium |  |  |
|  |  | Medium |  |  |  |
| Medium |  | Medium |  |  |  |
| Low |  | Low |  |  |  |

Human Health

| Receptor Sensitivity | Annual Mean PM10 Concentration | No. of Receptors | Distance from source (m) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | <20 | <50 | <100 | <200 | <350 |  |
| Demolition |  |  |  |  |  |  |  |  |
| High | 24 - 28 | 9 (Max) | Medium |  |  |  |  |  |
| Medium |  | 8 (Max) | Medium |  |  |  |  |  |
| Low |  |  |  |  |  |  |  |  |
| Earthworks |  |  |  |  |  |  |  |  |
| High | 24 - 28 | 1 to 10 | Medium |  |  |  |  |  |
| Medium |  | 1 to 10 | Medium |  |  |  |  |  |
| Low |  |  |  |  |  |  |  |  |
| Construction |  |  |  |  |  |  |  |  |
| High | 24 - 28 | 1 to 10 | Medium |  |  |  |  |  |
| Medium |  | 1 to 10 | Medium |  |  |  |  |  |
| Low |  |  |  |  |  |  |  |  |
| Trackout |  |  |  |  |  |  |  |  |
| High | 24 - 28 | 1 to 10 | Medium |  |  |  |  |  |
| Medium |  | 1 to 10 | Medium |  |  |  |  |  |
| Low |  |  |  |  |  |  |  |  |

ECO Systems Impact

| Receptor Sensitivity | Distance from source |  |  |
| --- | --- | --- | --- |
|  | <20 | <50 |  |
| Demolition |  |  |  |
| High |  |  |  |
| Medium |  |  |  |
| Low | Low | Low |  |
| Earthworks |  |  |  |
| High |  |  |  |
| Medium |  |  |  |
| Low | Low | Low |  |
| Construction |  |  |  |
| High |  |  |  |
| Medium |  |  |  |
| Low | Low | Low |  |
| Trackout |  |  |  |
| High |  |  |  |
| Medium |  |  |  |
| Low | Low | Low |  |

Outcome

| Receptor Sensitivity | Sensitivity of the Surrounding Area |  |  |  |
| --- | --- | --- | --- | --- |
|  | Demolition | Earthworks | Construction | Trackout |
| 4.2 Dust Soiling | Medium | Medium | Medium | Medium |
| 4.3 Human Health | Medium | Medium | Medium | Medium |
| 4.4 Ecological | Low | Low | Low | Low |

Risk of Dust Impacts

| Sensitivity of Area | Dust Emission Magnitude |
| --- | --- |
|  | Small Site |
| Demolition Medium | Low Risk |
| Earthworks Medium | Low Risk |
| Construction Medium | Low Risk |
| Trackout Medium | Negligible |

Summary (Site specific, small site)

| Potential Impact |  | Risk |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Demolition | Earthworks | Construction | Trackout |
| Dust Soiling |  | Low Risk | Low Risk | Low Risk | Negligible |
| Human Health |  | Low Risk | Low Risk | Low Risk | Negligible |
| Ecological |  | Low Risk | Low Risk | Low Risk | Negligible |