LONDON BOROUGH OF CAMDEN

ACCESS COMMENTS

From:		Philippa Jackson

Tel. number:	020 7974 2305

Ref:		2016/4373/P

Date:		19th August 2016

To:		Amy Grace Douglas

Re:	40 Stratford Villas, London, NW1 9SG

Thank you for taking the time to consult with me on the above application. As this is an existing building and not a new build only Building Regulations volume 1 category 1 apply.

It appears that most of those requirements have been met with the exception of;

- The external steps should have contrasting nosings (ADM 1.8)

- The external entrance steps should have a handrail on one side, it is not clear if this is the case. (ADM 1.8)