## Design statement

Avebury Projects Ltd have been instructed by IDM Land Ltd to propose measures in order to satisfy planning conditions 8 of approval notice 2016/2279/P which states:

Before the development commences, details of a secure and covered cycle storage area for 11 cycles shall be submitted to and approved by the local planning authority. The approved facility shall thereafter be provided in its entirety prior to the first occupation of any of the new units, and permanently retained thereafter.

The proposal shown in drawing 054 Bike Spaces_GroundFloorPlan_P1, proposes the location of bike storage to be adjacent to the entrance. The capacity of this area will exceed 12 bicycles using a two tier system which dimensionally requires 3.0m(w) x 3.77m(l) x 2.5m(h)

With regards to security, as a source of information Secured by design  2016 design principles has been used to inform the proposed solution.

Under paragraph 54.1, where internal bicycle storage is present, SBD2016 requires a secure front door set and no visibility of the bikes from the entrance.

To accommodate with the proposed location, an obscure full height screen has been shown on drawing (054) in a position that will mitigate the presence of glazing adjacent to the front door set so that the bikes are not visible to outside visitors looking in.

With the bicycle being internal it is naturally covered amenity and the front door to PAS 24:2016 standards will meet the security standards.