Arboricultural Method Statement

6A Ospringe Road

London

NW5 2JE                                                                                 October 4th 2016

Introduction

A method statement to support the previously supplied Arboricultural impact assessment for a single storey garden building.

Description of the site

The site proposed for the timber out building is located to the north part of the garden approx. 0.5m from the east boundary where a previous shed with a concrete base has resided for some 20 years.

Tree stock

There are 2 established Sycamore trees 1 in the garden and 1 in the neighbouring property.

The method statement is to support the arboricultural impact assessment and demonstrate that there will not be any adverse effect to these trees that are to be reatained.

Development

It is proposed to leave the existing concrete base in place as recommended by the report and to provide a suitable base for the new larger footprint of the building and as such no excavations of existing ground are proposed.

Tree protection measures

Boundary fencing seperates the tree residing in the neighbouring garden and is therefore protected by this curtilage.

Access to neighbouring gardens for construction purposes is not required.

Due to the low level scale of the proposed development orange barricade fencing will be erected around the on-site tree to provide a construction exclusion zone

Construction Exclusion zone

Construction will be limited to the above property only and prohibitions will apply outside the construction exclusion zone as follows:

No mechanical digging or scraping.

No hand digging.

No storage of plant,equipment or materials.

No vehicular or plant access.

No fire lighting.

No washing down of vehicles or machinery.

No handling,discharging or spillage of any chemical substance.

No action likely to cause localised water logging.

No changing ground level.

No construction of a hard surface.

No earthworks.

Ground protection

Will not be required.

Pre-development tree works.

Will not be required.

Phasing of the development

It is proposed to undertake the development in 2 phases.

Phase 1- Installation of new base footprint

This work will be carried out by Homestead Garden Buildings personnel who will be provided with a copy of this method statement prior to commencement of works.

Description

A timber shuttering above ground and held in place with timber pegs to the footprint of the building will be installed.

No tree felling or pruning of the retained trees is required.

*The existing concrete base foundation will remain in place to be utilised for the new timber building.

A geotextile membrane will be laid over ground within the shuttered area and covered with a thin paved slab.

Phase 2-Main construction of the new timber building

This work will be carried out by Homestead Timber Buildings personnel who will be provided with a copy of this method statement prior to commencement of any works.

The new timber building will be delivered in pre-fabricated sections.

These pre-fabricated sections will be manually carried to the rear of the property and erected on the new foundation using hand tools only.

Utility Service Connections

An electrical feed will be provided from the house to the new building via clipped cable to the existing boundary fences.

Vehicular movements

Due to the constraints of the site contractor parking will not be within the root protection and canopy spread zones of the protected trees.

Siting of temporary offices and material storage compounds.

Not necessary

Avoiding damage to stems and branches

Care shall be taken when planning site operations to ensure that wide or tall components will not come into contact with the protected trees.

Site monitoring and supervision

This will be carried out by the senior site worker at each stage and also closely monitored by the owner of the property.

Conclusions

These proposals have been assessed in accordance with British Standard  Trees in relation to construction-Recommendations.

Homestead Timber Buildings.