Basement Impact Assessment AUDIT: Instruction

Section A (Site Summary) – to be completed by Case Officer

| Case officer contact details: | Ben.farrant@camden.gov.uk | Date of audit request: |  | 31/08/2017 |  |
| --- | --- | --- | --- | --- | --- |
| Camden Reference: | 2017/4301/P | Statutory consultation end date: |  | 12/09/2017 |  |
| Site Address: | Wallace House, Fitzroy Park, London, N6 6HT |  |  |  |  |
| Reason for Audit: | Planning application |  |  |  |  |
| Proposal description: Creation of additional storey at first floor level; front basement extension; lower ground floor rear/side extension; and various external alterations |  |  |  |  |  |
| Relevant planning background PEX0200115 - Substantial demolition of the front of the property, the erection of an extension at the front of the property and works of alteration and refurbishment. As shown on drawing numbers: 13/02 Revision 4 - Proposed sheets 1, 2 & 3 and 12/01 Revision 3 – Grant Full Planning Permission – 15/07/2002 CEX0200174 - Substantial demolition of the front of the property, the erection of an extension at the front of the property and works of alteration and refurbishment As shown on drawing numbers: 13/02 Revision 4 - Proposed sheets 1, 2 & 3 and 12/01 Revision 3 – Grant Conservation Area Consent – 15/07/2002 2008/2004/P - Erection of new first floor extension above existing garage, and new lower ground floor extension to single family dwellinghouse (Class C3) – Granted Subject to S106 – 02/06/2009 2009/4345/P - Amendment to planning permission 2008/2004/P (dated 02/06/2009) comprising excavations to enlarge the lower ground level to the area beneath the existing garage, conversion of the garage at ground floor level into a habitable room and associated alterations to the dwelling house, in association with the original permission for `'Erection of new first floor extension above existing garage, and new lower ground floor'. extension to single family dwellinghouse (Class C3) – Granted Subject to Section 106 – 23/11/2010 |  |  |  |  |  |
| Do the basement proposals involve a listed building or does the site neighbour any listed buildings? |  |  | No |  |  |
| Is the site in an area of relevant constraints? (check site constraints in M3/Magic GIS) |  |  | Slope stability |  | Yes |
|  |  |  | Surface Water flow and flooding |  | Yes |
|  |  |  | Subterranean (groundwater) flow |  | Yes Also has Claygate Beds constraint |
| Does the application require determination by Development Control Committee in accordance fall the Terms of Reference |  |  | No |  |  |
| No/Does the scope of the submitted BIA extend beyond the screening stage? |  |  | No |  |  |

Section B: BIA components for Audit (to be completed by Applicant)

| Items provided for Basement Impact Assessment (BIA)1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item provided |  |  | - Yes/No/NA2 | - Name of BIA document/appendix in which information is contained. |
| 1 | Description of proposed development. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 2 | Plan showing boundary of development including any land required temporarily during construction. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 3 | Plans, maps and or photographs to show location of basement relative to surrounding structures. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 4 | Plans, maps and or photographs to show topography of surrounding area with any nearby watercourses/waterbodies including consideration of the relevant maps in the Strategic FRA by URS (2014) |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 5 | Plans and sections to show foundation details of adjacent structures. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 6 | Plans and sections to show layout and dimensions of proposed basement. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 7 | Programme for enabling works, construction and restoration. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 8 | Identification of potential risks to land stability (including surrounding structures and infrastructure), and surface and groundwater flooding. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 9 | Assessment of impact of potential risks on neighbouring properties and surface and groundwater. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 10 | Identification of significant adverse impacts. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 11 | Evidence of consultation with neighbours. |  | - No | - SOUP has issued all information to neighbours and are awaiting responses |
| 12 | Ground Investigation Report and Conceptual Site Model including - Desktop study - exploratory hole records - results from monitoring the local groundwater regime - confirmation of baseline conditions - factual site investigation report |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 13 | Ground Movement Assessment (GMA). |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 14 | Plans, drawings, reports to show extent of affected area. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 15 | Specific mitigation measures to reduce, avoid or offset significant adverse impacts. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 16 | Construction Sequence Methodology (CSM) referring to site investigation and containing basement, floor and roof plans, sections (all views), sequence of construction and temporary works. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 17 | Proposals for monitoring during construction. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 18 | Confirmatory and reasoned statement identifying likely damage to nearby properties according to Burland Scale |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 19 | Confirmatory and reasoned statement with supporting evidence that the structural stability of the building and neighbouring properties will be maintained (by reference to BIA, Ground Movement Assessment and Construction Sequence Methodology), including consideration of cumulative effects. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 20 | Confirmatory and reasoned statement with supporting evidence that there will be no adverse effects on drainage or run-off and no damage to the water environment (by reference to ground investigation, BIA and CSM), including consideration of cumulative effects. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 21 | Identification of areas that require further investigation. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| 22 | Non-technical summary for each stage of BIA. |  | - Yes | - Elliottwood Structural and Civil Engineering Report dated August 2017; Rev.P1 |
| Additional BIA components (added during Audit) |  |  |  |  |
| Item provided |  | Yes/No/NA2 |  | - Comment |

Notes:

1 NB DP27 also requires consideration of architectural character, impacts on archaeology, amenity and other matters which are not covered by this checklist.

2 Where response is ‘no’ or ‘NA’, an explanation is required in the Comment section.

Section C : Audit proposal (to be completed by the Auditor)

| Date | Fee Categorisation (A/B/C) and costs (£ ex VAT) | Date estimate for initial report | Commentary (including timescales for completion of Initial Report) |
| --- | --- | --- | --- |
| Date | Category and cost - | This will depend on date of completion of section D but some indication is required | If possible please ALSO provide estimate for possible additional fees required to review consultation responses received to date. |
| 01/09/2017 | Cat B - £3,045 | Approximately 4 weeks from instruction | Additional fees may be required for - site attendance - reviewing revised/resubmitted documentation - reviewing third part consultation comment - attending DCC |

Note: Where changes to the fee categorisation are required during the audit process, this will require an update to the above table, with justification provided by the auditor. These changes shall be agreed with the planning officer and the applicant, in writing before the work is undertaken.

Recommendations for approval of certain types of application require determination by Development Control Committee (DCC). From time to time applications which would normally be determined by officers under delegated authority are referred by the Director of Culture and Environment to DCC for decision. Where the Auditor makes representations at DCC on behalf of an application the fees for attendance will be passed to the applicant.