Basement Impact Assessment AUDIT: Instruction

Section A (Site Summary) – to be completed by Case Officer

| Case officer contact details: | Emily.whittredge@camden.gov.uk | Date of audit request: |  | 08/01/2017 |  |
| --- | --- | --- | --- | --- | --- |
| Camden Reference: | i) 2017/6381/P ii) 2017/6951/L | Statutory consultation end date: |  | 25/01/2018 |  |
| Site Address: | Studio House, 1 Hampstead Hill Gardens, NW3 2PH |  |  |  |  |
| Reason for Audit: | Planning application & Listed building consent |  |  |  |  |
| Proposal description: Excavation of basement level extension and formation of lightwell. Erection of replacement conservatory to side elevation. |  |  |  |  |  |
| Relevant planning background 8700561 and 8770100 - Change of use and works of conversion including the erection of a three-storey infill extension with roof terrace over on the Hampstead Hill Gardens elevation and alterations at roof level to provide six self-contained flats – Granted 09/07/1987. 8703256 - Change of use and works of conversion to form six flats including the erection of a spiral stair formation of terraces within the slope of the roof and the creation of new window openings - Granted 04/05/1988. 8770419 - Formation of six flats including internal changes a spiral staircase, formation of terraces within the slope of the roof and the creation of new window openings – Granted 04/05/1988. |  |  |  |  |  |
| Do the basement proposals involve a listed building or does the site neighbour any listed buildings? |  |  | Yes |  |  |
| Is the site in an area of relevant constraints? (check site constraints in M3/Magic GIS) |  |  | Slope stability |  | Yes |
|  |  |  | Surface Water flow and flooding |  | Yes |
|  |  |  | Subterranean (groundwater) flow |  | Yes |
| Does the application require determination by Development Control Committee in accordance fall the Terms of Reference |  |  | No |  |  |
| No/Does the scope of the submitted BIA extend beyond the screening stage? |  |  | Yes |  |  |

Section B: BIA components for Audit (to be completed by Applicant)

| Items provided for Basement Impact Assessment (BIA)1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item provided |  |  | - Yes/No/NA2 | - Name of BIA document/appendix in which information is contained. |
| 1 | Description of proposed development. |  | - Yes | - BIA – Executive Summary Paragraph 1 |
| 2 | Plan showing boundary of development including any land required temporarily during construction. |  | - Yes | - BIA – Figure 2 Pages 21, 22 |
| 3 | Plans, maps and or photographs to show location of basement relative to surrounding structures. |  | - Yes | - BIA- Figure 3 Page 22. Appendix E shows the proposed development levels. |
| 4 | Plans, maps and or photographs to show topography of surrounding area with any nearby watercourses/waterbodies including consideration of the relevant maps in the Strategic FRA by URS (2014) |  | - Yes | - BIA – Site Location Plan Page 21, 22 - There are no watercourses in the immediate vicinity of the site. |
| 5 | Plans and sections to show foundation details of adjacent structures. |  | - Yes | - Appendix B - TP1 shows results of hand - pitting around adjacent building foundations. |
| 6 | Plans and sections to show layout and dimensions of proposed basement. |  | - Yes | - Appendix E – Drawing Ref: 525_A_1.1001A_Proposed Basement Plan |
| 7 | Programme for enabling works, construction and restoration. |  | - Yes | - Construction Management Plan - Appendix - 3 - Programme of Works |
| 8 | Identification of potential risks to land stability (including surrounding structures and infrastructure), and surface and groundwater flooding. |  | - Yes | - BIA - Executive Summary Paragraphs 5-7 - BIA - Section 3 - Screening (Stage 1) Pages - 5 - 6 - BIA - Section 4 - Scoping (Stage 2) Pages 7 - BIA - Section 7 - Geotechnical Analysis (Stage 3) Pages 11- 15 |
| 9 | Assessment of impact of potential risks on neighbouring properties and surface and groundwater. |  | - Yes | - Construction Management Plan – Appendix 5 – Procedures to Minimise Noise, Dust & Vibration - BIA – Section 8 – Impact Assessment (stage 4) Pages 16-17 |
| 10 | Identification of significant adverse impacts. |  | - Yes | - Construction Management Plan – Appendix 6 – GLA Dust Mitigation Measures - BIA – Section 7 – Geotechnical Analysis (Stage 3) Pages 11-15 |
| 11 | Evidence of consultation with neighbours. |  | - Yes | - Consultation hasn’t taken place yet but the - process is identified within the - Construction Management Plan pages 11 13 |
| 12 | Ground Investigation Report and Conceptual Site Model including - Desktop study - exploratory hole records - results from monitoring the local groundwater regime - confirmation of baseline conditions - factual site investigation report |  | - Yes | - BIA - All sections |
| 13 | Ground Movement Assessment (GMA). |  | - Yes | - BIA - Section 7 - Geotechnical Analysis - (Stage 3) Pages 11- 15. |
| 14 | Plans, drawings, reports to show extent of affected area. |  | - Yes | - Discussed within BIA - Section 8 - Impact - Assessment (stage 4) Pages 16 - 17 |
| 15 | Specific mitigation measures to reduce, avoid or offset significant adverse impacts. |  | - Yes | - Discussed within BIA - Geotechnical - Analysis (Stage 3) Pages 11- 15 and Section - 8 - Impact Assessment (stage 4) Pages 16- - 17 - Construction Management Plan - - Appendix 5 - Procedures to Minimise, - Noise, Dust & Vibration - Appendix 6 - GLA Dust Mitigation - Measures |
| 16 | Construction Sequence Methodology (CSM) referring to site investigation and containing basement, floor and roof plans, sections (all views), sequence of construction and temporary works. |  | - Yes | - BIA - Section 7 Geotechnical Analysis - (Stage 3) Subsection 7.8 - Construction Management Plan |
| 17 | Proposals for monitoring during construction. |  | - Yes | - Construction Management Plan |
| 18 | Confirmatory and reasoned statement identifying likely damage to nearby properties according to Burland Scale |  | - Yes | - BIA - Section 8 Impact Assessment (Stage - 4) |
| 19 | Confirmatory and reasoned statement with supporting evidence that the structural stability of the building and neighbouring properties will be maintained (by reference to BIA, Ground Movement Assessment and Construction Sequence Methodology), including consideration of cumulative effects. |  | - Yes | - BIA - Section 8 Impact Assessment (Stage - 4) - BIA - Section 3 Screening (Stage 1) - BIA - Section 4 Scoping (Stage 2) paragraph - 4.3 |
| 20 | Confirmatory and reasoned statement with supporting evidence that there will be no adverse effects on drainage or run-off and no damage to the water environment (by reference to ground investigation, BIA and CSM), including consideration of cumulative effects. |  | - Yes | - BIA - Section 3 Screening (Stage 1) - BIA - Section 4 Scoping (Stage 2) paragraph - 4.3 |
| 21 | Identification of areas that require further investigation. |  | - Yes | - BIA - Section 9 Conclusion and - Recommendations - A Condition Survey - for adjacent structure should be - completed. - Ground Settlement in the vicinity of the - Network Rail Tunnel, located - approximately 15m to the south at its - closest point, is anticipated to be - negligible. However, network Rail may - require modelling to confirm that the - works will not cause instability to their land - structures. |
| 22 | Non-technical summary for each stage of BIA. |  | - Yes | - Ongoing throughout BIA. |
| Additional BIA components (added during Audit) |  |  |  |  |
| Item provided |  | Yes/No/NA2 |  | - Comment |

Notes:

1 NB DP27 also requires consideration of architectural character, impacts on archaeology, amenity and other matters which are not covered by this checklist.

2 Where response is ‘no’ or ‘NA’, an explanation is required in the Comment section.

Section C : Audit proposal (to be completed by the Auditor)

| Date | Fee Categorisation (A/B/C) and costs (£ ex VAT) | Date estimate for initial report | Commentary (including timescales for completion of Initial Report) |
| --- | --- | --- | --- |
| Date | Category and cost - | This will depend on date of completion of section D but some indication is required | If possible please ALSO provide estimate for possible additional fees required to review consultation responses received to date. |
| 16/01/18 | Category B - £3045 | Approximately 4 weeks from instruction | Additional fees may be required if significant new or amended material requires review, including third party objections, and it attendance at DCC is required. |

Note: Where changes to the fee categorisation are required during the audit process, this will require an update to the above table, with justification provided by the auditor. These changes shall be agreed with the planning officer and the applicant, in writing before the work is undertaken.

Section D: Audit Agreement (to be completed by Applicant)

For data protection reasons this section should NOT be published on the Public website.

I agree to pay the full costs of the independent audit of the Basement Impact Assessment associated with the planning application for the site identified in Section A.

Additional fees, which would be charged at the hourly rate, will also arise, for instance in the following circumstances:

- To assess detailed revisions to the originally submitted audit material

- To assess detailed technical consultation responses from Third Party consultants

- To attend Development Control Committee

Every effort will be made to minimise the occurrence of additional unforeseen expenses arising from the audit process.

| FULL Name of contact [to be sent Invoice for final costs]* |  |
| --- | --- |
| Address of contact |  |
| Company (if relevant) |  |
| Contact telephone number |  |
| Date |  |

*If no Company name provided then full name of Contact (First-name & Surname) must be provided – initials will not suffice.

Recommendations for approval of certain types of application require determination by Development Control Committee (DCC). From time to time applications which would normally be determined by officers under delegated authority are referred by the Director of Culture and Environment to DCC for decision. Where the Auditor makes representations at DCC on behalf of an application the fees for attendance will be passed to the applicant.