|  | ENVIRONMENTAL HEALTH SUPPORTING COMMUNITIES |
| --- | --- |

| To: | Robert Lester, Planning Officer, Development Management, 5 Pancras Square |
| --- | --- |
| From: | Edward Davis (Environmental Health Officer) |
| Date: | 13 January 2018 |
| Re: | 64-66 Charlotte Street and 32 Tottenham Street LONDON W1T 4QE |
| Proposal: | The change of use and reconfiguration of the existing basement and ground floors at no. 64 Charlotte Street (B1) and 32 Tottenham Street (A3) to locate the A3 use on Charlotte Street and the B1 use on Tottenham Street, including replacement plant extract equipment (as consented under 2016/3133/P); The retention of, and alterations to, the ground floor retail unit (A1) at no. 66, including installation of a front lightwell and new shopfront; Refurbishment and retention of the existing lower ground floor (B1) at no 66; Conversion and extension of existing office accommodation on the first and second floors of no. 66 (B1), and retention of the existing third floor residential use, to provide 2 x 2 bed residential flats (C3), including extension of the closet wing and replacement of existing roof. Demolition of courtyard office building to the rear of no. 66 and the construction of a new replacement building across a new basement level, ground and first floor levels - to form an extension of office accommodation from no. 64. |
| Reference: | 2017/3795/P |
| Key Points: | The proposals are acceptable in environmental health terms |

I have taken a look at the submitted information. The development seems practical and reasonable therefore I do not have any objections to this application and suggest the following condition should you be mindful to grant the application.

The external noise level emitted from plant, machinery or equipment at the development hereby approved shall be lower than the lowest existing background noise level by at least 10dBA as assessed according to BS4142:2014 at the nearest and/or most affected noise sensitive premises, with all machinery operating together at maximum capacity.

Reason: To ensure that the amenity of occupiers of the development site/ surrounding premises is not adversely affected by noise from mechanical installations/ equipment.

Prior to use, plant or equipment and ducting at the development shall be mounted with proprietary anti-vibration isolators and fan motors shall be vibration isolated from the casing and adequately silenced and maintained as such.

Reason: To ensure that the amenity of occupiers of the development site and surrounding premises is not adversely affected by vibration

The noise level in rooms at the development hereby approved shall meet the noise standard specified in BS8233:2014 for internal rooms and external amenity areas.

Reason: To ensure that the amenity of occupiers of the development site and surrounding premises is not adversely affected by noise and vibration

Prior to commencement of the development, details shall be submitted to and approved in writing by the Council, of an enhanced sound insulation value DnT,w and L’nT,w of at least 5dB above the Building Regulations value, for the floor/ceiling/wall structures separating different types of rooms/ uses in adjoining dwellings, namely [eg. living room and kitchen above bedroom of separate dwelling].  Approved details shall be implemented prior to occupation of the development and thereafter be permanently retained.

Reason: To ensure that the amenity of occupiers of the development site is not adversely affected by noise.

Prior to commencement of the development, details shall be submitted to and approved in writing by the Council, of the sound insulation of the floor/ ceiling/ walls separating the commercial part(s) of the premises from noise sensitive premises.  Details shall demonstrate that the sound insulation value DnT,w  and L’nT,w   is enhanced by at least 10dB above the Building Regulations value and, where necessary, additional mitigation measures are implemented  to contain commercial noise within the commercial premises and to achieve the ‘Good’ criteria of BS8233:2014 within the noise sensitive premises.  Approved details shall be implemented prior to occupation of the development and thereafter be permanently retained.

Reason: To ensure that the amenity of occupiers of the development site/ adjacent dwellings/ noise sensitive premises is not adversely affected by noise

Prior to commencement of the development hereby approved, a construction management plan] shall be submitted to and approved in writing by the Council. Details shall include control measures for dust, noise, vibration, lighting, delivery locations, restriction of hours of work and all associated activities audible beyond the site boundary to 0800-1800hrs Mondays to Fridays and 0800 -1300 hrs on Saturdays, advance notification to neighbours and other interested parties of proposed works and public display of contact details including accessible phone contact to persons responsible for the site works for the duration of the works.  Approved details shall be implemented throughout the project period.

Reason: To ensure that the amenity of occupiers of surrounding premises is not adversely affected by noise, vibration, dust, lighting or other emissions from the building site

If you have any queries, please do not hesitate to contact me.

Regards

Edward Davis

Environmental Health Officer

Regeneration and Planning

Culture and Environment

London Borough of Camden

Telephone:   02079744501/ Mobile: 07967652382