28 CUMBERLAND TERRACE

SCHEDULE OF WORKS

MAIN HOUSE – GROUND FLOOR FLAT

ENTRANCE HALL:

· Ceiling drapery to be removed

· Existing joinery to be removed and replaced with new

· Opening to drawing room to be re-instated

· WC door to be moved

· WC sanitaryware to be replaced

· Lobby to be closed off to form utility space, access via existing door through to dining room

· Existing floor to be replaced with new tile

· Re-wiring of electrics

· Decorating throughout

SITTING ROOM:

· Existing floor to be removed and replaced with timber boards

· Re-wiring of electrics

· Ceilings to be made good and redecorated

· Walls to be refurbished and redecorated

· Fireplace to be refurbished

DINING ROOM:

· Wall between dining room and kitchen to be removed

· Existing floor to be removed and replaced with new timber boards

· Rewiring of electrics

· Ceiling to be made good

· Redecorate

KITCHEN:

· Existing kitchen to be removed

· Existing floor to be removed and replaced with new timber boards

· Rewiring of electrics

· Ceiling to be made good

· Redecorate

· New kitchen to be installed

HALLWAY:

· Wall from existing bathroom to be knocked through to form cupboards accessible from hallway side

· Boiler to be relocated within newly created cupboard

· Existing floor to be removed and replaced with new timber boards

· Door to master bedroom to be widened

· Rewiring of electrics

· Ceiling and walls to be made good

· Redecorate

GUEST BEDROOM 1:

· Existing joinery to be removed

· RSJ to be installed to form large ‘niche’ in wall between bedroom 1 and 2

· Existing floor to be replaced with new carpet

· Re-wiring of electrics

· Walls to be made good

· Redecorate

· New joinery to be installed

GUEST BEDROOM 2:

· Existing joinery to be removed

· RSJ to be installed to form large ‘niche’ in wall between bedroom 1 and 2

· Existing floor to be replaced with new carpet

· Re-wiring of electrics

· Walls to be made good

· Redecorate

· New joinery to be installed

BATHROOM:

· Existing sanitaryware to be removed

· Finishes to be removed, walls and ceilings taken back to plaster

· Existing floor to be removed and replaced with new tile

· New plumbing to be installed

· New sanitaryware to be installed

· New tiling to walls

· Re-wiring of electrics

· Ceiling to be made good

· Redecorate

MASTER BATHROOM:

· Existing sanitaryware to be removed

· Finishes to be removed

· Wall between existing bathroom and bedroom to be removed

· Wall to be constructed to form back of hallway cupboards

MASTER BEDROOM:

· Existing joinery to be removed

· Door to hallway to be widened

· Wall between existing bathroom and bedroom to be removed

· New walls to be constructed to create bathroom and dressing room

· Rewiring of electrics

· Walls and ceiling to be made good

· Redecorate

NEW DRESSING ROOM:

· Internal window to be installed between dressing room and bathroom

· New joinery to be installed

· Wiring

· Decorate

NEW BATHROOM:

· Internal window to be installed between dressing room and bathroom 
· Existing boiler to be relocated

· New sanitaryware to be installed

· New tiles to the floor

· Marble to shower walls

· Tiles to other walls

· Wiring

· Decorate

THROUGHOUT:

· Fully rewired

· Install new downlights

· Install new switch plates and sockets

· New doors throughout

· Windows to be refurbished

STUDIO APARTMENT

STUDIO:

· Finishes to be removed, walls and ceilings taken back to plaster

· Existing joinery to be removed and replaced with new

· Existing floor to be replaced with new laminate flooring

· Existing kitchen unit to be removed

· New kitchen to be installed

· Re-wiring of electrics

· Ceiling to be made good

· Redecorate

BATHROOM:

· Finishes to be removed, walls and ceilings taken back to plaster

· Existing floor to be removed and replaced with new tile

· New plumbing to be installed

· New sanitaryware to be installed

· New tiling to shower walls

· Re-wiring of electrics

· Ceiling to be made good

· Redecorate