# NBS SECTION J42 - DESCRIPTION OF WORKS

Section J42 deals with the installation of the Bauder Single Ply System, comprising single layer coverings of polymeric sheets either mechanically fixed or adhesive bonded and jointed using hot air equipment.  It includes where required the vapour control layers, insulation (whether above or below the waterproofing) the waterproof membrane and additional surface finishes of paving slabs or gravel in specifications where this finish is required.  We presume the deck substrate and falls to be as stated within the specification below.  Accessories are included where relevant.

It is intended for use on projects where the detailed design is completed by the specifier (architect or landscape architect) with technical assistance from the manufacturer as required and should be read in conjunction with any project specific drawings provided.

SCOPE OF WORKS

- The Bauder Single Ply waterproofing system.

- Thermal insulation to meet the clients required U value.

- Related Bauder system accessories.

This section does not include:

- Construction of the structural deck.

- Lightning protection – refer NBS Engineering Services, Section W60.

- Proprietary rainwater drainage / plumbing – refer NBS section R10.

- Green Roof landscaping – refer Section Q37.

- Fall arrest /restraint systems – refer NBS Section N25.

- BauderDOME Rooflights - see NBS Section L10-460.

- Bauder Photovoltaic BioSOLAR system – Please refer to NBS Section Q37 see NBS Section V14 and the project specific Bauder PV Technical Report.

- Proprietary metal capping system – refer Section H72.

J42     SINGLE LAYER POLYMERIC SHEET COVERINGS

To be read with preliminaries /general conditions

J42/110	WARM ROOF COVERING: Main Roof

- Substrate: New Metal Deck (designed and constructed to provide a finished fall of (1°) 1:60, making provision for any anticipated inherent deflection in the metal decking that may occur).

Decking should be designed with independent metal upstands – refer to the architects specification within NBS Section G30.

-	Preparation: As clause 610B.

- Roof covering system: BAUDER SINGLE PLY THERMOFOL GREEN SYSTEM

- System manufacturer: Bauder Limited, 70, Landseer Road, Ipswich, Suffolk, IP3 0DH.

Tel: 01473 257 671. Fax: 01473 230 761. Email: technical@bauder.co.uk

Web: www.bauder.co.uk

- Primer type and application: N/A

- Vapour control layer: Bauder VB20 polyethylene vapour control layer, loose laid and installed as clause 670A.

- Insulation: Bauder PIR FA-TE flat board, aluminium foil faced, highly efficient rigid urethane insulation 160mm thick to achieve the required U value (refer Clause 230).  This product is fire resistant, has a zero ODP and a Green guide rating of ‘A’.  Installation as clause 680A.

- Insulation to upstands: Vertical upstands to roof light kerbs, access hatches i.e. builders kerbs (but excluding proprietary insulated integrated rooflight units) and changes of level, the Insulation is to meet the same thermal value as used for the flat area.  Installation as clause 681A.

- Insulation to vertical upstands (abutment walls only): 30 mm thick, flat board, fire resistant, zero ODP, highly efficient rigid urethane insulation.  To comply with Part L of the building regulations, the insulation to wall abutments should be 300 mm in height from the deck surface to the top of the upstand, with the vertical insulation being installed before the flat, so as to retain the insulation at the base.  Installation as clause 681A.

- Separating layer (loose laid): N/A

- Waterproof membrane: Thermofol U15 FB, 1.5 mm thick polyester reinforced fleece backed waterproofing membrane, colour Light Grey, fully bonded by cold applied adhesive.   Installation as clauses 720D.

- Lap joints: All joints to be hot air welded, as clause 730A.

- Details: -

Two dimensional detailing: formed using Thermofol pre-coated, pre-fabricated metal, or non-fleece backed membrane (colour and thickness as used for the flat areas), or used in combination where appropriate.  Membrane to be either fully bonded using Bauder Full Bond Contact Adhesive or mechanically fixed according to the construction - refer to the Bauder Single Ply Installation Manual for further guidance.

Three dimensional detailing: Complex three dimensional detailing to curves, pipes or awkward shapes to be formed using Thermofol un-reinforced D15 membrane. Otherwise Thermofol pre-formed corners must be used at intersections and returns.

Detailing generally:  to be carried out in accordance with clauses 760, 764A, 765A, 766A, 767A, 768A, 769, 770, 780A and the Bauder Single Ply Installation Manual.

- Surface protection: N/A

- Surfacing:

Designated areas of maintenance access walkway defined using Bauder Thermofol Anti Slip Walkway 2.0mm thick, un-reinforced waterproofing membrane with dark grey anti-slip finish to be loose laid over the finished membrane surface.  Attachment as clause 850A.

Extensive Green Landscaping – refer Q37-130

- Accessories:

-	Use of Bauder Mastic Sealant.  Application as clause 901A.

-	Parapet outlet (size as required to match drainage pipe work).  Installation as clause 905A.

- Additional requirements: 210, 310, 510A, 517, 520, 522, 523, 524, 910,  940, 950C

-	External rainwater goods (supplied and installed by others).  Refer to Section R10 and the client’s requirements.

-	Latchways Constant Force post system (supplied and installed via Latchways Registered Installers), Part number 65616-00 approved for use with Thermofol PVC and LiquiTEC membrane. Refer to Section N25 and the manufacturer’s recommendations and installation guidance. Contact: Latchways plc, Hopton Park, DEVIZES, Wiltshire, SN10 2JP. Telephone: +44 (0)1380 732700. email: info@latchways.com or bauder@latchways.com

-	Supply and install BauderDOME rooflights, in accordance with Section L10, clause 460.

PERFORMANCE

J42/210	ROOF PERFORMANCE

- Roof covering: Secure, free draining and weather-tight.

230	INSULATION

- Thermal transmittance (U-Value) of roof: 0.13 W/m²K

- Finished Surface:  Suitably even, stable and robust to receive roof covering.

- Insulation compliance: To relevant British Standard or Agrément certified.

PRODUCTS

J31/310	ANCILLARY PRODUCTS AND ACCESSORIES

- Types: Recommended by coating manufacturer

J41/330	TIMBER TRIMS, ETC

- Quality: Planed. Free from wane, pitch pockets, decay and insect attack (except ambrosia beetle damage).

- Moisture content at time of covering (maximum): 22%.

- Preservative treatment: Please note organic solvent based timber preservatives are not

permitted, as these attack bitumen based materials.

355B	MECHANICAL FASTENERS

- Type: Respective thermally broken tube fasteners for the installation of Bauder single ply membrane and insulation.

- Supplier: Bauder only approves the use of fasteners from SFS Intec Ltd when the project is covered by a Bauder Ltd Product and Workmanship guarantee. Projects not installed with fasteners from the above supplier will be subject to a product only guarantee from Bauder Ltd.

- Product reference:  Tube fastener - Tube size and fastener type for both membrane and insulation as recommended by supplier specifically for project and installed in accordance to their fixing plan. Please note that insulation and membrane tubes differ in design.

Fasteners should be selected in accordance with advice given by the appropriate supplier, ensuring their suitability to comply with the length of guarantee offered for the whole system.

- Pull out testing – incorporating mechanical fasteners: Please note that a site pull out test (carried out by an engineer from the chosen fastener supplier) is required on all refurbishment and new build concrete deck projects. Pull out testing will assist in determining the condition and suitability for mechanical restraint and thereby confirm the appropriate fastener specification. This is compulsory for all applications as part of our guarantee criteria.  This should be done prior to submitting final quotations to establish cost, fastener type, fixing suitability and the length of fastener required.

- Wind Load Calculations

Wind load calculations are required in accordance with BSEN 1991-1-4/NA:2011 for all projects undertaken. The wind load calculation will determine the required fastener placement / fixing pattern to ensure that the installed system will resist the appropriate site specific wind loads. The wind load calculation should be undertaken by the fastener supplier (SFS Intec Ltd in the case of where a Product and Workmanship guarantee is required).

EXECUTION GENERALLY

J42/510A	ADVERSE WEATHER

- General: Do not lay membrane at temperatures below 5°C or in wet or damp conditions.

- Provide temporary covers and drainage as required to keep finished areas of the roof dry.

- Poor weather: Suspend work in severe or continuously wet weather, unless an effective

temporary roof is provided over the working area.

- If unavoidable wetting of the construction does occur, take prompt action to minimise and make good any damage.

- Unfinished areas of roof: Temporarily ballast incomplete areas of membrane as necessary to

protect from wind action.

# 517	GENERAL WORKMANSHIP REQUIREMENTS

# Installation of the Bauder waterproofing system may only be carried out by approved Bauder contractors.

- Workmanship should comply with current Codes of Practice, BS6229 and Bauder Ltd installation instructions.  All waterproofing materials and system components should be supplied by Bauder Ltd, unless otherwise stated, to be included within the guarantee.    Non-compliant workmanship will not be permitted (even if the system is watertight).  All such faults must be remedied, before the Guarantee can be issued.

- Any building work which is the responsibility of the roofing contractor and has a bearing on the life of the Bauder System should be carried out by properly trained and qualified tradesmen.

- Any structural damage, peculiarities or defects discovered that might affect the performance of the Bauder waterproofing, should be reported immediately to the client and Bauder in order that they may make a decision in overcoming the problem prior to waterproofing.

- The contractor is to ensure water tightness of the roof at all times.

- Where building works are to be carried out by other trades, following completion of the waterproofing, the contractor must make adequate provision for supplying protection to prevent damage to the new membranes. The final inspection will not be carried out by the independent surveyor until all associated trades are complete and the roof areas are clear from all debris and protection layers.

- All mechanical and electrical work to plant and equipment should be carried out by competent mechanical and electrical qualified tradesmen.  All plant is to be reinstated and re-commissioned on completion of the roofing works in accordance with the client's detailed specification.

- Any lead work must be carried out by skilled tradesmen and in accordance with current codes of practice and the recommendations of the Lead Development Association.

J42/520	 INCOMPLETE WORK

- End of working day: Provide temporary seal to the deck to prevent water infiltration, ensuring that the insulation, if present, is protected.

- Ensure that the sequence of laying enables temporary sealing of loose membrane edges to be down on the slope and not against the flow of water.

- On resumption of work: Cut away tail of membrane from completed area and remove from roof.

522	PROTECTION AND STORAGE OF MATERIALS

- Store rolls of polymeric membrane and associated products in a clean, dry, well ventilated and cool conditions.

- Store materials designated by the manufacturers as temperature sensitive in facilities where temperature can be maintained at the recommended level.

- Insulation products must be kept dry and protected from wet weather during storage and installation.

523	PROTECTION OF WORK

- Ensure that from completion of the roof until practical completion:

- The roof is not used as a working platform, unless fully protected to the satisfaction of the CA.

- No paints, solvents or other volatile substances harmful to the membrane are allowed to come into contact with the roof surface.

- No building materials stored on the roof.

- Finished roof areas are adequately protected from damage by subsequent building operations.

524	HEALTH & SAFETY INFORMATION – ROOFING WORK

- Suitable precautions must be taken to prevent accidents occurring when roofing systems are being installed.

- The contractor must ensure that adequate measures are taken to effectively prevent injury to members of the public, contractors and any other persons who may be affected by the works including the public.

- Where microwave equipment is installed at roof level, care must be taken to prevent persons working on the roof from being exposed to large doses of microwave radiation.

- Similarly, the contractor should liaise with the client to ensure that there are no extract outlets situated on the roof where noxious or harmful emissions could affect persons working. Suitable precautions will be necessary to prevent exposure where this situation arises.

- The contractor is responsible for providing adequate firefighting equipment in the form of extinguishers during work on the roof. These should be kept in easily accessible locations and be suitably signed.

- Whenever possible, access to the roof should be made via internal staircases rather than by temporary means. Where this is not available, it is the responsibility of the contractor to ensure a safe means of access, egress and a safe workplace.

As far as roofs are concerned, edge protection in the form of scaffolding or a fixed structure should be in place to a height of 1.1 metres in accordance with the Workplace (Health, Safety and Welfare) Regulations 1992.

Failing this, the hierarchy of controls should be applied from the Work at Height Regulations 2005. Means of access should be by fixed ladder, passenger hoist or scaffolding.

- The contractor must ensure that suitable written method statements and risk assessments are available for the work being undertaken. ln particular, it is essential that manual handling methods be fully assessed as roofing materials are heavy and can cause serious injury.

- The contractor must ensure that suitable information about the roof covering is provided to the Client at the end of the work to ensure that work in future can be carried out safely. This information will form part of the Safety File.

- All persons working on the roof should be provided with, and wear, suitable personal protective equipment and wet weather gear. Training must be provided to all contract staff on the safe use of the equipment.

- The installer must observe Product Safety Datasheets, relevant to the materials being used as well as completing and complying with COSHH risk assessments.

- We draw your attention to your duties under the Construction (Design and Management) Regulations 2015.  Regulation 4, Client’s duties in relation to managing projects states that the client must make suitable arrangements for managing a project, including the allocation of sufficient time and other resources.  Regulation 5, Appointment of the Principal Designer and the Principal Contractor states that where more than one contractor will be working on a project at any time, the client must appoint a Principal Designer and a Principal Contractor.

Please note that although Bauder will assist with the roof waterproofing system design, we will not undertake the role of Principal Designer.

SUBSTRATES/ VAPOUR CONTROL LAYERS/ WARM ROOF INSULATION

J41/610B	SUITABILITY OF SUBSTRATES (METAL)

- Substrates generally: Secure, clean, dry, smooth, free from corrosion, contaminants, damage and protrusions.

- Falls: Where provided, the falls/cross-falls should be designed to 1:40 to achieve minimum finished falls of 1:80 to comply with drainage requirements of BS 6229:2003 and the SPRA design guide (after deflection). No deflections or back-falls present if the deck is designed to achieve a 0° level finished surface.

- Preliminary work: Complete including:

-	Formation of independent upstands, kerbs, box gutters, sumps, grooves, chases and expansion joints.

-	Fixing of battens, fillets and anchoring plugs/ strips.

- Stability of substrate: Must not impair roof integrity.

- Preparation: The new metal deck should be of a suitable type/profile to support the vapour barrier and insulation.  Approval of the specified deck should be first obtained from Bauder Limited at specification stage to confirm suitability.  The approved waterproofing contractor to Inspect the installed deck and report any issues that may have a detrimental effect upon waterproofing system to the both the Clients representative and Bauder Limited.  If there is any doubt as to the exact requirement Bauder Limited should be contacted for further advice.

J42/640	FIXING TIMBER TRIMS

- Fasteners: fastener type/length appropriate and suitable to particular deck substrate.

- Fixing centres (maximum): 500 mm.

670A	LAYING VAPOUR CONTROL LAYER

- Loose laid directly on to the decking. The surface should be clean, dry and without any sharp penetrations, ridges or holes.

- On inspecting the deck, if the contractor is dissatisfied with any of the proprietary work and considers that this could have a detrimental effect on the vapour barrier, both the client and Bauder Limited should be informed immediately.

- All vapour barrier side laps should be overlapped 80mm and sealed using Bauder Tape 03. End laps should be overlapped 100mm and sealed using Bauder Tape 03.

- The vapour barrier should be sealed at all edges, abutments and roof penetrations. The vapour barrier should be continued to the maximum height of the insulation and secured to the structure using Bauder Tape 20 to ensure correct sealing.

J41/680A   	LAYING WARM ROOF INSULATION

- Setting out:

-	Long edges: Fully supported. (Where metal decking is specified, the long edges must be fully support and run at right angles to metal deck troughs).

-	End edges: Fully supported.

-	Joints: close butted together.

-	End joints: Stagger.

- Board Facings: PIR boards -Tissue or aluminium faced boards are the same for both surfaces and can be laid either way up. Rock fibre boards should be laid with the special SPA facing laid uppermost.

- Attachment: Mechanically fixed using suitable insulation tube fasteners, as clause 355B.  Care should be taken to adhere to the handling, storage and installation guidelines given in the product technical information. Boards should be mechanically fastened to the deck using the recommended pattern shown in the manufacturer’s literature with a suitably sized tube and suitable fastener. Bauder only approves the use of fasteners from SFS Intec Ltd when the project is covered by a Bauder Ltd Product and Workmanship guarantee. Projects not installed with fasteners from the above supplier will be subject to a product only guarantee from Bauder Ltd.  Fasteners should be selected in accordance with advice given by the appropriate supplier, ensuring their suitability to comply with the length of guarantee offered for the whole system. All fasteners should be installed in accordance with the recommendations given by the manufacturer, as clause 355B.

- When calculating the required insulation thickness to BS EN ISO 6946: 2007, the type of mechanical fixing used may change the thickness of insulation required. The calculations undertaken by Bauder Ltd assume the use of a telescopic tube type fastener with a thermal conductivity of 1.00 W/m²K or less, the effect of which is insignificant in the overall calculation.

- Multiple board layers (where applicable): Where the total thickness of insulation required is greater than can be achieved by a single standard board, then additional boards of the same product can be installed to make up the total thickness required. Where a second board layer is required to make up the total insulation thickness required, this should be off-set and staggered from the previous layer.

- Protection: A hard timber edge or similar protection should be incorporated at all exposed edges. See clauses 330 & 640.

- Adequate falls: The inclusion of flat board insulation will not improve upon the existing fall present within the roof structure. The deck should be inspected by the installer to ascertain that the falls provided are adequate to prevent standing water.  In the event of any queries Bauder Ltd should be contacted.

- Completion: Boards must be in good condition, well-fitting and stable.

681A	INSTALLING WARM ROOF INSULATION (INSULATED UPSTANDS)

- Boards should be mechanically fixed to the upstand using suitably sized tube fasteners and screws through the vertical surface of the vapour barrier into the underlying substrate/structure. Joints to be close butted.

- Care should be taken to adhere to the handling, storage and installation guidelines given in the product technical information. Boards should be mechanically fastened to the deck using the recommended pattern shown in the manufacturer’s literature with a suitably sized fastener.

- Bauder only approves the use of fasteners from SFS Intec Ltd when the project is covered by a Bauder Ltd Product and Workmanship guarantee. Projects not installed with fasteners from the above supplier will be subject to a product only guarantee from Bauder Ltd.  Fasteners should be selected in accordance with advice given by the appropriate supplier, ensuring their suitability to comply with the length of guarantee offered for the whole system. All fasteners should be installed in accordance with the recommendations given by the manufacturer, as clause 355B.

- Protective hard edge treated timber battens must be used at all right angled edges i.e. tops of parapet walls or abutment upstands, in conjunction with the Bauder coated metal.

WATERPROOF COVERINGS/ ACCESSORIES

720D	ADHESIVE BONDING OF WATERPROOF MEMBRANE

- Attachment: To be bonded directly to the surface of the Insulation. The adhesive for this application must be Bauder Fleece backed membrane adhesive.  The adhesive is to be applied to the upper surface of the insulation in a full and continuous covering. The adhesive coverage rate is approximately 3-4 m² / kg, however guidance should be sought from Bauder Ltd when installing onto Bauder tapered insulation. It is essential that the surface of the insulation is clean, dry and free from dust etc., before applying the adhesive. Care should be taken to ensure that the adhesive does not come into contact with the areas of the membrane that will require welding. The membrane should be unrolled directly onto the adhesive within approximately 5-10 minutes of it being applied and then pressure rolled over its full surface area between 10 - 20 minutes after application.  All side and end laps to be hot air welded. Detailed instructions for the installation of the membrane can be found in the Bauder Installation Guide. Installation of the Bauder Thermofol System shall be carried out in accordance with the details given in the Bauder Installation Guide.

- Note:  A range of approved hot air welding machines and accessories specifically designed for this operation are listed in the Bauder Installation Guide.

- Installation:  Installation of the Bauder Thermofol system shall only be carried out by Bauder trained installers in strict accordance with the details given in the Bauder Installation Guide.

J42/730A	WELDED JOINTING

- Laying: Loose lay, do not wrinkle or stretch.

-   Side and end joints: manufacturer’s/ supplier’s recommendation

-	Laps (minimum): manufacturer’s/ supplier’s recommendation

-	Preparation: Clean and dry surfaces for full width of joint.

-	Sealing: Weld together (Hot Air welded).

- Condition at completion: Fully sealed, smooth, weatherproof and free draining.

- Accessories: None

J42/760	PERIMETER OF MEMBRANE

- General: Secure membrane at roof edge conditions, changes of plane, curb flashings, upstands to roof lights, etc. with mechanical fasteners.

J42/764A	PRE-FORMED PRE-COATED METAL FLASHINGS

- Thermofol Pre-Coated Metal sheet is available from Bauder for the formation of fabricated metal flashings, trims and terminations. A list of fabrication companies who already hold this material for bespoke flashing fabrication is available from Bauder Ltd. All detail designs if not in accordance with the design shown within our detail drawing attached must be submitted to Bauder for approval prior to fabrication.

- All Thermofol Coated Metal flashings must be mechanically attached using recommended fastenings installed at 250mm centres. The flashing must be sealed using Thermofol Tape 20 to the structure as shown in the attached detail drawing to ensure minimum air passage through or below the flashing. The chosen fastener supplier can give guidance as to the type of fastener required (fasteners must have counter sunk head style).

765A	PERIMETER DETAILS FOR THERMOPLASTIC MEMBRANES

- Upstands, edge trims, drips, kerbs, etc: Secure Bauder Thermofol preformed pre-coated metal sections to roof structure with mechanical fasteners.

- Roof membrane: Dress over perimeter profile. Overlap beyond fasteners as per manufacturers recommendations

- Sealing: Weld together.

766A	WATERPROOFING MEMBRANE (TWO DIMENSIONAL DETAILS)

- Upstands, edge details, flashings etc: Detail work requiring membrane is to be carried out with   Bauder Thermofol membrane restrained beneath or welded directly to Thermofol Coated Metal as shown in the attached detail drawings. Thermofol Pre-Formed Corners must be used for the formation of internal or external corner details.

- Special consideration must be given to the preparation required prior to hot air welding of the all laps within the Bauder Thermofol System.

- A list of suitable Hot Air Welding machines and accessories specifically designed for this operation is contained in the Bauder application manual/data sheets.

767A	WATERPROOFING MEMBRANE (THREE DIMENSIONAL DETAILS)

- Pipes, Roof Penetrations etc.:  Detail work requiring the membrane to be used in irregular angles is to be carried out with Bauder Thermofol D non-reinforced or Thermofol Pre-Formed Accessory detailing items. Special consideration must be given to the preparation required prior to the hot air welding of all detailing joints within the Bauder Thermofol System.

- Special consideration must be given to the preparation required prior to hot air welding of the all laps within the Bauder Thermofol System.

- A list of suitable Hot Air Welding machines and accessories specifically designed for this operation is contained in the Bauder application manual/data sheets.

###### 768A	COVER STRAPS TO THERMOFOL METAL

- Provision should be made to allow a 4mm gap between abutting sections in the Thermofol metal edge trim, for expansion/contraction. Supply and install Thermofol reinforced cover straps, 200mm in width fixed over the joints in the Thermofol metal edge trim to provide a smooth neat finish. The membrane should be welded to the surface of the Thermofol metal leaving the centre section of the cover strap un-welded. The cover strap should be cut to remove visible 90º corners.

769	DETAILS GENERALLY

- The minimum recommended height for constructing waterproofing details is 150mm from the top of the finished roof surface.  Please note that for landscaped roofs, this minimum height is measured from the finished landscape surface as opposed to the waterproofing surface.  Special attention should be paid to all structures such as rooflights, counter-flashings, window and door cills etc.  These may have to be raised to enable a 150mm waterproofing detail to be formed.  We cannot take responsibility for water ingress over waterproofing details insufficiently high.  There may be a requirement to mechanically fix 19mm exterior grade plywood or OSB/3 to the upstand detailing to ensure a smooth even surface to receive the new waterproofing.

J42/770	PERIMETER DETAILS FOR THERMOPLASTIC

- Upstands, edge trims, drips, kerbs, etc: Form flashings from waterproof membrane material.

- Roof membrane: Terminate in horizontal plane immediately adjacent to change in direction and secure with mechanical fasteners.

- Flashings: Dress over perimeter profile. Overlap horizontal roof membrane beyond perimeter securement, strictly in accordance with the manufacturer’s recommendations.

- Sealing: Weld together.

J42/780A	ROOF PENETRATIONS THROUGH THERMOPLASTIC MEMBRANES

- Roof membrane: Cut around penetrations and secure to deck.

- Flanged sleeve:

-	Type: Form from Thermofol D 15 un-reinforced membrane, complete with base flange.

-	Installation: Dress over and around penetration.

-	Roof membrane overlap to flange (minimum): 50 mm beyond fasteners.

-	Sealing: Weld flange to roof membrane.

-	Protection to top edge of sleeve: Flashing or weathering cravat.

781	PATCH REPAIRS

If the specifier does not allow multi or small patch repairs then they should specify where 	necessary that full membrane width patches should be used.

SURFACING

J42/850A	LAYING MEMBRANE WALKWAYS

- Attachment: The membrane should be heat welded around it’s full perimeter to the surface of the finished waterproofing.

###### ACCESSORIES

###### 901A	MASTIC SEALANT

- Provision should be made to allow for the use of Bauder Sealant in conjunction with Bauder Sealant Primer at all abutments with the Thermofol system, and any other instances where a mastic seal is required.

- It is imperative that the primer is used to prepare the surfaces effectively to enable a long lasting key with the sealant.

# 905A	PARAPET OUTLET

- Internal parapet outlet/s (suitable for PVC membranes) to be installed through the system and kerb after creation of a suitable size diameter opening. The outlet should be secured using suitable fasteners.

- The Thermofol waterproofing membrane should be welded on to the outlet body. A suitable leaf grille should be provided upon completion.

COMPLETION

J41/910		INSPECTION

- Interim and final roof inspections: in accordance with the manufacturer’s requirements for guarantee.

- Notification: It is the responsibility of the approved contractor to advise Bauder Ltd when the roof is ready for Final Inspection.  The ‘Final Inspection’ of the waterproofing must be carried out and approved by Bauder Ltd prior to any landscaping products/materials being installed; otherwise a guarantee cannot be issued.

- Other requirements: Please also refer to preliminaries / general conditions.

- Site contact details - Site Technician: Robert Lane, Tel: 07787 226231

- Technical Contact Details - Area Sales Manager: Mike Jones, Tel: 07885 291982

- Technical Contact Details - Area Sales Manager: Andrew Harper, Tel: 07590 774142

J42/940	COMPLETION

- Roof areas: Clean.

-	Outlets: Clear.

- Work necessary to provide a weather-tight finish: Complete.

- Storage of materials on finished surface: Not permitted.

- Completed membrane: Do not damage. Protect from traffic and adjacent or high level working.

950C	GUARANTEE

- A 15 year product and workmanship guarantee is to be provided upon completion following a Final Inspection by Bauder. Details regarding the full terms and conditions are available separately from Bauder Ltd upon request. This system must installed by a Bauder Approved Contractor, to be eligible for guarantee.  The system comprises the waterproofing membranes, insulation, vapour control layer, and attachment of these products.

Bauder reserves the right to amend information and product specifications without prior notice. All reasonable care has been taken to ensure that the information is current and correct at the time of issue.  Please note that any future regulation changes could result in this specification requiring an update.  The specifier is responsible for ensuring that this specification information is still current prior to issue, as Bauder Ltd can accept no liability for any resulting errors or omissions.