LONDON BOROUGH OF CAMDEN

ACCESS COMMENTS

From:		Philippa Jackson

Tel. number:	020 7974 2305

Ref:		2018/1515/P

Date:		23rd May 2018

To:		Robert Lester

Re:	40-42 Mill Lane, London, NW6 1NR

The Proposed Work:

Conversion of ancillary accommodation to existing Class A4 use at 1st & 2nd floors, mansard roof extension, first and second floor rear extension to create 7 flats (5 x 2 bed, 1 x 1 bed and 1 x studio), associated alterations (including cycle and refuse/recycle storage at lower ground floor level accessed from Ravenshaw Street and new entrance to residential accommodation from upper ground floor level on Mill Lane frontage); retention of existing public house (Use Class A4) at upper and lower ground floors.

As this is an existing building the residential will only need to meet AD M(4) 1 which does not need to be conditioned.

The communal stairs will need to meet AD K.

Internal doors widths will need to be reviewed in order to ensure that they accord with diagram 1.2 of AD M4(1).

Every dwelling will require a WC which has the space, clear of door swings, that meets diagram 1.3 of AD M4(1).