## Slide 1
Ionisation selection
Pre-Filter equivalent to Eurovent Class 2
Final filter equivalent to Eurovent Class 2
Collector section equivalent to Eurovent Class 9. Filter surface 28.4m2.
Filter Technology
Electrostatic Filtration System
1
2
3
4
5
Integrated sump
1
2
3
4
5
Collector Cell Optimum Efficiency:- 95% - 98%