|  | S |
| --- | --- |

ENVIRONMENTAL HEALTH

SUPPORTING COMMUNITIES

| To: | Robert Lester, Planning Officer, Development Management, 5 Pancras Square N1C |
| --- | --- |
| From: | Nick Priddle BSc (Hons) MSc AIEMA MIOA (Noise Officer) |
| Date: | 10/07/2018 |
| Address: | 71 Goldhurst Terrace London NW6 3HA |
| Proposal | Excavation of a basement and creation of a lightwell to the front of the property, erection of a single storey side infill extension and single storey rear extension and the repositioning of the railings to the front of the property. |
| Key Points: | The proposal is acceptable in environmental health terms, subject to the conditions below |

# ENVIRONEMTAL HEALTH OBERVATIONS

PART 1

The following documents have been reviewed in the preparation of these comments:

- Design & Access Statement Rev 2 dated 5/6/17 by Opera Architects.

- Existing & Proposed drawings

Proposal and Background

The existing building is a 3 story terraced house with a habitable loft and cellar.  The building dates from the late 19th century and has been divided into flats.  The extension will be added to the ground floor flat

The new basement will have a lightwell to ensure the correct level of ventilation and natural light providing at the same time a mean of escape

The application site (No 71) shares party walls with No 69 (north side) and No 73      (south side).

Potential Impacts

- Noise, dust & structure-borne vibration during construction/excavation works

- Internal noise levels inside proposed dwellings.

The proposal is considered acceptable in terms of environmental health subject to the following conditions.

Construction Management Plan

Prior to any construction or excavation works, a Construction Management Plan (in compliance with Policy A1 of the Camden Local Plan 2017/Camden Minimum Requirements), shall be submitted to the Local Planning Authority for approval.   Please refer to the attached documents.  For further information on this matter the applicant should contact the Council’s Environmental Health Officer (Mr Mario Houska) responsible for CMR.

Reason: To safeguard the amenities of the [adjoining] premises [and the area generally] in accordance with the requirements of policies A1 and A4 of the London Borough of Camden Local Plan 2017.

Internal Noise Levels

Residential premises shall be designed in accordance with BS 8233:2014 to attain the following internal noise levels:

| Activity | Location | 07.00 to 23.00 | 23.00 to 07.00 |
| --- | --- | --- | --- |
| Resting | Living room | 35 dB LAeq | None |
| Dining | Dining room/area | 40 dB LAeq | None |
| Sleeping (daytime resting) | Bedroom | 35 dB LAeq | 30 dB LAeq |

Before commencement of the use hereby permitted a test shall be carried out prior to the discharge of this condition to show the standard of sound insulation required shall be met and the results submitted to the Local Planning Authority for approval.

Reason: To ensure that the occupiers and users of the proposed residential component do not suffer a loss of amenity by reason of excess noise from environmental noise sources.