## BFS_ROOM DIMENSIONS
289 - BFS - Belsize Park Fire Station
MEP Method Statement
289_1_1_MEP Method Statement
Date: 02.10.18
Revision P2
Overarching Principles
Service runs between floors - Typical flat risers typically aligns between floors, limiting riser number. Services typically run up to 2nd floor, circulate to risers then run down through them to basement , then circulate within apartments using ceiling zones (basement to first floor) or eaves roof space (second floor).
Ventilation - Recirculation cooker hoods typically limit ventilation requirements. Living / kitchen ventilation combine with bathroom ventilation and vented to atmosphere using existing tile/mortar vents (11 no.) or new tile/mortar detail or concealed tile extract vents (21 no.).
SVP’s - Soil vent pipes use new concealed tile vents. Existing cowl SVP’s removed to North façade; some (2 no.) removed and replaced with tile vents.
External lighting - Light spillage at night to not exceed 1000 candelas post curfew (23.00 hrs), no uplight. Fitting to be IP44 minimum and 10 lux minimum at night only on the direct boundary of the building.
Unit | Heating | Mech Vent | Lighting / fire | Small Power | Water | Waste Water
Basement
Typical Basement Flats 2-4 | Underfloor heating. Main pipes concealed behind new suspended plasterboard ceiling, smaller pipes routed through walls. Dual fuel towel radiators and electric mat in bathrooms. | Ducting concealed behind new suspended plasterboard ceiling. | Downlights. Cabling concealed behind new suspended plasterboard ceiling. | Cabling concealed behind new plasterboard walls, or chased into insulated plasterboard. Existing brickwork left untouched | Main pipes concealed behind new suspended plasterboard ceiling, smaller pipes routed through walls. | Waste pipes run within walls to risers. SVP's run through risers to concealed tile SVP outlets in roof.
Typical Ground -1st Flats 7, 12-18 | Radiator heating. Main pipes concealed behind new suspended plasterboard ceiling, smaller pipes routed through walls. Dual fuel towel radiators and electric mat in bathrooms. | Ducting concealed behind new suspended plasterboard ceiling. | Pendants typically used when visible through windows, downlights used elsewhere. Cabling concealed behind new suspended plasterboard ceiling. | Cabling concealed behind new plasterboard walls, or chased into insulated plasterboard. Existing brickwork left untouched | Main pipes concealed behind new suspended plasterboard ceiling, smaller pipes routed through walls. | Waste pipes run within walls to risers. SVP's run through risers to concealed tile SVP outlets in roof.
Typical 2nd Flats 9-11 | Underfloor heating. Dual fuel towel radiators and electric mat in bathrooms. Main pipes run within eaves, | Units 9 + 10 - General extract plus bathroom extract vented through concealed tile vent in roof. Unit 11 As Unit 9&10 but vented through air brick. | Pendants typically used when visible through windows, downlights used elsewhere. Cabling concealed behind new suspended plasterboard ceiling. | Cabling concealed behind new plasterboard walls. | Main pipes run within eaves, smaller pipes run through walls. | Waste pipes run within walls and eaves to risers. SVP's run straight to concealed tile SVP outlets in roof.
New extensions Unit 1, west extensions to Units 5+6 | Underfloor heating and Dual fuel towel radiators and electric mat in bathrooms. Smaller pipes only within walls. | Units 5&6: Bathrooms vent straight to atmosphere via roof. Unit 1: Basement ducting concealed behind ceiling. Ground Floor vent straight to atmosphere via roof. | Pendants typically used when visible through windows, downlights used elsewhere. Cabling concealed behind new suspended plasterboard ceiling. | Cabling concealed behind new plasterboard walls. | Units 5&6: Small pipes only, routed through plasterboard walls. Unit 1: Main pipes run within ceiling. Smaller pipes routed through walls. | Units 5&6: Waste pipes run straight to below ground drainage. SVP's run straight up to roof cowls (west extension flat roofs) Unit 1: Waste pipe run within risers and eaves. SVP's run straight up to concealed tile SVP outlets (east extension pitched roof).
Appliance Bay Unit 6 | Radiator heating. Pipes run around perimeter of rooms within raised floor zone. Dual fuel towel radiators and electric mat in bathrooms. | No mechanical ducting to main Appliance Bay space. Mech duct concealed within ceiling of bedroom and bathroom F4 / F5 and Large Utility Room | Pendant lighting used when visible through windows, downlights used elsewhere. Cabling conduits and switches exposed, surface-fixed and painted where necessary. | Cabling concealed within raised floor zone, using floor box sockets wherever possible. | Pipes run within raised floor zone. | Waste pipes run through raised floor zone straight to below ground drainage. SVP's run through risers to concealed tile SVP outlets in roof.
Gym Unit 8 | Radiator heating. Main pipes concealed within mezzanine soffit, smaller pipes either exposed at low level (H1) or routed through walls (all other rooms). Dual fuel towel radiators and electric mat in bathrooms. | Full kitchen cooker hood leads straight to façade. Bathroom extracts vented through high level bulkhead, then façade. | Pendant lighting used when visible through windows, downlights used elsewhere (including to mezzanine soffit). Switches and cabling typically concealed - in H1, switches and exposed conduits surface-fixed and painted where necessary. | Switches and cabling typically concealed - in H1, switches and exposed conduits surface-fixed and painted where necessary. | Main pipes concealed within mezzanine soffit, smaller pipes routed through walls. | Waste pipes run within walls and eaves to risers. SVP's run through concealed tile SVP outlets in roof.
Billiards Unit 5 | Radiator heating. Main pipes concealed behind new suspended plasterboard ceiling. Smaller pipes routed through walls or behind panelling in D3. Dual fuel towel radiators and electric mat in bathrooms. | Ducting concealed behind new suspended plasterboard ceiling. D3 vent within panelling over new door, with ducting running through suspended ceiling in corridor | Pendants typically used when visible through windows, downlights used elsewhere. Cabling typically concealed behind new suspended plasterboard ceilings. D3: Pendants only with exposed conduits painted and surface-fixed. | Cabling concealed within new plasterboard walls or behind panelling in D3. | Main pipes concealed behind new suspended plasterboard ceiling, smaller pipes routed through walls or behind panelling in D3. | Waste pipes typically run within walls to below ground drainage. SVP's typically run through risers to concealed tile SVP outlets in roof. D3: waste pipes run at low level until they can be routed through wall to plant space and then onward to below ground drainage / SVP risers.
Common Areas | Electric Panel Heater to preserve buiding fabric. Small pipes exposed, painted and surface-fixed at low level. 2No. Diam. 32mm pipes flow and return heating run at H.L. throug stair case. Ground Floor common corridor; 2No. Diam. 32mm flow and return heating run withing existing ceiling void to/from boiler room to/from Unit 6. | No mechanical ducting. Duct running within ceiling void and 2No. Extract and Supply fans within ceiling void for boiler room ventilation (Corridor access to boiler room). | Pendant lighting. Cabling conduits and switches exposed, surface-fixed and painted where necessary. | Cabling exposed, painted and surface-fixed at low level. | Diam. 42mm. Main cold water run at high level through stair case. | No waste water.
Note this table has been created in collaboration between Tate Harmer Architect and IN2 MEP engineers.