LONDON BOROUGH OF CAMDEN

ACCESS COMMENTS

From:		Philippa Jackson

Tel. number:	020 7974 2305

Ref:		2018/4045/P

Date:		8th November 2018

To:		Matthew Dempsey

Re:	31 Belsize Park Gardens London NW3 4JH

The Proposed Work:

Retrospective installation of new cast iron front boundary gates, and; lower ground floor side passage gate, new railings to upper floor terraces and along walled front steps to entrance portico, and re-painting all ironwork throughout in dark charcoal grey (revised).

Railings will need to accord with AD K in terms of protection from falling; it is not clear if they are sufficiently high enough to meet the AD K requirement.

The balustrading provided does not equate to a handrail and so AD M M4(1) 1.8f has not been met.