April 2018

Project: Two Roof Gardens on Levels 5 +7

Address: 317 Finchley Road, NW3 6EP

1. Maintenance  
  
The maintenance schedule will be on fourth visits a year basis. Maintenance will occur in late winter and early spring with additional visits late spring for weeding and late autumn to clear leaves.

**Maintenance to be undertaken in conjunction to the following planting layouts:**

**240-8010 / 240-8011 / 240-8020 / 240-9007**

2. Description of works:

• Drainage outlets and inspection chambers cleared of vegetation.

• Ensure outlets and shingle perimeters clear of dead and live plants.

• Replacement of failed plants exceeding 5% of plants installed.

• Replenishment of any areas of settled substrate.

• Inspection of irrigation system.

• Leaf / dead plants removal and weeding

• Leave seed heads and grasses through winter; cut foliage down in spring so that plant material accumulated through winter acts as mulch to supress early germinating weeds.

• Woody shrubs to be copped down to the base in early spring to promote new growth and keep the plants from becoming too large.

• In rare cases when larger trees fail, to laisse wit TFL to arrange crane to lift and install the new trees from Finchley Road.

3. Post Installation  
  
Approved landscape contractors to monitor progress immediately following installation and after the first full growing season before finally signing over maintenance duties with Freeholder.

4. Irrigation  
  
Permanent irrigation system will be provided and inspected during maintenance visits.

On abnormally hot and dry summers regular visits to be made to make sure the irrigation is working and providing enough water.

5. Fertilisers  
  
Preferred option is not to fertilise Roof Gardens, as will result in increased nutrient levels in storm-water runoff which will negatively affect local water quality. Where fertiliser is required to maintain the health of particular plant species, fertiliser application should be kept to a minimum and should be in accordance with the advice of the supplier.

6. Fire Breaks  
  
Vegetation breaks/barriers have an important safety function and prevent the spread of fire. All vegetation barriers at up-stands, roof penetrations and fire breaks must be maintained at their original width and cleared of any encroaching plants.  
  
  
7. Drain Heads and Outlets  
  
All drainage points must be checked every year and cleared out if necessary to ensure optimum performance. Excess water must be able to leave the roof, to avoid ponding and overloading.  
  
  
8. Health and Safety during Maintenance  
  
Where maintenance will be undertaken within 2m of the edge of a green roof, fall protection must be provided. It is important that fall protection systems are themselves maintained once a year.

9. Mitigation of potential damage to the roof

1. Build-Up Awareness Ensure anyone working on the roof is briefed as to the build-up of layered components.

b) Tools must be carefully chosen so as not to interfere or damage anything below the substrate.

1. Programme Works should be programmed in order to minimise the amount of traffic across the

green roof after installation. Repeated walking on a limited area of green roof will result in substrate compression and damage to vegetation.