LONDON BOROUGH OF CAMDEN

ACCESS COMMENTS

From:		Philippa Jackson

Tel. number:	020 7974 2305

Ref:		2018/5410/P

Date:		16th December 2018

To:		Matthew Dempsey

Re:	253 - 255 Camden High Street London NW1 7BU

The Proposed Work:

Alteration to shopfronts, with installation of timber framed double glazing.

It is pleasing that level access into the shops is being maintained. The new doors should require a door opening force less than 30 Newtons.