DECISION

Planning (Listed Building and Conservation Areas) Act 1990

Listed Building Consent Granted

Address:

106 Highgate Road

London

NW5 1PB

Proposal:

Internal alterations at lower ground floor level comprising fitting of new plasterboard ceilings in dining room and kitchen, fixing of fire-rated plasterboard to partition between kitchen & staircase/WC, and application of Envirograf intumescent paint system to staircase door.

Drawing Nos: Site Location Plan; 357_LB_0_10-A; 357_LB_1_10-A; 10 x Photos of Front and Rear Lower Ground Floor Rooms Prior To Works.

The Council has considered your application and decided to grant Listed Building Consent subject to the following condition(s):

Conditions And Reasons:

| 1 | The works hereby permitted shall be begun not later than the end of three years from the date of this consent. Reason: In order to comply with the provisions of Section 18 of the Planning (Listed Buildings and Conservation Areas) Act 1990. |
| --- | --- |
| 2 | The development hereby permitted shall be carried out in accordance with the following approved plans: Site Location Plan; 357_LB_0_10-A; 357_LB_1_10-A; 10 x Photos of Front and Rear Basement Rooms Prior To Works. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |
| 3 | All new work and work of making good shall be carried out to match the existing adjacent work as closely as possible in materials and detailed execution. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |

Informative(s):

|  | Reasons for granting listed building consent: The application site is a grade II listed mid-terrace three-storey late 18th century townhouse raised on a semi-basement, forming part of Fitzroy Terrace situated on the east side of Highgate Road within the Dartmouth Park Conservation Area. The property is in use as a single family dwelling and retains many historic features including timber panelling separating the staircase from principal rooms. This application is retrospective and seeks approval for internal alterations at lower ground floor level, comprising the fitting of new plasterboard ceilings in the dining room and kitchen, the fixing of fire-rated plasterboard to the existing partition between the kitchen and staircase/WC, plus the application of an Envirograf intumescent paint system to the staircase door. The works have been undertaken in conjunction with the fitting of replacement kitchen units and appliances in the rear room. Proposals to install fire-rated plasterboard screens to the room side of the staircase timber panelling at upper-ground, first and second floor levels have been omitted from the application on the basis the works would harm the historic character of the property. The fixing of fire-rated plasterboard to the underside of the existing ceiling joists is a reversible addition which has no impact on historic fabric and has a neutral visual impact. The lining of the existing partition between the kitchen and the staircase / adjacent WC upgrades its fire resistance with no impact on historic fabric. The application of an Envirograf intumescent paint system to the timber panelled door dividing the dining room and the staircase is a recognised means of increasing the fire resistance of historic joinery which adheres to conservation principles. It is therefore considered that the works cause no harm to the special interest of the grade II listed building. No public consultation was necessary for this application as the works are internal only. The site's planning history has been taken into account when making this decision Special regard has been attached to the desirability of preserving the listed building and its features of special architectural or historic interest, under s.16 of the Planning (Listed Buildings and Conservation Areas) Act 1990 as amended by the Enterprise and Regulatory Reform Act (ERR) 2013. As such, the proposal is in general accordance with policies D1 and D2 of the Camden Local Plan 2017. The proposed development also accords with the London Plan 2016 and the National Planning Policy Framework. |
| --- | --- |
|  | Your proposals may be subject to control under the Building Regulations and/or the London Buildings Acts that cover aspects including fire and emergency escape, access and facilities for people with disabilities and sound insulation between dwellings. You are advised to consult the Council's Building Control Service, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (tel: 020-7974 6941). |
|  | You are advised that any works of alterations or upgrading not included on the approved drawings which are required to satisfy Building Regulations or Fire Certification may require a further application for listed building consent. |
|  | Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You are advised to consult the Council's Noise and Licensing Enforcement Team, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (Tel. No. 020 7974 4444 or search for 'environmental health' on the Camden website or seek prior approval under Section 61 of the Act if you anticipate any difficulty in carrying out construction other than within the hours stated above. |
|  | This listed building consent does not grant approval for the installation of fire-rated plasterboard screens to the room side of the staircase timber panelling at upper-ground, first and second floor levels. You are advised to seek advice from the Council's Conservation Officer on the impact of alternative fire safety measures on the historic building, which may require a further application for listed building consent. |

In dealing with the application, the Council has sought to work with the applicant in a positive and proactive way in accordance with paragraph 38 of the National Planning Policy Framework 2018.

You can find advice about your rights of appeal at:

http://www.planningportal.gov.uk/planning/appeals/guidance/guidancecontent

Yours faithfully

David Joyce

Director of Regeneration and Planning