| Query No | Subject | Query | Status | ABA Response | Date closed out |
| --- | --- | --- | --- | --- | --- |
| 1 | BIA Format | Reference CPG Basements / Policy A5 | Note | Noted and amended |  |
| 2 | BIA Format | Provide non-technical summaries. | Open | A non-technical summary has been provided at the beginning of the BIA report. |  |
| 3 | Land Stability | Demonstrate slope stability not impacted by proposed cantilever piled wall for house extension into hillside. | Open | The slope will be supported by a series of contiguous piles up to 2.27m. These piles will be propped at the top by a capping beam. We have produced calculations showing that a reinforced 350mm diameter piled wall will be adequate to support the loads of a wall this high in order to maintain the stability of the slope. These calculations have been included at the end of Appendix I. In addition, the cemetery wall is being taken down and rebuilt after the construction of the wall so it will not be affected by the proposals. The dividing garden wall between no.81 and no.79 Swain’s Lane will be retained and is located 1.2m south of the proposed cantilevered wall which varies with the sloping topography from 0m to 2.27m. Trial pits have confirmed that the base of this garden wall is founded at 1.12m below the proposed level of excavation into the cutting. As a result, the wall will not be undermined during the works. However, the garden wall will be monitored for movements during the works. |  |
| 4 | Land stability | The sequence and propping arrangements to ensure movements (and any resultant damage impacts) from excavation of the backfilled cutting should be confirmed. | Open | On the basis that this is a structure that already exists we do not anticipate any significant movements when it is dug out again. The retaining walls of the cutting would have already experienced movements during the original installation. The subsequent backfilling of the cutting is unlikely to have caused any significant reversal of these earlier movements meaning that the subsequent removal of the backfill is also unlikely to lead to any significant movements at all. However, as a precaution, temporary props will be installed in order to confirm the original cast iron props are in place as the excavation proceeds. p |  |
| 5 | Land stability | Confirm asset protection consultation with TWUL regarding sewer crossing the site is being undertaken. | Open | The Thames water sewer will pass below the new tunnel and be cast into the basement slab of it with appropriate detailing to allow for differential movements. An opening will be left in the contiguous piled wall to allow the sewer to pass through it. Permission for this is to be sought from Thames Water Developer Services at the next stage. |  |
| 6 | Land Stability | Confirm shrink / swell impacts to existing foundations and mitigation, if required, re removal of trees. | Open | Two small trees are being removed as part of the proposals. One of these is a dead apple tree so would not affect the foundations in the existing or proposed cases and is recommended to be removed by the Arboriculturist. The other tree is a small common walnut tree. With this taken into consideration, the effect of its removal will be minimal. However, it is recommended that it is felled in the winter to mitigate sudden swelling of the clay during the drier months of the year. |  |
| 7 | Lan Stability | With regard to the Toilet Block, to demonstrate that no more than Category 1 damage will occur, it should be confirmed to what extent movements will be limited and how this will be ensured, including proposed structural monitoring and contingency actions. | Open | Ball and Langdon’s 2014 paper concluded that piled wall installation movements obtained from Ciria C580 were conservative. Within Circia C580, it states that “the magnitude of ground movements depends upon the quality of workmanship…”. The paper concluded that, a well-constructed piled wall utilising stiff regular propping with controls in place with regular monitoring against agreed movement trigger limits could reduce the predicted initial horizontal movement against wall depth ratio from 0.04% to 0.02%. Our proposal is to use a stiff system of propping and monitoring on the site. Taking this into account, the anticipated movements of the toilet block would result in this building also experiencing damage no greater than Burland Category 1. The monitoring requirements to the toilet block will be included in the structural Tender package to the Contractor and a traffic light system of trigger levels used in line with standard industry practice. |  |
| 8 | Hydrology | Confirm change in impermeable site area. Provide sufficient outline assessment and drainage proposals to demonstrate LBC policy criteria will be met. | Open | The landscaping proposals on the Architects drawings generally show no change in the permeable site area. The small area of paving in the rear garden will be permeable. |  |