|  | ENVIRONMENTAL HEALTH SUPPORTING COMMUNITIES |
| --- | --- |

| To: | Matthew Dempsey, Planning Officer, Development Management, 5 Pancras Square |
| --- | --- |
| From: | Edward Davis (Pollution Planning Consultant) |
| Date: | 04 April 2019 |
| Re: | 112 Great Russell Street London WC1B 3NQ |
| Proposal: | Installation of 3 x condenser units, at first floor level behind parapet adjacent to existing plant. 2 x to Great Russell Street and 1 x to Bedford Avenue, relocated from basement level. |
| Reference: | 2019/1289/P |
| Key Points: | The proposals are acceptable in environmental health terms |

I have taken a look at the submitted acoustic assessment which has proposed sufficient levels with specified noise mitigation as required for the installation. Therefore I do not have any objections to the installation and suggest the following condition should you be mindful to grant the application.

Plant & Equipment:

The external noise level emitted from plant, machinery or equipment at the development hereby approved shall meet the minimum Green noise criteria set in The Camden Local Plan, Table C at the nearest and/or most affected noise sensitive premises, with all machinery operating together at maximum capacity.

Reason: To safeguard the amenities of the adjoining premises and the area generally in accordance with the requirements of policies A1 and A4 of the London Borough of Camden Local Plan 2017.

Machinery, plant or equipment and ducting at the development shall be mounted with proprietary anti-vibration isolators and fan motors shall be vibration isolated from the casing and adequately silenced and maintained as such.

Reason: To safeguard the amenities of the adjoining premises and the area generally in accordance with the requirements of policies A1 and A4 of the London Borough of Camden Local Plan 2017.

If you have any queries, please do not hesitate to contact me.

Regards

Edward Davis

Pollution Planning Consultant