Channing School

Ref - A

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | Millie |
| Description | - | Ceiling mounted/suspended extrusion opal cover |
| Control Gear | - | HF integral (DALI where required) |
| Light Source | - | Various to suit lux level requirements |
| Colours | - | Silver grey /White/Black to suit |
| Dimensions | - | 68mm x 58mm |

Channing School

Ref – B1

NB White finish required

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | Dominique |
| Description | - | Surface/suspended can style downlight |
| Control Gear | - | HF integral (NB emergency integral available) |
| Light Source | - | Various to suit lux level requirements |
| Colours | - | White (confirmed by Prime) |
| Dimensions | - | 260mm deep x 182mm wide |

Channing School

Ref – B2

NB Only required if mounted within 750mm directly above showers

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | Tango 3 IP67 |
| Description | - | Surface/suspended can style downlight |
| Control Gear | - | HF integral |
| Light Source | - | Various to suit lux level requirements |
| Colours | - | White (confirmed by Prime) |
| Dimensions | - | 258mm deep x 186mm wide |

Channing School

Ref - C

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | Boxster |
| Description | - | IP65 wall mounted downlight. |
| Control Gear | - | HF integral |
| Light Source | - | Various to suit lux level requirements |
| Colours | - | Silver Grey |
| Dimensions | - | 230mm x 145mm x 105mm |

Channing School

Ref - D

Hall/Dining Room

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | Millie |
| Description | - | Recessed linear extrusion |
| Control Gear | - | DALI dimming required |
| Light Source | - | Various to suit lux level requirements |
| Colours | - | White |
| Dimensions | - | 77mm wide x 68mm deep (not inc brackets ! ) |

Channing School

Ref - E

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | Lucie |
| Description | - | Suspended up-down LED UGR19 |
| Control Gear | - | HF integral |
| Light Source | - | Various to suit lux level requirements |
| Colours | - | White |
| Dimensions | - | 1500mm |

Channing School

Ref - F

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | LED2000 |
| Description | - | Recessed LED downlight |
| Control Gear | - | DALI dimmable to Dining Hall |
| Light Source | - | 8W 4K wdie |
| Colours | - | White |
| Dimensions | - | 108mm dia x 102mm deep |

Channing School Proposal TBC by architect

Ref - EXIT

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | EX1/Wire |
| Description | - | Wire suspended EXIT sign |
| Control Gear | - | HF integral |
| Light Source | - | Various to suit lux level requirements |
| Colours | - | Silver grey |
| Dimensions | - | 300mm x 220mm |

Channing School

Ref – P1

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | WPZ |
| Description | - | IP65 impact proof LED |
| Control Gear | - | HF integral |
| Light Source | - | Various to suit lux level requirements |
| Colours | - | NA |
| Dimensions | - | 1200mm and 1500mm |

Channing School

Ref – P2

(Plant room external wall)

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | WLE |
| Description | - | IP65 wallpack |
| Control Gear | - | HF integral |
| Light Source | - | Various |
| Colours | - | Black |
| Dimensions | - | 310mm x 260mm |

Channing School Proposal TBC by architect

Ref – EXT1

NB Silver grey finish required

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | Greeny M |
| Description | - | Recessed wall mounted asymetric wall light |
| Control Gear | - | HF integral |
| Light Source | - | 200lm |
| Colours | - | Silver Grey |
| Dimensions | - | 202mm x 73mm |

Channing School Proposal TBC by architect

Ref – EXT2

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | BOL |
| Description | - | Aluminium IP65 bollard |
| Control Gear | - | HF integral |
| Light Source | - | 15W |
| Colours | - | Black |
| Dimensions | - | 1057mm x 158mm |

Channing School

Ref – EXT3

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | Nova or Cora (depending on size) |
| Description | - | IP65 asymetric flood light |
| Control Gear | - | HF integral |
| Light Source | - | Various to suit |
| Colours | - | Silver grey |
| Dimensions | - | 530mm x 250mm (large) 320mm x 190mm (small) |

Channing School

Ref – Z1

Hall/Dining Room Entrance Doors

| Manuf. / Supplier | - | Light Distribution |
| --- | --- | --- |
| Range | - | Hugo |
| Description | - | Suspended feature light |
| Control Gear | - | DALI dimmable |
| Light Source | - | Various to suit lux level requirements |
| Colours | - | White/ silver |
| Dimensions | - | 1200mm diameter |