|  |  |
| --- | --- |
| Client | TUC |
| Project | Congress House Level 2 WC’s |
| Job number | 1033\_3001 |
| Date of first issue | 29.03.2019 |

Table of contents

[Table of contents 1](#_Toc522024502)

[Revisions 1](#_Toc522024503)

[1 Wall 2](#_Toc522024504)

[2 Floor 3](#_Toc522024505)

[3 Skirting 3](#_Toc522024506)

**Reference Specifications:**

This schedule to indicate as Architect’s design intent and the Trade Contractor to allow for submitting proposals as alternatives if necessary. Any alternatives will require Architect’s approval and the performance to be equivalent of the Architect’s specifications.

The trade contractor to **validate quantities** within this schedule and relevant drawings and report back any discrepancies.

1No sample of each item required for approval

Revisions

|  |  |  |
| --- | --- | --- |
| Rev | Date | Purpose |
| 00 | 29.03.19 | **Tender Issue** |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

**Note:**

**Approximate quantities are shown - contractor to confirm.**

Reference documents: General Arrangement Plans

Finishes Plan

Enlarged Plans

Joinery Drawings

M&E consultant’s drawings, specifications and schedules.

| Wall | | | | | | | | | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code | Item | Description | Image | Contact / supplier | Spec ref. | Related requirements | Comments |  | Rev |
| W1 | Cubicle System Partition | Interfix Velocity cubicle partition system  Finish: Polyrey Washroom Collection B101 Banian Noirci |  | [www.interfixgroup.com](http://www.interfixgroup.com)  Rob Saunderson  T: 07848 454 604  E: [rob.saunderson@interfix.com](mailto:rob.saunderson@interfix.com) |  |  |  |  |  |
| W2 | Cubicle System Partition | Interfix Velocity cubicle partition system  Finish: Polyrey Washroom Collection White TBC |  | [www.interfixgroup.com](http://www.interfixgroup.com)  Rob Saunderson  T: 07848 454 604  E: [rob.saunderson@interfix.com](mailto:rob.saunderson@interfix.com) |  |  |  |  |  |
| W3 | IPS Panel | Interfix Velocity cubicle partition system  Finish: Polyrey Washroom Collection B101 Banian Noirci |  | [www.interfixgroup.com](http://www.interfixgroup.com)  Rob Saunderson  T: 07848 454 604  E: [rob.saunderson@interfix.com](mailto:rob.saunderson@interfix.com) |  |  |  |  |  |
| W4 | IPS Panel | Interfix Velocity cubicle partition system  Finish: Polyrey Washroom Collection White TBC |  | [www.interfixgroup.com](http://www.interfixgroup.com)  Rob Saunderson  T: 07848 454 604  E: [rob.saunderson@interfix.com](mailto:rob.saunderson@interfix.com) |  |  |  |  |  |
| W5 | Full Height Mirror | Contractor to supply |  |  |  |  |  |  |  |
| W6 | Wall Tiles | Manufacturer: Grestec, Range: Rhodes Collection, Colour: BMJ001, Finish: Matt, Size: 100 x 300mm, with Grouting - Manufacturer: Mapei, Range: Coloured Grout, Colour: 113 |  | Luke Thurtle,  T: 07787 553937,  E: [luke@grestec.co.uk](mailto:luke@grestec.co.uk)  A: Unit 4-6 Marley Farm Business Estate, Kent, TN278PJ |  |  |  |  |  |
| W7 | 1100mm High Wall Tiles & Mirror Above | Tile Manufacturer: Grestec, Range: Rhodes Collection, Colour: BMJ001, Finish: Matt, Size: 100 x 300mm, with Grouting - Manufacturer: Mapei, Range: Coloured Grout, Colour: 113  Mirror: Contractor to supply |  | Luke Thurtle,  T: 07787 553937,  E: [luke@grestec.co.uk](mailto:luke@grestec.co.uk)  A: Unit 4-6 Marley Farm Business Estate, Kent, TN278PJ |  |  |  |  |  |
| P1 | Moisture Resistant Paint | Dulux Trade, Vinyl Matt Emulsion, 20% Gloss, RAL 9010 |  | <http://www.duluxtrade.co.uk/>  Andrew Cleaver  07753 577790  andrew.cleaver@akzonobel.com |  | Applied in accordance with manufacturers recommended installation methods. Undercoat and 3 top coats required. |  |  |  |
| P2 | Paint Finish | Dulux Trade, Diamond Matt Emulsion, 20% Gloss, RAL 9010 |  | <http://www.duluxtrade.co.uk/>  Andrew Cleaver  07753 577790  andrew.cleaver@akzonobel.com |  | Applied in accordance with manufacturers recommended installation methods. Undercoat and 3 top coats required. |  |  |  |

| Floor | | | | | | | | | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code | Item | Description | Image | Contact / supplier | Spec ref. | Related requirements | Comments |  | Rev |
| F1 | WC Tiles | Manufacturer: Grespania, Range: Meteor Relief Anti-Slip, Colour: Moka, Size: 600 x 600mm, Slip Rating: R11 with Grouting - Manufacturer: Mapei, Range: Coloured Grout, Colour: 114 |  | T: 0102 457 6900,  W: [www.grespania.com](http://www.grespania.com)  A: Grespania UK LTD.,  Unit 302 Hollymoor Way, Rubery, Birmingham, B31 5HE |  |  |  |  | AB |

| Skirting | | | | | | | | | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code | Item | Description | Image | Contact / supplier | Spec ref. | Related requirements | Comments |  | Rev |
| SK1 | WC Skirting | Manufacturer: Grespania, Range: Meteor Relief, Colour: Moka, Size: 10 x 600mm, with Grouting - Manufacturer: Mapei, Range: Coloured Grout, Colour: 114 |  | T: 0102 457 6900,  W: [www.grespania.com](http://www.grespania.com)  A: Grespania UK LTD.,  Unit 302 Hollymoor Way, Rubery, Birmingham, B31 5HE |  |  |  |  | AB |