LONDON BOROUGH OF CAMDEN

ACCESS COMMENTS

From:		Philippa Jackson

Tel. number:	020 7974 2305

Ref:		2019/2794/P

Date:		19th July 2019

To:		Mark Chan

Re:	Castlehaven Community Association, 23 Castlehaven Road, London, NW1 8RU

The Proposed Work:

Re-positioning of entrance door and addition of windows on ground and first floor.

The entrance door doesn’t appear wide enough, it should have a clear opening width of 1000mm Will the opening force for the door be less than 30 Newton’s?

The entrance seating should have arm rests and be at an accessible height.

The new meeting room should have a hearing enhancement system.