|  | S |
| --- | --- |

ENVIRONMENTAL HEALTH

SUPPORTING COMMUNITIES

| To: | Mark Chan, Planning Officer, Development Management, 5 Pancras Square N1C |
| --- | --- |
| From: | Nick Priddle BSc (Hons) MSc AIEMA, MIOA (Technical Officer Contaminated Land & Noise) |
| Date: | 29/8/19 |
| Address: | 37-39 South End Road Hampstead London NW3 2PY |
| Proposal: | Installation of shopfront, roof alterations and associated works.  Existing Land UseA1 Shop  Proposed Land UseA1 Shop |
| Reference: | 2019/3627/P |
| Key Points: | In terms of noise further information is required |

# ENVIRONEMTAL HEALTH OBERVATIONS

PART 1

Potential impacts associated with A1 uses include the following:

- Noise from fixed plant

- Noise from deliveries

- Noise from early and late operating hours

The following documents have been reviewed in preparation for the comments below:

- Proposed layout Plans

- Existing Layout Plans

- Proposed Shopfront Plans

- Existing & Proposed Roof Plans

Summary

- The Proposed Shopfront Plans confirm No.3 air vents are to be installed.  Confirmation on whether the application site will include fixed M&E plant, extract ventilating system and or air-conditioning plant, and if applicable details should be provided to the LPA for review.

- Confirmation on the proposed business operating hours are also required.

- The plans illustrate asbestos is present within the current walls and makes reference to an asbestos refurbishment survey.  A copy of the survey report is required for LPA review.

Responses to the above are required before further comment is possible.