DECISION

Planning (Listed Building and Conservation Areas) Act 1990

Listed Building Consent Granted

Address:

Flat 1

28 Mornington Terrace

London

NW1 7RS

Proposal:

Installation of temporary mechanical fan ventilation unit (Sonair F+) to front facade at ground floor level for noise mitigating ventilation during construction of the HS2 railway.

Drawing Nos: Site Location Plan; WPI P066 NI - 28 MT-PR-GF-J-03.2 rev 1.0; Photo Montage Front Façade; Sonair Mounting Detail Drawing; Specification for Sonair Acoustic (Sound Attenuating) Filtered Air Supply Units; Specification for Cast-Iron Double-Size Air Bricks Ciab9x6; HS2 Submission Statement; Design and Access & Heritage Statement.

The Council has considered your application and decided to grant Listed Building Consent subject to the following condition(s):

Conditions And Reasons:

| 1 | The works hereby permitted shall be begun not later than the end of three years from the date of this consent. Reason: In order to comply with the provisions of Section 18 of the Planning (Listed Buildings and Conservation Areas) Act 1990. |
| --- | --- |
| 2 | The development hereby permitted shall be carried out in accordance with the following approved plans: Site Location Plan; WPI P066 NI - 28 MT-PR-GF-J-03.2 rev 1.0; Photo Montage Front Façade; Sonair Mounting Detail Drawing; Specification for Sonair Acoustic (Sound Attenuating) Filtered Air Supply Units; Specification for Cast-Iron Double-Size Air Bricks Ciab9x6; HS2 Submission Statement; Design and Access & Heritage Statement. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |
| 3 | All new work and work of making good shall be carried out to match the existing adjacent work as closely as possible in materials and detailed execution. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |
| 4 | The external metal grille serving the ventilation unit shall have its outer face fitted flush with the external wall finish and shall be painted to match the colour of the adjacent render. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |
| 5 | No lights, meter boxes, flues, pipes, and no telecommunications equipment, alarm boxes, television aerials, satellite dishes or rooftop 'mansafe' rails shall be fixed or installed on the external face of the buildings. Reason: To safeguard the appearance of the premises and the character of the immediate area in accordance with the requirements of policy CS14 of the London Borough of Camden Local Development Framework Core Strategy and policy D1 [and D2 if in CA] of the London Borough of Camden Local Plan 2017. |
| 6 | The works hereby approved are for a temporary period only and shall be removed within 6 months of the HS2 noisy works period ending, for which they are required. Reason: The type of works are not such as the local planning authority is prepared to approve, other than in exceptional circumstances and for the limited period required, in view of their appearance and their impact on the special interest of the listed building. The permanent retention of the works would be contrary to the requirements of policy D1 and D2 of the London Borough of Camden Local Plan 2017. |
| 7 | The external metal grille serving the ventilation unit shall have its outer face fitted flush with the external wall finish and shall be painted to match the colour of the adjacent render. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |

Informative(s):

|  | Reasons for granting listed building consent: This application seeks consent for the installation of a temporary mechanical ventilation unit in the front elevation at upper-ground floor level for the duration of the HS2 railway construction works. The application site is an upper-ground floor one-bedroom flat situated within a grade II listed building located in the Camden Town Conservation Area. The property dates from the mid-19th century and is one of a terrace of 27 houses. The property comprises 3 floors raised on a basement with a mansard attic storey. It is constructed from stock brick with rusticated stucco ground floors and slated roofs. The property is two bays wide and has stucco fluted Ionic pilasters marking the division with the neighbouring properties. It has timber box sash windows, which are recessed and architraved on the upper floors. The 1st floor windows have console bracketed cornices and a continuous cast-iron balcony. The upper-ground floor timber panelled entrance door is punctuated by a stucco portico with pilasters carrying an entablature. The application is pursuant to listed building consent ref 2018/3149/L on 19/10/2018 for "Installation of temporary internal secondary glazing to one upper-ground floor window in the front elevation and one upper-ground floor window in the rear elevation for noise mitigation during the construction of the HS2 railway. Installation of temporary mechanical ventilation unit in the rear elevation at upper-ground floor level during the construction of the HS2 railway". A decision has since been made to provide an additional ventilation unit in the upper-ground floor front room of the property. The proposed works comprise additional input ventilation, beyond that built into the consented secondary glazing unit, by means of the installation just above floor level of a mechanical input fan unit specified as the Sonair F+ device (manufactured by Titan or similar). The unit will be electrically-powered with push button controls to control the volume of air within the room interior, with ventilation rates adjustable from 28-225 cubic metres/hour. The works will be contained to an area right of the ground floor sash window when viewed from the street, set just above internal floor level (when facing the building from Mornington Terrace). The unit will require a 106mm hole to be drilled through the external brick wall which has an external white-painted render finish and internal lime plaster finish. No angle grinders will be used and cut lines will be confined to bedding joints where possible to minimise impact to the fabric of the wall and to facilitate re-insertion of bricks after the unit is removed. As few bricks as possible will be carefully removed from the wall to allow insertion of a plain metal grille fitted flush with the external wall, behind which the duct from the fan unit will be concealed. The external grille will be simply detailed and painted to match the existing external wall colour, in order to minimise visual impact. A condition of this consent requires that, on completion of the HS2 construction works, the ventilation unit will be removed from the property and the affected historic fabric reinstated to its pre-installation condition and made good using sensitive repair techniques. All the components of the ventilation unit, both internal and external, will be removed, the opening will be repaired using reclaimed London stock brick to match the existing and rendered to match the adjacent historic stucco finish, and the internal plaster finish will be reinstated and made good, using materials and techniques to match the existing. It is considered that the proposed ventilation unit in the front elevation will have minimal visual impact and be of a reversible nature, causing no harm to the special interest of the grade II listed building or to the surrounding conservation area. |
| --- | --- |
|  | Public consultation was undertaken for this application by means of a press notice and a site notice, but no responses were received. Camden Town CAAC was consulted and responded on 16/07/2019, stating, "We support this pragmatic and sensitively designed application for mechanical ventilation, in the specific circumstances of HS2's forthcoming noisy construction works. We are pleased to see that the cast iron flush mounted grille will be aligned, if possible with other similar openings, and be painted to match the surrounding render. We note from the DAS / HS that should the grille be mounted in brick it will be painted black. We assume that it will be removed on completion of the works." The site's planning history was taken into account when arriving at this decision. Special regard has been attached to the desirability of preserving the listed building and its features of special architectural or historic interest, under s.16 of the Planning (Listed Buildings and Conservation Areas) Act 1990 as amended by the Enterprise and Regulatory Reform Act (ERR) 2013. As such, the proposal is in general accordance with policies D1 and D2 of the Camden Local Plan 2017. The proposed development also accords with the London Plan 2016 and the National Planning Policy Framework. |
|  | Your proposals may be subject to control under the Building Regulations and/or the London Buildings Acts that cover aspects including fire and emergency escape, access and facilities for people with disabilities and sound insulation between dwellings. You are advised to consult the Council's Building Control Service, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (tel: 020-7974 6941). |
|  | You are advised that any works of alterations or upgrading not included on the approved drawings which are required to satisfy Building Regulations or Fire Certification may require a further application for listed building consent. |
|  | Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You are advised to consult the Council's Noise and Licensing Enforcement Team, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (Tel. No. 020 7974 4444 or search for 'environmental health' on the Camden website or seek prior approval under Section 61 of the Act if you anticipate any difficulty in carrying out construction other than within the hours stated above. |
|  | This approval does not authorise the use of the public highway. Any requirement to use the public highway, such as for hoardings, temporary road closures and suspension of parking bays, will be subject to approval of relevant licence from the Council's Streetworks Authorisations & Compliance Team London Borough of Camden 5 Pancras Square c/o Town Hall, Judd Street London WC1H 9JE (Tel. No 020 7974 4444) . Licences and authorisations need to be sought in advance of proposed works. Where development is subject to a Construction Management Plan (through a requirement in a S106 agreement), no licence or authorisation will be granted until the Construction Management Plan is approved by the Council. |
|  | All works should be conducted in accordance with the Camden Minimum Requirements - a copy is available on the Council's website at https://beta.camden.gov.uk/documents/20142/1269042/Camden+Minimum+Requirements+%281%29.pdf/bb2cd0a2-88b1-aa6d-61f9-525ca0f71319 or contact the Council's Noise and Licensing Enforcement Team, 5 Pancras Square c/o Town Hall, Judd Street London WC1H 9JE (Tel. No. 020 7974 4444) Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You must secure the approval of the Council's Noise and Licensing Enforcement Team prior to undertaking such activities outside these hours. |

In dealing with the application, the Council has sought to work with the applicant in a positive and proactive way in accordance with paragraph 38 of the National Planning Policy Framework 2019.

You can find advice about your rights of appeal at:

http://www.planningportal.gov.uk/planning/appeals/guidance/guidancecontent

Yours faithfully

Daniel Pope

Chief Planning Officer