DECISION

Planning (Listed Building and Conservation Areas) Act 1990

Listed Building Consent Granted

Address:

Rhyl Primary School

7 - 31 Rhyl Street

London

NW5 3HB

Proposal:

Replacement of brick boundary wall and fencing with new fencing, plus fire upgrading works to internal doors and service runs within main school building.

Drawing Nos: Site Location Plan; 061 001 rev 0003; 061 002 rev 0005; 062 001 rev 02; 910 001 rev 01; 910 001 rev 0001; Fire Stopping Details 000 000; Door Schedule; Fire Stopping Schedule; Nullfire Smart Protection FB750 Coated Batt Product Specification; Nullfire Smart Protection FB750 Intumescent Sealant Product Information; Considine Structural Engineer's Letter 7 January 2019; Design and Access & Heritage Statement.

The Council has considered your application and decided to grant Listed Building Consent subject to the following condition(s):

Conditions And Reasons:

| 1 | The works hereby permitted shall be begun not later than the end of three years from the date of this consent. Reason: In order to comply with the provisions of Section 18 of the Planning (Listed Buildings and Conservation Areas) Act 1990. |
| --- | --- |
| 2 | The development hereby permitted shall be carried out in accordance with the following approved plans: Site Location Plan; 061 001 rev 0003; 061 002 rev 0005; 062 001 rev 02; 910 001 rev 01; 910 001 rev 0001; Fire Stopping Details 000 000; Door Schedule; Fire Stopping Schedule; Nullfire Smart Protection FB750 Coated Batt Product Specification; Nullfire Smart Protection FB750 Intumescent Sealant Product Information; Considine Structural Engineer's Letter 7 January 2019; Design and Access & Heritage Statement. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |
| 3 | All new work and work of making good shall be carried out to match the existing adjacent work as closely as possible in materials and detailed execution. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |

Informative(s):

|  | Reasons for granting listed building consent: This application seeks consent for the replacement of the existing brick boundary wall and fencing with new fencing, together with fire upgrading works to internal doors and service runs within the main school building. The application site is a grade II listed three-storey brick-built Board School, now a Primary School and Nursery, dating from 1897-98 and designed by TJ Bailey for the School Board for London. The school is situated in the West Kentish Town Conservation Area. It is proposed to replace the existing boundary wall and fence on the south side of the site, separating the playground from residential properties on Marsden Street. Both elements are non-original and of no historic value. The brick wall has been found to be structurally unsound due to disturbance from tree roots, and the timber fence has come to the end of its life. As there is no historic precedent for a brick wall in this section of the school's boundary treatment, it is proposed to erect slatted timber fencing for its full duration of a similar height to the existing. The planned internal fire upgrading works arise from a Fire Risk Assessment undertaken in November 2017. It was found that the existing Kitchen and Staff Room doors provided insufficient fire resistance, so it is proposed to fit intumescent strips and smoke seals to these doors, which will not compromise their appearance. It was also found that there was inadequate fire-stopping to a number of service penetrations at each level of the school building, so it is proposed to install seals to prevent the spread of fire throughout the building, which will be of a discreet and irreversible design with no negative impact on historic fabric. It is considered that the proposed works will cause no harm to the grade II listed building or to the West Kentish Town Conservation Area. Public consultation was undertaken for this application by means of a press notice and a site notice, but no responses were received. The site's planning history was taken into account when arriving at this decision. Special regard has been attached to the desirability of preserving the listed building and its features of special architectural or historic interest, under s.16 of the Planning (Listed Buildings and Conservation Areas) Act 1990 as amended by the Enterprise and Regulatory Reform Act (ERR) 2013. As such, the proposal is in general accordance with policies D1 and D2 of the Camden Local Plan 2017. The proposed development also accords with the London Plan 2016 and the National Planning Policy Framework. |
| --- | --- |
|  | Your proposals may be subject to control under the Building Regulations and/or the London Buildings Acts that cover aspects including fire and emergency escape, access and facilities for people with disabilities and sound insulation between dwellings. You are advised to consult the Council's Building Control Service, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (tel: 020-7974 6941). |
|  | You are advised that any works of alterations or upgrading not included on the approved drawings which are required to satisfy Building Regulations or Fire Certification may require a further application for listed building consent. |
|  | Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You are advised to consult the Council's Noise and Licensing Enforcement Team, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (Tel. No. 020 7974 4444 or search for 'environmental health' on the Camden website or seek prior approval under Section 61 of the Act if you anticipate any difficulty in carrying out construction other than within the hours stated above. |
|  | This approval does not authorise the use of the public highway. Any requirement to use the public highway, such as for hoardings, temporary road closures and suspension of parking bays, will be subject to approval of relevant licence from the Council's Streetworks Authorisations & Compliance Team London Borough of Camden 5 Pancras Square c/o Town Hall, Judd Street London WC1H 9JE (Tel. No 020 7974 4444) . Licences and authorisations need to be sought in advance of proposed works. Where development is subject to a Construction Management Plan (through a requirement in a S106 agreement), no licence or authorisation will be granted until the Construction Management Plan is approved by the Council. |
|  | All works should be conducted in accordance with the Camden Minimum Requirements - a copy is available on the Council's website at https://beta.camden.gov.uk/documents/20142/1269042/Camden+Minimum+Requirements+%281%29.pdf/bb2cd0a2-88b1-aa6d-61f9-525ca0f71319 or contact the Council's Noise and Licensing Enforcement Team, 5 Pancras Square c/o Town Hall, Judd Street London WC1H 9JE (Tel. No. 020 7974 4444) Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You must secure the approval of the Council's Noise and Licensing Enforcement Team prior to undertaking such activities outside these hours. |

In dealing with the application, the Council has sought to work with the applicant in a positive and proactive way in accordance with paragraph 38 of the National Planning Policy Framework 2019.

You can find advice about your rights of appeal at:

http://www.planningportal.gov.uk/planning/appeals/guidance/guidancecontent

Yours faithfully

Daniel Pope

Chief Planning Officer