DECISION

Planning (Listed Building and Conservation Areas) Act 1990

Listed Building Consent Granted

Address:

59-60 Russell Square

London

WC1B 4HP

Proposal:

Internal works to No 60 Russell Square at ground floor level comprising various alterations to the entrance hall and reception room.

Drawing Nos: 00101 S4, 00103 S4-P04 Existing and Proposed Internal Views, 00102 S4-P05 Ground Floor, 3111-RSq-MA-00-XX-RP-A-S0-P01-00010-Heritage Statement-P03, Heritage Note

The Council has considered your application and decided to grant Listed Building Consent subject to the following condition(s):

Conditions And Reasons:

| 1 | The works hereby permitted shall be begun not later than the end of three years from the date of this consent. Reason: In order to comply with the provisions of Section 18 of the Planning (Listed Buildings and Conservation Areas) Act 1990. |
| --- | --- |
| 2 | The development hereby permitted shall be carried out in accordance with the following approved plans: 00101 S4, 00103 S4-P04 Existing and Proposed Internal Views, 00102 S4-P05 Ground Floor, 3111-RSq-MA-00-XX-RP-A-S0-P01-00010-Heritage Statement-P03, Heritage Note Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |
| 3 | All new work and work of making good shall be carried out to match the existing adjacent work as closely as possible in materials and detailed execution. Reason: In order to safeguard the special architectural and historic interest of the building in accordance with the requirements of policy D2 of the Camden Local Plan 2017. |

Informative(s):

|  | Reasons for granting listed building consent (delegated): The site comprises the entrance hallway and front facing room of No 60 Russell Square which is grade II listed and situated within the Bloomsbury Conservation Area. The building forms a group with 8 terraced houses, built together by James Burton in c.1800-03. Nos 59 and 60 were amalgamated in the late-1960s and converted into offices, no. 60 was considerably altered, particularly with the removal of the principal staircase, insertion of a lift and new partition walls, and the relocation of doorways. As a result, most internal architectural features of No 60 were considerably adapted or are modern pastiche. The applicant wishes to remove the late-twentieth-century flat-arched opening and the existing infill, top-light and doorcase within it; the construction of a wall with a 1.8m wide by 2.1m high double hinged door with architraves on both sides to match the existing doors; the installation of new dado rail and skirting on the proposed wall to match the existing finishes in the reception room; the installation of a frameless glazed double door with sidelights and fanlight above to form an entrance vestibule within the entrance hall; the installation of cornices around the down-stand of the proposed vestibule door to match the existing cornice in the entrance hall; and the relocation of the existing ceiling rose to the proposed vestibule. No external works are proposed. Any works other than those specifically mentioned in the consented drawings are unauthorised. If further works are found to be needed, the permission of the council's conservation team must be obtained in writing, or further listed building consent may be required. The proposed works will not harm the special interest of the grade II listed building. The site's planning history has been taken into account in making this decision. No comments from the public were received, as the proposals are internal only and so do not require public consultation. Special attention has been paid to the desirability of preserving the special interest of the listed building, under s.16 of the Listed Buildings and Conservation Areas Act 1990 as amended by the Enterprise and Regulatory Reform Act (ERR) 2013. As such, the proposal is in general accordance with policy D2 of the Camden Local Plan 2017. The proposed development also accords with the London Plan 2016 and the NPPF. |
| --- | --- |
|  | Your proposals may be subject to control under the Building Regulations and/or the London Buildings Acts that cover aspects including fire and emergency escape, access and facilities for people with disabilities and sound insulation between dwellings. You are advised to consult the Council's Building Control Service, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (tel: 020-7974 6941). |
|  | You are advised that any works of alterations or upgrading not included on the approved drawings which are required to satisfy Building Regulations or Fire Certification may require a further application for listed building consent. |
|  | Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You are advised to consult the Council's Noise and Licensing Enforcement Team, Camden Town Hall, Judd St, Kings Cross, London NW1 2QS (Tel. No. 020 7974 4444 or search for 'environmental health' on the Camden website or seek prior approval under Section 61 of the Act if you anticipate any difficulty in carrying out construction other than within the hours stated above. |
|  | This approval does not authorise the use of the public highway. Any requirement to use the public highway, such as for hoardings, temporary road closures and suspension of parking bays, will be subject to approval of relevant licence from the Council's Streetworks Authorisations & Compliance Team London Borough of Camden 5 Pancras Square c/o Town Hall, Judd Street London WC1H 9JE (Tel. No 020 7974 4444) . Licences and authorisations need to be sought in advance of proposed works. Where development is subject to a Construction Management Plan (through a requirement in a S106 agreement), no licence or authorisation will be granted until the Construction Management Plan is approved by the Council. |
|  | All works should be conducted in accordance with the Camden Minimum Requirements - a copy is available on the Council's website at https://beta.camden.gov.uk/documents/20142/1269042/Camden+Minimum+Requirements+%281%29.pdf/bb2cd0a2-88b1-aa6d-61f9-525ca0f71319 or contact the Council's Noise and Licensing Enforcement Team, 5 Pancras Square c/o Town Hall, Judd Street London WC1H 9JE (Tel. No. 020 7974 4444) Noise from demolition and construction works is subject to control under the Control of Pollution Act 1974. You must carry out any building works that can be heard at the boundary of the site only between 08.00 and 18.00 hours Monday to Friday and 08.00 to 13.00 on Saturday and not at all on Sundays and Public Holidays. You must secure the approval of the Council's Noise and Licensing Enforcement Team prior to undertaking such activities outside these hours. |

In dealing with the application, the Council has sought to work with the applicant in a positive and proactive way in accordance with paragraph 38 of the National Planning Policy Framework 2019.

You can find advice about your rights of appeal at:

http://www.planningportal.gov.uk/planning/appeals/guidance/guidancecontent

Yours faithfully

Daniel Pope

Chief Planning Officer